## Schedule No. 1A
#REF!
A. | LILO of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line at Kaliganj Substation
Item | Description | Country of origin2 | Unit | Quantity | Unit Price1 | Total Price1 | Taxes and Duties
[5 empty] | Foreign Currency [XXX] | Foreign Currency [XXX] | Local Currency [BDT]
1 | 2 | 3* | 4 | 5 | 6 | 7= 5 x 6 | 8
Schedule No. 1A Plant and Mandatory Spare Parts Supplied from Abroad
1 | Supply of 400kV double and four circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, bird guard etc.
1 | Overland Portion
1: 1.1; 2: Tower type "4DT6" |  |  |  | 4 | Terninal Tower | 4
1.1.1 | Tower type 4DT6+9 m |  | each | 1 | [5 empty] | 2Q30+2QT6 | #REF! | 2
1.2 | Auxiliary crossarm for tower type 4DT6 |  | per set of three | 1 |  |  |  | #REF! |  | span | AVR
1: 2; 2: Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints | [6 empty] | #REF!
2.1 | Overland Portion
2.1.1 | "ACSR Finch" Phase Conductor (3 Phase, Double Circuit, Quad Bundle per phase on the line) |  | Route km3 | 0.5 | [5 empty] | 0.0030377 |  | #REF!
2.1.2 | ACSR Dorking Earthware |  | Route km3 | 0.5
2.1.3 | ACSR Dorking Earthware equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. |  | Route km3 | 0.5
3 | Insulator strings, with associated suspension and tension clamps for quad ACSR Finch Conductor
3.1 | Overland Portion
3.1.1 | a) Double tension string, 2x400kN -disc only |  | Set | 6
| b) Double tension string, 2x400kN -fittings only |  | Set | 6
3.1.2 | a) Single jumper suspension I-string, having each string 1x210 kN-disc only |  | Set | 12 | [6 empty] | 1to compansate fraction
| b) Single jumper suspension I-string, having each string 1x210 kN-fittings only |  | Set | 12
3.1.3 | a) Single tension string, upright low duty 210kN- disc only |  | Set | 12 | [5 empty] | Terminal tower=4
2: b) Single tension string, upright low duty 210kN- fittings only; 4: Set; 5: 12 |  |  |  |  | Terminal tower=4
3.1.4 | a) Single tension string, inverted low duty 210kN -discs only |  | Set | 12 | [5 empty] | Terminal tower=4
2: b) Single tension string, inverted low duty 210kN -fittings only; 4: Set; 5: 12 |  |  |  |  | Terminal tower=4
OPGW and earthware sets, complete with all accessories, incl. armour rods and earth bounds
3.1.5 | Earthwire Tension set |  | set | 6
3.1.6 | Tension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 6
Dampers
3.1.7 | Vibration damper for phase conductor |  | per span | 1
3.1.8 | Spacer damper for phase conductor |  | per span | 1
3.1.9 | Vibration damper for OPGW |  | per span | 1
3.1.10 | Vibration damper for Earthwire |  | per span | 1
3.1.11 | Spacer for jumper |  | nos. | 6
4 | Aerial Markers
4.1 | Painting of tower having height more than 60 meter in accordance with the requirements of the Technical Specification |  | per tower | 1
4.2 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification |  | per tower | 1
4.3 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. |  | each | 3
4.4 | Aircraft warning spheres |  | each | 3
4.5 | Bird diverters |  | each | 3
1: 5; 2: Mandatory Spare Parts and Tools | [6 empty] | 0
1: 5.1; 2: Tower | [6 empty] | 0
5.1.1 | Galvanized Tower Steel
(a) | Fabricated |  | ton | 1
(b) | Non-fabricated |  | ton | 1
5.2 | Insulator and Fittings
Insulator sets complete with insulators and all hardware fittings including suspension clamps, tension dead ends,armour rods, arcing horn. Arcing ring etc
Overland Portion
5.2.1 | 210kN Single Inverted Low Duty Tension Set for "Quad ACSR FINCH" - Complete Assembly |  | set | 6
5.2.2 | 210kN jumper suspension set for "Quad ACSR FINCH" - Complete Assembly |  | set | 2
5.2.3 | 400kN twin tension set for "Quad ACSR FINCH" - Complete Assembly |  | set | 6
5.3 | Phase conductor, earthwire, OPGW & Fittings
5.3.1 | Midspan Joint for "Quad ACSR FINCH" conductor |  | each | 2
5.3.2 | Repair sleeve for "Quad ACSR FINCH" conductor |  | each | 2
5.3.3 | Spacer Damper for "Quad ACSR FINCH" |  | each | 5
5.3.4 | Jumper Spacer for "Quad ACSR FINCH" |  | each | 4
5.3.5 | Suspension set for ACSR Dorking Equivalent OPGW |  | each | 3
5.3.6 | Tension set for ACSR Dorking Equivalent OPGW |  | each | 3
5.3.7 | Vibration damper for ACSR Dorking Equivalent OPGW |  | each | 3
5.4 | Temporary earthing equipment |  | each | 3
5.5 | Elcometer |  | each | 3
5.6 | Motorised jointing compressor for conductor complete with dies suitable for conductors & earthwires to be used for this Contract |  | each | 3
Total Columns 8 to be carried forward to Schedule No. 5 - Grand Summary
0
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
3 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
Country of Origin Declaration Form
Item | Description | Code | Country
1 | Towers
2 | Conductor & Earthwire
3 | Disc Insualtor
4 | Fittings for ACSR / ACCC Conductor, Earthwire & Insulator
5 | OPGW & its Fittings Accessories
6 | Aviation Equipments
7 | Design & Engg + Proto Testing of Towers
167.5

## Schedule No. 1B
#REF!
B. | Connection of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line and Purbachal-Bashundhara 230kV double circuit Line at Purbachal Substation
Item | Description | Country of origin2 | Unit | Quantity | Unit Price1 | Total Price1 | Taxes and Duties
[5 empty] | Foreign Currency [XXX] | Foreign Currency [XXX] | Local Currency [BDT]
1 | 2 | 3* | 4 | 5 | 6 | 7= 5 x 6 | 8
Schedule No. 1B Plant and Mandatory Spare Parts Supplied from Abroad
1 | Supply of 400kV double and four circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, bird guard etc.
1 | Overland Portion
1: 2; 2: Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints |  |  |  |  | #REF!
2.1 | Overland Portion
2.1.1 | "ACSR Finch" Phase Conductor (3 Phase, Double Circuit, Quad Bundle per phase on the line) |  | Route km3 | 0.3 |  |  |  | 0.0018226 |  | #REF!
2.1.2 | "ACSR Mallard" Phase Conductor (3 Phase, Double Circuit, Twin Bundle per phase on the line) |  | Route km3 | 0.3
2.1.3 | ACSR Dorking Earthware |  | Route km3 | 0.3
2.1.4 | ACSR Dorking Earthware equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. |  | Route km3 | 0.3
2.1.5 | 7X4.0 GS earthware |  | Route km3 | 0.3
2.1.6 | 7X4.0 GS earthware equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. |  | Route km3 | 0.3
3 | Insulator strings, with associated suspension and tension clamps for quad ACSR Finch and Twin ACSR Mallard Conductor
3.1 | Overland Portion
For Quad Bundle ACSR Finch Conductor
3.1.1 | a) Single jumper suspension I-string, having each string 1x210 kN-disc only |  | Set | 6 |  |  |  |  | 1to compansate fraction
| b) Single jumper suspension I-string, having each string 1x210 kN-fittings only |  | Set | 6
3.1.2 | a) Single tension string, upright low duty 210kN- disc only |  | Set | 6 |  |  |  | Terminal tower=4
2: b) Single tension string, upright low duty 210kN- fittings only; 4: Set; 5: 6 |  |  | Terminal tower=4
3.1.3 | a) Single tension string, inverted low duty 210kN -discs only |  | Set | 6 |  |  |  | Terminal tower=4
2: b) Single tension string, inverted low duty 210kN -fittings only; 4: Set; 5: 6 |  |  | Terminal tower=4
For Twin ACSR Mallard Conductor
3.1.4 | a) Double tension string, 2x210kN -disc only |  | Set | 6
| b) Double tension string, 2x210kN -fittings only |  | Set | 6
3.1.5 | a) Single jumper suspension I-string, having each string 1x120 kN-disc only |  | Set | 6 |  |  |  |  | 1to compansate fraction
| b) Single jumper suspension I-string, having each string 1x120 kN-fittings only |  | Set | 6
3.1.6 | a) Single tension string, upright low duty 120kN- disc only |  | Set | 6
| b) Single tension string, upright low duty 120kN- fittings only |  | Set | 6
3.1.7 | a) Single tension string, inverted low duty 120kN -discs only |  | Set | 6
| b) Single tension string, inverted low duty 120kN -fittings only |  | Set | 6
OPGW and earthware sets, complete with all accessories, incl. armour rods and earth bounds
3.1.8 | Tension set for ACSR Dorking Earthwire OPGW (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 2
3.1.9 | Tension set for ACSR Dorking Earthwire |  | set | 2
3.1.10 | Tension set for 7x4.0 GSW equivalent OPGW (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 2
3.1.11 | Tension set for 7x4.0 GSW Earthwire |  | set | 2
Dampers
3.1.12 | Vibration damper for Quad ACSR Finch phase conductor |  | per span | 1
3.1.13 | Spacer damper for Quad ACSR Finch phase conductor |  | per span | 1
3.1.14 | Vibration damper for ACSR Dorking Earthwire equivalent OPGW |  | per span | 1
3.1.15 | Vibration damper for ACSR Dorking Earthwire |  | per span | 1
3.1.16 | Spacer for jumper (Quad ACSR Finch) |  | nos. | 18
3.1.17 | Vibration damper for Twin ACSR Mallard phase conductor |  | per span | 2
3.1.18 | Spacer damper for Twin ACSR Mallard phase conductor |  | per span | 2
3.1.19 | Vibration damper for 7x4.0 GSW Earthwire equivalent OPGW |  | per span | 2
3.1.20 | Vibration damper for 7x4.0 GSW Earthwire |  | per span | 2
3.1.21 | Spacer for jumper (Twin ACSR Mallard) |  | nos. | 18
4 | Aerial Markers
4.1 | Painting of tower having height more than 60 meter in accordance with the requirements of the Technical Specification |  | per tower | 1
4.2 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification |  | per tower | 1
4.3 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. |  | each | 3
4.4 | Aircraft warning spheres |  | each | 3
4.5 | Bird diverters |  | each | 3
1: 5; 2: Mandatory Spare Parts and Tools |  |  |  |  | 0
5.1 | Insulator and Fittings
Insulator sets complete with insulators and all hardware fittings including suspension clamps, tension dead ends,armour rods, arcing horn. Arcing ring etc
Overland Portion
5.1.1 | 210kN twin tension set for "Twin ACSR Mallard" - Complete Assembly |  | set | 6
5.1.2 | 120kN Single inverted Low Duty tension set for "Twin ACSR Mallard" - Complete Assembly |  | set | 6
5.2 | Phase conductor, earthwire, OPGW & Fittings
5.2.1 | Midspan Joint for "Twin ACSR Mallard" conductor |  | each | 2
5.2.2 | Repair sleeve for "Twin ACSR Mallard" conductor |  | each | 2
5.2.3 | Spacer Damper for "Twin ACSR Mallard" |  | each | 5
5.2.4 | Vibration Damper for "Twin ACSR Mallard" |  | each | 10
5.2.5 | Jumper Spacer for "Twin ACSR Mallard" |  | each | 6
5.2.6 | Suspension set for 7X4.0 GS earthware Equivalent OPGW |  | each | 3
5.2.7 | Tension set for 7X4.0 GS earthware Equivalent OPGW |  | each | 3
5.2.8 | Vibration damper for 7X4.0 GS earthware Equivalent OPGW |  | each | 6
Total Columns 8 to be carried forward to Schedule No. 5 - Grand Summary
0
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
3 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
Country of Origin Declaration Form
Item | Description | Code | Country
1 | Towers
2 | Conductor & Earthwire
3 | Disc Insualtor
4 | Fittings for ACSR / ACCC Conductor, Earthwire & Insulator
5 | OPGW & its Fittings Accessories
6 | Aviation Equipments
7 | Design & Engg + Proto Testing of Towers

## Schedule No. 1C
C. | LILO of Tongi-Ghorashal 230kV double circuit Line at Kaliganj Substation
Item | Description | Country of origin2 | Unit | Quantity | Unit Price1 | Total Price1 | Taxes and Duties
[5 empty] | Foreign Currency [XXX] | Foreign Currency [XXX] | `
1 | 2 | 3* | 4 | 5 | 6 | 7= 5 x 6 | 8
Schedule No. 1C Plant and Mandatory Spare Parts Supplied from Abroad
1 | Supply of 230 kV double and four circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, Bird Guard etc.
1 | Overland Portion
1: 1.1; 2: Tower type "2DT6" |  |  |  | 4 | Terninal Tower | 4
1.1.1 | Tower type 2DT6+6 m |  | each | 1 | [5 empty] | 2Q30+2QT6 | 4 | 2
1.1.2 | Tower type 2DT6+9 m |  | each | 1 | [5 empty] | River crossing | 4
1.2 | Tower type "2QL"
1.2.1 | Tower type 2QL +3 m |  | each | 1
1.2.2 | Tower type 2QL +6 m |  | each | 1
1.2.3 | Tower type 2QL +9 m |  | each | 2
1: 1.3; 2: Tower type "2Q1" |  |  | 2
1.3.1 | Tower type 2Q1 +21 m |  | each | 1
1.3.2 | Tower type 2Q1 +25 m |  | each | 1
1.4 | Tower type "2Q15"
1.4.1 | Tower type 2Q15+ 9 m |  | each | 1
1.5 | Tower type "2Q30"
1.5.1 | Tower type 2Q30+ 9 m |  | each | 1
1: 1.6; 2: Tower type "2QT6" |  |  | 2
1.6.1 | Tower type 2QT6+ 3 m |  | each | 1
1.6.2 | Tower type 2QT6+ 6 m |  | each | 1
1.6.3 | Tower type 2QT6+ 9 m |  | each | 1 |  |  |  | 2
1.7 | Tower type "2QT6H" with any Extension |  | each | 2
1.8 | Auxiliary crossarm for tower type 2QT6 or 2QT6H |  | per set of three | 2 |  |  |  | 6 |  | span | AVR
1.9 | Auxiliary crossarm for tower type 2DT6 |  | per set of three | 2 |  |  |  | 4 |  | span | AVR
1: 2; 2: Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints | [6 empty] | #REF!
2.1 | Overland Portion
2.1.1 | "ACSR Mallard equivalent ACCC" Phase Conductor (3 Phase, Four Circuit, Single Conductor per phase on the line) |  | Route km3 | 3.5 | [5 empty] | 0.021264 |  | #REF!
2.1.2 | 7x4.00mm equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. Two OPGW earthwire on the line. |  | Route km3 | 3.5
3 | Insulator strings, with associated suspension and tension clamps for twin ACSR Mallard equivalent ACCC Conductor
3.1 | Overland Portion
3.1.1 | a) Single suspension string, 120 kN -disc only |  | Set | 48
2: a) Single suspension string, 120 kN - fittings only; 4: Set; 5: 48 | [6 empty] | two strings for each crossarm + 12 nos. for 2 anchor
3.1.2 | a) Single suspension string (Heavy Suspension), 210 kN -disc only |  | Set | 24
2: a) Single suspension string (Heavy Suspension), 210 kN -fittings only; 4: Set; 5: 24 | [6 empty] | two strings for each crossarm + 12 nos. for 2 anchor
3.1.3 | a) Double tension string, 2x120kN -disc only |  | Set | 144
| b) Double tension string, 2x120kN -fittings only |  | Set | 144
3.1.4 | a) Single jumper suspension I-string, having each string 1x120 kN-disc only |  | Set | 66 | [6 empty] | 1to compansate fraction
| b) Single jumper suspension I-string, having each string 1x120 kN-fittings only |  | Set | 66
3.1.5 | a) Single tension string, upright low duty 120kN- disc only |  | Set | 12 | [5 empty] | Terminal tower=4
2: b) Single tension string, upright low duty 120kN- fittings only; 4: Set; 5: 12 |  |  |  |  | Terminal tower=4
3.1.6 | a) Single tension string, inverted low duty 120kN -discs only |  | Set | 12 | [5 empty] | Terminal tower=4
2: b) Single tension string, inverted low duty 120kN -fittings only; 4: Set; 5: 12 |  |  |  |  | Terminal tower=4
OPGW sets, complete with all accessories, incl. armour rods and earth bounds
3.1.7 | Suspension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 12
3.1.8 | Tension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 22
Dampers
3.1.9 | Vibration damper for phase conductor |  | per span | 14
3.1.10 | Vibration damper for OPGW |  | per span | 14
4 | Aerial Markers
4.1 | Painting of tower having height more than 60 meter in accordance with the requirements of the Technical Specification |  | per tower | 4
4.2 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification |  | per tower | 4
4.3 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. |  | each | 6
4.4 | Aircraft warning spheres |  | each | 10
4.5 | Bird diverters |  | each | 3
1: 5; 2: Mandatory Spare Parts and Tools | [6 empty] | 0
5.1 | Insulator and Fittings
Insulator sets complete with insulators and all hardware fittings including suspension clamps, tension dead ends,armour rods, arcing horn. Arcing ring etc
Overland Portion
5.1.1 | 120kN single suspension Insulators set (Suspension) for "single ACSR Mallard equivalent ACCC" - Complete Assembly |  | set | 6
5.1.2 | 210kN single suspension Insulators set (Heavy Suspension) for "single ACSR Mallard equivalent ACCC" - Complete Assembly |  | set | 6
5.1.3 | 120kN jumper suspension set for "Single ACSR Mallard equivalent ACCC" - Complete Assembly |  | set | 6
5.1.4 | 120kN twin tension set for "Single ACSR Mallard equivalent ACCC" - Complete Assembly |  | set | 12
5.2 | Phase conductor, earthwire, OPGW & Fittings
5.2.1 | Midspan Joint for "ACSR Mallard equivalent ACCC" conductor |  | each | 2
5.2.2 | Repair sleeve for "ACSR Mallard equivalent ACCC" conductor |  | each | 2
5.2.3 | Vibration Damper for "ACSR Mallard equivalent ACCC" |  | each | 10
5.2.4 | Suspension set for 7x4.00mm Equivalent OPGW |  | each | 3
5.2.5 | Tension set for 7x4.00mm Equivalent OPGW |  | each | 3
5.2.6 | Vibration damper for 7x4.00mm Equivalent OPGW |  | each | 6
Total Columns 8 to be carried forward to Schedule No. 5 - Grand Summary
0
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
3 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
Country of Origin Declaration Form
Item | Description | Code | Country
1 | Towers
2 | Conductor & Earthwire
3 | Disc Insualtor
4 | Fittings for ACCC Conductor, Earthwire & Insulator
5 | OPGW & its Fittings Accessories
6 | Aviation Equipments
7 | Design & Engg + Proto Testing of Towers

## Schedule No. 2A
A. | LILO of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line at Kaliganj Substation
Item | Description | Country of origin2 | Unit | Quantity | Local Currency in BDT |  | Foreign Currency in (xxx) |  | Taxes and Duties
[5 empty] | Unit EXW Price1 | EXW Total Price | Unit EXW Price1 | EXW Total Price | Local Currency [BDT]
1 | 2 | 3* | 4 | 5 | 6 | 7=5*6 | 8 | 9= 5 x 8 | 10
Schedule No. 2A Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
1 | Supply of 400kV double and four circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, bird guard etc.
1 | Overland Portion
1: 1.1; 2: Tower type "4DT6" |  |  |  |  | 4 | Terninal Tower | 4
1.1.1 | Tower type 4DT6+9 m |  | each | 1 | [6 empty] | 2Q30+2QT6 | #REF! | 2
1.2 | Auxiliary crossarm for tower type 4DT6 |  | per set of three | 1
2 | Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints | 0 | 0 | [9 empty] | #REF!
2.1 | Overland Portion
2.1.1 | "ACSR Finch" Phase Conductor (3 Phase, Double Circuit, Quad Bundle per phase on the line) |  | Route km3 | 0.5 | [6 empty] | 0.0030377 |  | #REF!
2.1.2 | ACSR Dorking Earthware |  | Route km3 | 0.5
2.1.3 | ACSR Dorking Earthware equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. |  | Route km3 | 0.5
3 | Insulator strings, with associated suspension and tension clamps for quad ACSR Finch Conductor | 0 | 0 | 0 | 0 | 0
3.1 | Overland Portion
3.1.1 | a) Double tension string, 2x400kN -disc only |  | Set | 6
| b) Double tension string, 2x400kN -fittings only |  | Set | 6
3.1.2 | a) Single jumper suspension I-string, having each string 1x210 kN-disc only |  | Set | 12 | [7 empty] | 1to compansate fraction
| b) Single jumper suspension I-string, having each string 1x210 kN-fittings only |  | Set | 12
3.1.3 | a) Single tension string, upright low duty 210kN- disc only |  | Set | 12 | [6 empty] | Terminal tower=4
2: b) Single tension string, upright low duty 210kN- fittings only; 4: Set; 5: 12 | [5 empty] | Terminal tower=4
3.1.4 | a) Single tension string, inverted low duty 210kN -discs only |  | Set | 12 | [6 empty] | Terminal tower=4
2: b) Single tension string, inverted low duty 210kN -fittings only; 4: Set; 5: 12 | [5 empty] | Terminal tower=4
| OPGW and earthware sets, complete with all accessories, incl. armour rods and earth bounds | 0 | 0 | 0 | 0
3.1.5 | Earthwire Tension set |  | set | 6
3.1.6 | Tension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 6
Dampers
3.1.7 | Vibration damper for phase conductor |  | per span | 1
3.1.8 | Spacer damper for phase conductor |  | per span | 1
3.1.9 | Vibration damper for OPGW |  | per span | 1
3.1.10 | Vibration damper for Earthwire |  | nos. | 1
3.1.11 | Spacer for jumper |  | nos. | 6
4 | Aerial Markers
4.1 | Painting of tower having height more than 60 meter in accordance with the requirements of the Technical Specification |  | per tower | 1
4.2 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification |  | per tower | 1
4.3 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. |  | each | 3
4.4 | Aircraft warning spheres |  | each | 3
4.5 | Bird diverters |  | each | 3
1: 5; 2: Mandatory Spare Parts and Tools | [7 empty] | 0
1: 5.1; 2: Tower | [7 empty] | 0
5.1.1 | Galvanized Tower Steel
(a) | Fabricated |  | ton | 1
(b) | Non-fabricated |  | ton | 1
5.2 | Insulator and Fittings
Insulator sets complete with insulators and all hardware fittings including suspension clamps, tension dead ends,armour rods, arcing horn. Arcing ring etc
Overland Portion
5.2.1 | 210kN Single Inverted Low Duty Tension Set for "Quad ACSR FINCH" - Complete Assembly |  | set | 6
5.2.2 | 210kN jumper suspension set for "Quad ACSR FINCH" - Complete Assembly |  | set | 2
5.2.3 | 400kN twin tension set for "Quad ACSR FINCH" - Complete Assembly |  | set | 6
5.3 | Phase conductor, earthwire, OPGW & Fittings
5.3.1 | Midspan Joint for "Quad ACSR FINCH" conductor |  | each | 2
5.3.2 | Repair sleeve for "Quad ACSR FINCH" conductor |  | each | 2
5.3.3 | Spacer Damper for "Quad ACSR FINCH" |  | each | 5
5.3.4 | Jumper Spacer for "Quad ACSR FINCH" |  | each | 4
5.3.5 | Suspension set for ACSR Dorking Equivalent OPGW |  | each | 3
5.3.6 | Tension set for ACSR Dorking Equivalent OPGW |  | each | 3
5.3.7 | Vibration damper for ACSR Dorking Equivalent OPGW |  | each | 3
5.4 | Temporary earthing equipment |  | each | 3
5.5 | Elcometer |  | each | 3
5.6 | Motorised jointing compressor for conductor complete with dies suitable for conductors & earthwires to be used for this Contract |  | each | 3
Total Columns 7&9 to be carried forward to Schedule No. 5 - Grand Summary
0
1 Specify currencies in accordance with ITB 19.1 of the BDS.
2 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
3 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
4. Column 6, EXW Price shall include all customs duties and sales and other taxes already paid or payable on the components and raw materials used in the manufacture or assembly of the item or the customs duties and sales and other taxes already paid on previously imported items.”
Country of Origin Declaration Form
Item | Description | Code | Country

## Schedule No. 2B
B. | Connection of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line and Purbachal-Bashundhara 230kV double circuit Line at Purbachal Substation
Item | Description | Country of origin2 | Unit | Quantity | Local Currency in BDT |  | Foreign Currency in (xxx) |  | Taxes and Duties
[5 empty] | Unit EXW Price1 | EXW Total Price | Unit EXW Price1 | EXW Total Price | Local Currency [BDT]
1 | 2 | 3* | 4 | 5 | 6 | 7=5*6 | 8 | 9= 5 x 8 | 10
Schedule No. 2B Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
1 | Supply of 400kV double and four circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, bird guard etc.
1 | Overland Portion
2 | Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints | 0 | 0 | [8 empty] | #REF!
2.1 | Overland Portion
2.1.1 | "ACSR Finch" Phase Conductor (3 Phase, Double Circuit, Quad Bundle per phase on the line) |  | Route km3 | 0.3 | [5 empty] | 0.0018226 |  | #REF!
2.1.2 | "ACSR Mallard" Phase Conductor (3 Phase, Double Circuit, Twin Bundle per phase on the line) |  | Route km3 | 0.3
2.1.3 | ACSR Dorking Earthware |  | Route km3 | 0.3
2.1.4 | ACSR Dorking Earthware equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. |  | Route km3 | 0.3
2.1.5 | 7X4.0 GS earthware |  | Route km3 | 0.3
2.1.6 | 7X4.0 GS earthware equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. |  | Route km3 | 0.3
3 | Insulator strings, with associated suspension and tension clamps for quad ACSR Finch and Twin ACSR Mallard Conductor | 0 | 0 | 0 | 0 | 0
3.1 | Overland Portion
For Quad Bundle ACSR Finch Conductor
3.1.1 | a) Single jumper suspension I-string, having each string 1x210 kN-disc only |  | Set | 6
2: b) Single jumper suspension I-string, having each string 1x210 kN-fittings only; 4: Set; 5: 6 | [5 empty] | 1to compansate fraction
3.1.2 | a) Single tension string, upright low duty 210kN- disc only |  | Set | 6
2: b) Single tension string, upright low duty 210kN- fittings only; 4: Set; 5: 6 |  |  |  |  | Terminal tower=4
3.1.3 | a) Single tension string, inverted low duty 210kN -discs only |  | Set | 6 | [5 empty] | Terminal tower=4
2: b) Single tension string, inverted low duty 210kN -fittings only; 4: Set; 5: 6 |  |  |  |  | Terminal tower=4
2: For Twin ACSR Mallard Conductor |  |  |  |  | Terminal tower=4
3.1.4 | a) Double tension string, 2x210kN -disc only |  | Set | 6
| b) Double tension string, 2x210kN -fittings only |  | Set | 6
3.1.5 | a) Single jumper suspension I-string, having each string 1x120 kN-disc only |  | Set | 6
| b) Single jumper suspension I-string, having each string 1x120 kN-fittings only |  | Set | 6
3.1.6 | a) Single tension string, upright low duty 120kN- disc only |  | Set | 6
| b) Single tension string, upright low duty 120kN- fittings only |  | Set | 6
3.1.7 | a) Single tension string, inverted low duty 120kN -discs only |  | Set | 6
| b) Single tension string, inverted low duty 120kN -fittings only |  | Set | 6
| OPGW and earthware sets, complete with all accessories, incl. armour rods and earth bounds | 0 | 0 | 0 | 0
3.1.8 | Tension set for ACSR Dorking Earthwire OPGW (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 2
3.1.9 | Tension set for ACSR Dorking Earthwire |  | set | 2
3.1.10 | Tension set for 7x4.0 GSW equivalent OPGW (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 2
3.1.11 | Tension set for 7x4.0 GSW Earthwire |  | set | 2
Dampers
3.1.12 | Vibration damper for Quad ACSR Finch phase conductor |  | per span | 1
3.1.13 | Spacer damper for Quad ACSR Finch phase conductor |  | per span | 1
3.1.14 | Vibration damper for ACSR Dorking Earthwire equivalent OPGW |  | per span | 1
3.1.15 | Vibration damper for ACSR Dorking Earthwire |  | per span | 1
3.1.16 | Spacer for jumper (Quad ACSR Finch) |  | nos. | 18
3.1.17 | Vibration damper for Twin ACSR Mallard phase conductor |  | per span | 2
3.1.18 | Spacer damper for Twin ACSR Mallard phase conductor |  | per span | 2
3.1.19 | Vibration damper for 7x4.0 GSW Earthwire equivalent OPGW |  | per span | 2
3.1.20 | Vibration damper for 7x4.0 GSW Earthwire |  | per span | 2
3.1.21 | Spacer for jumper (Twin ACSR Mallard) |  | nos. | 18
4 | Aerial Markers
4.1 | Painting of tower having height more than 60 meter in accordance with the requirements of the Technical Specification |  | per tower | 1
4.2 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification |  | per tower | 1
4.3 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. |  | each | 3
4.4 | Aircraft warning spheres |  | each | 3
4.5 | Bird diverters |  | each | 3
1: 5; 2: Mandatory Spare Parts and Tools | [6 empty] | 0
5.1 | Insulator and Fittings
Insulator sets complete with insulators and all hardware fittings including suspension clamps, tension dead ends,armour rods, arcing horn. Arcing ring etc
Overland Portion
5.1.1 | 210kN twin tension set for "Twin ACSR Mallard" - Complete Assembly |  | set | 6
5.1.2 | 120kN Single inverted Low Duty tension set for "Twin ACSR Mallard" - Complete Assembly |  | set | 6
5.2 | Phase conductor, earthwire, OPGW & Fittings
5.2.1 | Midspan Joint for "Twin ACSR Mallard" conductor |  | each | 2
5.2.2 | Repair sleeve for "Twin ACSR Mallard" conductor |  | each | 2
5.2.3 | Spacer Damper for "Twin ACSR Mallard" |  | each | 5
5.2.4 | Vibration Damper for "Twin ACSR Mallard" |  | each | 10
5.2.5 | Jumper Spacer for "Twin ACSR Mallard" |  | each | 6
5.2.6 | Suspension set for 7X4.0 GS earthware Equivalent OPGW |  | each | 3
5.2.7 | Tension set for 7X4.0 GS earthware Equivalent OPGW |  | each | 3
Total Columns 7&9 to be carried forward to Schedule No. 5 - Grand Summary
0
1 Specify currencies in accordance with ITB 19.1 of the BDS.
2 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
3 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
4. Column 6, EXW Price shall include all customs duties and sales and other taxes already paid or payable on the components and raw materials used in the manufacture or assembly of the item or the customs duties and sales and other taxes already paid on previously imported items.”
Country of Origin Declaration Form
Item | Description | Code | Country

## Schedule No. 2C
C. | LILO of Tongi-Ghorashal 230kV double circuit Line at Kaliganj Substation
Item | Description | Country of origin2 | Unit | Quantity | Local Currency in BDT |  | Foreign Currency in (xxx) |  | Taxes and Duties
[5 empty] | Unit EXW Price1 | EXW Total Price | Unit EXW Price1 | EXW Total Price | Local Currency [BDT]
1 | 2 | 3* | 4 | 5 | 6 | 7=5*6 | 8 | 9= 5 x 8 | 10
Schedule No. 2C Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
1 | Supply of 230 kV double and four circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, Bird Guard etc.
1 | Overland Portion
1: 1.1; 2: Tower type "2DT6" | [5 empty] | 4 | Terninal Tower | 4
1.1.1 | Tower type 2DT6+6 m |  | each | 1 | [7 empty] | 2Q30+2QT6 | 4 | 2
1.1.2 | Tower type 2DT6+9 m |  | each | 1 | [7 empty] | River crossing | 4
1: 1.2; 2: Tower type "2QL" |  |  |  |  | 2
1.2.1 | Tower type 2QL +3 m |  | each | 1
1.2.2 | Tower type 2QL +6 m |  | each | 1
1.2.3 | Tower type 2QL +9 m |  | each | 2
1: 1.3; 2: Tower type "2Q1" |  |  |  |  | 2
1.3.1 | Tower type 2Q1 +21 m |  | each | 1
1.3.2 | Tower type 2Q1 +25 m |  | each | 1 | [5 empty] | 2
1.4 | Tower type "2Q15"
1.4.1 | Tower type 2Q15+ 9 m |  | each | 1
1.5 | Tower type "2Q30"
1.5.1 | Tower type 2Q30+ 9 m |  | each | 1
1.6 | Tower type "2QT6"
1.6.1 | Tower type 2QT6+ 3 m |  | each | 1
1.6.2 | Tower type 2QT6+ 6 m |  | each | 1
1.6.3 | Tower type 2QT6+ 9 m |  | each | 1
1.7 | Tower type "2QT6H" with any Extension |  | each | 2
1.8 | Auxiliary crossarm for tower type 2QT6 or 2QT6H |  | per set of three | 2 | [5 empty] | 6 |  | span | AVR
1.9 | Auxiliary crossarm for tower type 2DT6 |  | per set of three | 2
2 | Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints | 0 | 0 | [10 empty] | #REF!
2.1 | Overland Portion
2.1.1 | "ACSR Mallard equivalent ACCC" Phase Conductor (3 Phase, Four Circuit, Single Conductor per phase on the line) |  | Route km3 | 3.5 | [7 empty] | 0.021264 |  | #REF!
2.1.2 | 7x4.00mm equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. Two OPGW earthwire on the line. |  | Route km3 | 3.5
3 | Insulator strings, with associated suspension and tension clamps for twin ACSR Mallard equivalent ACCC Conductor | 0 | 0 | 0 | 0 | 0
3.1 | Overland Portion
3.1.1 | a) Single suspension string, 120 kN -disc only |  | Set | 48
0 | a) Single suspension string, 120 kN - fittings only |  | Set | 48 | [9 empty] | two strings for each crossarm + 12 nos. for 2 anchor
3.1.2 | a) Single suspension string (Heavy Suspension), 210 kN -disc only |  | Set | 24
0 | a) Single suspension string (Heavy Suspension), 210 kN -fittings only |  | Set | 24
3.1.3 | a) Double tension string, 2x120kN -disc only |  | Set | 144 | [8 empty] | 1to compansate fraction
0 | b) Double tension string, 2x120kN -fittings only |  | Set | 144
3.1.4 | a) Single jumper suspension I-string, having each string 1x120 kN-disc only |  | Set | 66 | [7 empty] | Terminal tower=4
0 | b) Single jumper suspension I-string, having each string 1x120 kN-fittings only |  | Set | 66 | [7 empty] | Terminal tower=4
3.1.5 | a) Single tension string, upright low duty 120kN- disc only |  | Set | 12 | [7 empty] | Terminal tower=4
0 | b) Single tension string, upright low duty 120kN- fittings only |  | Set | 12 | [7 empty] | Terminal tower=4
3.1.6 | a) Single tension string, inverted low duty 120kN -discs only |  | Set | 12
0 | b) Single tension string, inverted low duty 120kN -fittings only |  | Set | 12
| OPGW sets, complete with all accessories, incl. armour rods and earth bounds | 0 | 0 | 0 | 0
3.1.7 | Suspension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 12
3.1.8 | Tension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 22
Dampers
3.1.9 | Vibration damper for phase conductor |  | per span | 14
3.1.10 | Vibration damper for OPGW |  | per span | 14
4 | Aerial Markers
4.1 | Painting of tower having height more than 60 meter in accordance with the requirements of the Technical Specification |  | per tower | 4
4.2 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification |  | per tower | 4
4.3 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. |  | each | 6
4.4 | Aircraft warning spheres |  | each | 10
4.5 | Bird diverters |  | each | 3
1: 5; 2: Mandatory Spare Parts and Tools | [8 empty] | 0
5.1 | Insulator and Fittings
Insulator sets complete with insulators and all hardware fittings including suspension clamps, tension dead ends,armour rods, arcing horn. Arcing ring etc
Overland Portion
5.1.1 | 120kN single suspension Insulators set (Suspension) for "single ACSR Mallard equivalent ACCC" - Complete Assembly |  | set | 6
5.1.2 | 210kN single suspension Insulators set (Heavy Suspension) for "single ACSR Mallard equivalent ACCC" - Complete Assembly |  | set | 6
5.1.3 | 120kN jumper suspension set for "Single ACSR Mallard equivalent ACCC" - Complete Assembly |  | set | 6
5.1.4 | 120kN twin tension set for "Single ACSR Mallard equivalent ACCC" - Complete Assembly |  | set | 12
5.2 | Phase conductor, earthwire, OPGW & Fittings
5.2.1 | Midspan Joint for "ACSR Mallard equivalent ACCC" conductor |  | each | 2
5.2.2 | Repair sleeve for "ACSR Mallard equivalent ACCC" conductor |  | each | 2
5.2.3 | Vibration Damper for "ACSR Mallard equivalent ACCC" |  | each | 10
5.2.4 | Suspension set for 7x4.00mm Equivalent OPGW |  | each | 3
5.2.5 | Tension set for 7x4.00mm Equivalent OPGW |  | each | 3
5.2.6 | Vibration damper for 7x4.00mm Equivalent OPGW |  | each | 6
Total Columns 7&9 to be carried forward to Schedule No. 5 - Grand Summary
0
1 Specify currencies in accordance with ITB 19.1 of the BDS.
2 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
3 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
4. Column 6, EXW Price shall include all customs duties and sales and other taxes already paid or payable on the components and raw materials used in the manufacture or assembly of the item or the customs duties and sales and other taxes already paid on previously imported items.”
Country of Origin Declaration Form
Item | Description | Code | Country

## Schedule No. 3A
A. | LILO of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line at Kaliganj Substation
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency [BDT] | Foreign Currency [USD] | Local Currency [BDT] | Foreign Currency [USD]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Schedule No. 3A Design Services
1 | Line Design
1.1 | Detailed line design including plan and profiles; conductor, earthwire and OPGW sag tension calculations; tower spotting, establishment of line schedule; Design of insulator strings, OPGW and earthwire attachments | Lump sum | 1
2 | Tower Test
2.1 | Proto assembly of all type towers with all extensions to prove compliance with specification. Payment for successful test only.
2.1.1 | 4DT6 | each | 1
3 | Foundation Design
3.1 | Foundation design for all soil types including additional soil investigation and additional soil resistivity measurement | Lump sum | 1
Total Columns 7 & 8 to be carried forward to Schedule No. 5 - Grand Summary
4 | Total Tax and VAT deductable at source(TDS & VDS) under the schedule 3C(to be quoted in the currency similar as above)2
1. Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2. Bidder shall quote the amount considering clause 14.1 of section 8(Special Conditions of Contract), Volume 1 of 3 of the bidding document. The amount quoted by bidder is subject to arithmatic correction by Employer as required.

## Schedule No. 3B
B. | Connection of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line and Purbachal-Bashundhara 230kV double circuit Line at Purbachal Substation
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency [BDT] | Foreign Currency [USD] | Local Currency [BDT] | Foreign Currency [USD]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Schedule No. 3B Design Services
1 | Line Design
1.1 | Detailed line design including plan and profiles; conductor, earthwire and OPGW sag tension calculations; tower spotting, establishment of line schedule; Design of insulator strings, OPGW and earthwire attachments | Lump sum | 1
2 | Foundation Design
2.1 | Foundation design for all soil types including additional soil investigation and additional soil resistivity measurement | Lump sum | 1
Total Columns 7 & 8 to be carried forward to Schedule No. 5 - Grand Summary
3 | Total Tax and VAT deductable at source(TDS & VDS) under the schedule 3C(to be quoted in the currency similar as above)2
1. Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2. Bidder shall quote the amount considering clause 14.1 of section 8(Special Conditions of Contract), Volume 1 of 3 of the bidding document. The amount quoted by bidder is subject to arithmatic correction by Employer as required.

## Schedule No. 3C
C. | LILO of Tongi-Ghorashal 230kV double circuit Line at Kaliganj Substation
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency [BDT] | Foreign Currency [XXX] | Local Currency [BDT] | Foreign Currency [XXX]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Schedule No. 3C Design Services
1 | Line Design and Tower Design
1.1 | Detailed line design including plan and profiles; conductor, earthwire and OPGW sag tension calculations; tower spotting, establishment of line schedule; Design of insulator strings, OPGW and earthwire attachments | Lump sum | 1
2 | Tower Design and Shop Drawings : Design calculations and fabrication drawings, Shop drawings Including body extensions, hill-side extensions, stubs, signs etc. as per specifications
2.1 | Design of Tower type "2QT6H with all extension" | each | 1
3 | Tower Test
3.1 | Proto assembly of all type towers with all extensions to prove compliance with specification. Payment for successful test only.
3.1.1 | 2DT6 | each | 1
3.1.2 | 2QL | each | 1
3.1.3 | 2Q1 | each | 1
3.1.4 | 2Q15 | each | 1
3.1.5 | 2Q30 | each | 1
3.1.6 | 2QT6 | each | 1
3.1.7 | 2QT6H | each | 1
3.2 | Load Test of towers to prove compliance with specification. Payment for successful test only.
3.2.1 | Tower type "2QT6H+21m" | each | 1
4 | Foundation Design
4.1 | Foundation design for all soil types including additional soil investigation and additional soil resistivity measurement | Lump sum | 1
Total Columns 7 & 8 to be carried forward to Schedule No. 5 - Grand Summary
5 | Total Tax and VAT deductable at source(TDS & VDS) under the schedule 3C(to be quoted in the currency similar as above)2
1. Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2. Bidder shall quote the amount considering clause 14.1 of section 8(Special Conditions of Contract), Volume 1 of 3 of the bidding document. The amount quoted by bidder is subject to arithmatic correction by Employer as required.

## Schedule No. 4A
A. | LILO of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line at Kaliganj Substation
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency [BDT] | Foreign Currency [USD] | Local Currency [BDT] | Foreign Currency [USD]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Schedule No. 4A Installation and Other Services
1 | Survey and soil investigation works
1.1 | Survey Work and Compensation
1.1.1 | Check survey in accordance with the requirements of the technical specification, incl. Full ground survey with change of route, if any, tower plotting and preparation and submission of route maps, profile drawings, SIMM documents, etc. | Km | 0.5
1.1.2 | Payment for Compensation (For resettlement of affected people, dwelling/commercial structures, trees, crops etc. on the Right of Way) | Lumpsum | 1
1.2 | Geotechnical Investigations incl. taking samples, logging and lab testing
1.2.1 | Boreholes for geotechnical investigation, incl. laboratory test, borehole logs, sampling and interpretive report as per geotechnical specification
(a) | Level 2 | borehole | -
(b) | Level 4 | borehole | -
1.2.2 | Soil resistivity tests (one per tower) | unit | 1
2 | Foundations for towers including all setting out, Concrete, Reinforcement, Excavation, Pumping, Stub-Setting, Geotechnical Investigation (Level 2), Shuttering, Leveling, Timbering, supply & Installation of foundation steelwork, Earthing Materials,Backfilling, approved Protective Coating & site clearing etc.
2.1 | Tower type "4DT6"
2.1.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | 1
3 | Erection of 400kV double circuit towers complete with all stubs, nuts, bolts, locking nuts, washers, phase conductor and earthwire swivels/shackles, step bolts, tower notice and identification plates, ACDs, ptotective coating, earthing, bird guard etc. | [6 empty] | 0
3.1 | Tower type "4DT6"
3.1.1 | Tower type 4DT6+9 m | each | 1
3.3 | Auxiliary Crossarm Erection | per set of three | 1
3.4 | Erection works for Fabricated and non fabricated steel | ton | 0.1
4 | Testing of Foundations
4.1 | Individual Pile test including supply,install and test to prove compliance with technical specification, payment for successful test only (applicable for all tower types selected by the Employer's Engineer):
(a) | Compression test | per test | 0
(b) | Uplift test | per test | 1
(c) | Pile Integrity test | per test | 4 | [5 empty] | 24
5 | Stringing of double circuit line, four conductors per phase and one earthware and one OPGW (length approx. Route km)
5.1.1 | Conductor "ACSR Finch" Phase Conductor (3 Phase, Double Circuit, Quad Bundle per phase on the line)" Installation of insulator strings, compressed dead-ends, compression junction sleeves, suspension clamps, Sagging and clipping, Installation of armour rods and Dampers, Pilot strings and jumpers and any other works required as per specification. | route km | 0.5
5.1.2 | ACSR Dorking equivalent , 48 fibres OPGW, including joint box, Tension and semi-tension joints, suspension clamps, armour rods and dampers,Sagging and clipping, Installation of intermediate junction boxes and terminal junction boxes at substation gantries ,Earthing jumpers. | route km | 0.5
5.1.3 | ACSR Dorking earthware,including Compressed dead-ends, compression junction sleeves suspension clamps, armour rods and dampers,Sagging and clipping, Earthing jumpers, warning sphere(if required). | route km | 0.5
6 | Documentation
6.1 | Establishment of as-built drawings, manuals and all requested documents as per specifications | lump sum | 1
7 | Miscellaneous
7.1 | General and other works and services, not mentioned before | lump sum | -
7.2 | Transport of the material and equipment supplied from Employer's Country | lump sum | -
7.3 | Insurance of material and equipment supplied from Employer's Country during transport | lump sum | -
7.4 | Painting of towers (reflecting paint) in accordance with Technical Specification | per tower | 1
7.7 | Additional counterpoise earthing in accordance with requirement of the Technical specification | per meter | -
7.8 | Miscellaneous Rates for works certified by the Engineer in accordance with method of Payment |  | -
(a) | Additional Excavation | cu.m | -
(b) | Additional Concrete | cu.m | -
(c) | Additional Reinforcement | kg | -
(d) | Extra for surface resisting cement per cu.m of concrete | cu.m | -
(e) | Additional Boring (500mm diameter) | rm | -
(f) | Additional Boring (600mm diameter) | rm | -
(g) | Additional Boring (700mm diameter) | rm | -
(h) | Sand Filling | cu.m | -
7.9 | Environmental and Social Services | lump sum | -
7.1 | STI. STD and HIV/AIDS alleviation program2 | lump sum | -
7.11 | Costs and Expenses related to test witness3 (Provisional Sum) | Refer to Schedule-4C
7.12 | Dismantling and by-passing of Ghorashal-Kaliganj-Purbachal-Bashundhara 400kV double circuit Line near Kaliganj Substation area. | lump sum | 1
Total Columns 7 & 8 to be carried forward to Schedule No. 5 - Grand Summary
8 | Total Tax and VAT deductable at source(TDS & VDS) under the schedule 4A(to be quoted in the currency similar as above)4
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 As described in SCC 22.2.7
3 These costs are fixed ceiling and will be included in total price. But the payment shall be at actual upon submission of relevant documents.
4 Bidder shall quote the amount considering clause 14.1 of section 8(Special Conditions of Contract), Volume 1 of 3 of the bidding document. The amount quoted by bidder is subject to arithmatic correction by Employer as required.

## Schedule No. 4B
B. | Connection of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line and Purbachal-Bashundhara 230kV double circuit Line at Purbachal Substation
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency [BDT] | Foreign Currency [USD] | Local Currency [BDT] | Foreign Currency [USD]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Schedule No. 4B Installation and Other Services
1 | Survey and soil investigation works
1.1 | Survey Work and Compensation
1.1.1 | Check survey in accordance with the requirements of the technical specification, incl. Full ground survey with change of route, if any, tower plotting and preparation and submission of route maps, profile drawings, SIMM documents, etc. | Km | 0.3
1.1.2 | Payment for Compensation (For resettlement of affected people, dwelling/commercial structures, trees, crops etc. on the Right of Way) | Lumpsum | 1
1.2 | Geotechnical Investigations incl. taking samples, logging and lab testing
1.2.1 | Boreholes for geotechnical investigation, incl. laboratory test, borehole logs, sampling and interpretive report as per geotechnical specification
(a) | Level 2 | borehole | -
(b) | Level 4 | borehole | -
1.2.2 | Soil resistivity tests (one per tower) | unit | -
2 | Foundations for towers including all setting out, Concrete, Reinforcement, Excavation, Pumping, Stub-Setting, Geotechnical Investigation (Level 2), Shuttering, Leveling, Timbering, supply & Installation of foundation steelwork, Earthing Materials,Backfilling, approved Protective Coating & site clearing etc.
2.1 | Tower type "2DT6"
2.1.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | -
3 | Erection of 400kV and 230kV double circuit t towers complete with all stubs, nuts, bolts, locking nuts, washers, phase conductor and earthwire swivels/shackles, step bolts, tower notice and identification plates, ACDs, ptotective coating, earthing, bird guard etc. | [6 empty] | 0
3.1 | - | - | -
4 | Testing of Foundations
4.1 | Individual Pile test including supply,install and test to prove compliance with technical specification, payment for successful test only (applicable for all tower types selected by the Employer's Engineer):
(a) | Compression test | per test | -
(b) | Uplift test | per test | -
(c) | Pile Integrity test | per test | - | [5 empty] | 24
5 | Stringing of double circuit line, four/two conductors per phase and one earthware and one OPGW (length approx. Route km)
5.1.1 | Conductor "ACSR Finch" Phase Conductor (3 Phase, Double Circuit, Quad Bundle per phase on the line)" Installation of insulator strings, compressed dead-ends, compression junction sleeves, suspension clamps, Sagging and clipping, Installation of armour rods and Dampers, Pilot strings and jumpers and any other works required as per specification. | route km | 0.3
5.1.2 | ACSR Dorking equivalent , 48 fibres OPGW, including joint box, Tension and semi-tension joints, suspension clamps, armour rods and dampers,Sagging and clipping, Installation of intermediate junction boxes and terminal junction boxes at substation gantries ,Earthing jumpers. | route km | 0.3
5.1.3 | ACSR Dorking earthware,including Compressed dead-ends, compression junction sleeves suspension clamps, armour rods and dampers,Sagging and clipping, Earthing jumpers, warning sphere(if required). | route km | 0.3
5.1.4 | Conductor "ACSR Mallard" Phase Conductor (3 Phase, Double Circuit, Twin Bundle per phase on the line)" Installation of insulator strings, compressed dead-ends, compression junction sleeves, suspension clamps, Sagging and clipping, Installation of armour rods and Dampers, Pilot strings and jumpers and any other works required as per specification. | route km | 0.3
5.1.5 | 7X4.0 GS equivalent , 48 fibres OPGW, including joint box, Tension and semi-tension joints, suspension clamps, armour rods and dampers,Sagging and clipping, Installation of intermediate junction boxes and terminal junction boxes at substation gantries ,Earthing jumpers. | route km | 0.3
5.1.6 | 7X4.0 GS earthware equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. | route km | 0.3
6 | Documentation
6.1 | Establishment of as-built drawings, manuals and all requested documents as per specifications | lump sum | 1
7 | Miscellaneous
7.1 | General and other works and services, not mentioned before | lump sum | -
7.2 | Transport of the material and equipment supplied from Employer's Country | lump sum | -
7.3 | Insurance of material and equipment supplied from Employer's Country during transport | lump sum | -
7.4 | Painting of towers (reflecting paint) in accordance with Technical Specification | per tower | 1
7.7 | Additional counterpoise earthing in accordance with requirement of the Technical specification | per meter | -
7.8 | Miscellaneous Rates for works certified by the Engineer in accordance with method of Payment
(a) | Additional Excavation | cu.m | -
(b) | Additional Concrete | cu.m | -
(c) | Additional Reinforcement | kg | -
(d) | Extra for surface resisting cement per cu.m of concrete | cu.m | -
(e) | Additional Boring (500mm diameter) | rm | -
(f) | Additional Boring (600mm diameter) | rm | -
(g) | Additional Boring (700mm diameter) | rm | -
(h) | Sand Filling | cu.m | -
7.9 | Environmental and Social Services | lump sum | -
7.1 | STI. STD and HIV/AIDS alleviation program2 | lump sum | -
7.11 | Costs and Expenses related to test witness3 (Provisional Sum) | Refer to Schedule-4C
7.12 | Dismantling of the 400kV part of the connection between Ghorashal-Kaliganj-Purbachal 400kV Transmission Line and Purbachal-Bashundhara 230kV Transmission Line near the Purbachal substation area. | lump sum | 1
7.13 | Dismantling of the 230kV part of the connection between Ghorashal-Kaliganj-Purbachal 400kV Transmission Line and Purbachal-Bashundhara 230kV Transmission Line near the Purbachal substation area. | lump sum | 1
Total Columns 7 & 8 to be carried forward to Schedule No. 5 - Grand Summary
8 | Total Tax and VAT deductable at source(TDS & VDS) under the schedule 4B(to be quoted in the currency similar as above)4
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 As described in SCC 22.2.7
3 These costs are fixed ceiling and will be included in total price. But the payment shall be at actual upon submission of relevant documents.
4 Bidder shall quote the amount considering clause 14.1 of section 8(Special Conditions of Contract), Volume 1 of 3 of the bidding document. The amount quoted by bidder is subject to arithmatic correction by Employer as required.

## Schedule No. 4C
C. | LILO of Tongi-Ghorashal 230kV double circuit Line at Kaliganj Substation
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency [BDT] | Foreign Currency [USD] | Local Currency [BDT] | Foreign Currency [USD]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Schedule No. 4C Installation and Other Services
1 | Survey and soil investigation works
1.1 | Survey Work an Compensation
1.1.1 | Check survey in accordance with the requirements of the technical specification, incl. Full ground survey with change of route, if any, tower plotting and preparation and submission of route maps, profile drawings, SIMM documents, etc. | km | 3.5
1.1.2 | Payment for Compensation(For resettlement of affected people, dwelling/commercial structures, trees, crops etc. on the Right of Way) | km | 3.5
1.2 | Geotechnical Investigations incl. taking samples, logging and lab testing
1.2.1 | Boreholes for geotechnical investigation, incl. laboratory test, borehole logs, sampling and interpretive report as per geotechnical specification
(a) | Level 2 | borehole | -
(b) | Level 4 | borehole | -
1.2.2 | Soil resistivity tests (one per tower) | unit | 15
2 | Foundations for towers including all setting out, Concrete, Reinforcement, Excavation, Pumping, Stub-Setting, Geotechnical Investigation (Level 2), Shuttering, Leveling, Timbering, supply & Installation of foundation steelwork, Earthing Materials,Backfilling, approved Protective Coating & site clearing etc.
2.1 | Tower type "2DT6"
2.1.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | 2
2.2 | Tower type "2QL"
2.2.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | 4 |  |  |  |  | 6
2.3 | Tower type "2Q1"
2.3.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | 2
2.4 | Tower type "2Q15"
2.4.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | 1 |  |  |  |  | 3
2.5 | Tower type "2Q30"
2.5.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | 1
2.6 | Tower type "2QT6"
2.6.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | 3
2.7 | Tower type "2QT6H"
2.7.1 | Piled Foundation with any Chimney Height for any Soil Category | per tower | 2 |  |  |  |  | 6
3 | Erection of 230kV double circuit & four circuit towers complete with all stubs, nuts, bolts, locking nuts, washers, phase conductor and earthwire swivels/shackles, step bolts, tower notice and identification plates, ACDs, ptotective coating, earthing, bird guard etc. | [6 empty] | 15
3.1 | Tower type "2DT6"
3.1.1 | Tower type 2DT6+6 m | each | 1
3.1.2 | Tower type 2DT6+9 m | each | 1 |  |  |  |  | 2
3.2 | Tower type "2QL"
3.2.1 | Tower type 2QL +3 m | each | 1
3.2.2 | Tower type 2QL +6 m | each | 1
3.2.2 | Tower type 2QL +9 m | each | 2
3.3 | Tower type "2Q1"
3.3.1 | Tower type 2Q1 +21 m | each | 1
3.3.2 | Tower type 2Q1 +25 m | each | 1
3.4 | Tower type "2Q15"
3.4.1 | Tower type 2Q15+ 9 m | each | 1
3.5 | Tower type "2Q30"
3.5.1 | Tower type 2Q30+ 9 m | each | 1
3.6 | Tower type "2QT6"
3.6.1 | Tower type 2QT6+ 3 m | each | 1
3.6.2 | Tower type 2QT6+ 6 m | each | 1
3.6.3 | Tower type 2QT6+ 9 m | each | 1
3.7 | Tower type "2QT6H" with any Extension | each | 2
3.8 | Auxiliary crossarm for tower type 2QT6 or 2QT6H | per set of three | 2
3.9 | Auxiliary crossarm for tower type 2DT6 | per set of three | 2
4 | Testing of Foundations
4.1 | Individual Pile test including supply,install and test to prove compliance with technical specification, payment for successful test only (applicable for all tower types selected by the Employer's Engineer):
(a) | Compression test | per test | 1
(b) | Uplift test | per test | 1
(c) | Pile Integrity test | per test | 60 | [5 empty] | 24
5 | Stringing of double/four circuit line, two conductors per phase and 2(two) OPGW (length approx. Route km)
5.1.1 | Conductor "ACSR Mallard equivalent ACCC" Phase Conductor (3 Phase, Four Circuit, Single conductor per phase on the line)" Installation of insulator strings, compressed dead-ends, compression junction sleeves, suspension clamps, Sagging and clipping, Installation of armour rods and Dampers, Pilot strings and jumpers and any other works required as per specification. | route km | 3.5
5.1.2 | 7x4.00mm equivalent , 48 fibres OPGW, including joint box, Tension and semi-tension joints, suspension clamps, armour rods and dampers,Sagging and clipping, Installation of intermediate junction boxes and terminal junction boxes at substation gantries ,Earthing jumpers. Two OPGW earthwire on the line. | route km | 3.5
6 | Documentation
6.1 | Establishment of as-built drawings, manuals and all requested documents as per specifications | lump sum | 1
7 | Miscellaneous
7.1 | General and other works and services, not mentioned before | lump sum | 1
7.2 | Transport of the material and equipment supplied from Employer's Country | lump sum | 1
7.3 | Insurance of material and equipment supplied from Employer's Country during transport | lump sum | 1
7.4 | Painting of towers (reflecting paint) in accordance with Technical Specification | per tower | 1
7.5 | Additional counterpoise earthing in accordance with requirement of the Technical specification | per meter | 5
7.6 | Miscellaneous Rates for works certified by the Engineer in accordance with method of Payment
(a) | Additional Excavation | cu.m | 100
(b) | Additional Concrete | cu.m | 50
(c) | Additional Reinforcement | kg | 500
(d) | Extra for surface resisting cement per cu.m of concrete | cu.m | 50
(e) | Additional Boring (500mm diameter) | rm | 50
(f) | Additional Boring (600mm diameter) | rm | 50
(g) | Additional Boring (700mm diameter) | rm | 50
(h) | Sand Filling | cu.m | 100
7.7 | Environmental and Social Services | lump sum | 1
7.8 | STI. STD and HIV/AIDS alleviation program2 | lump sum | 1
7.9 | Costs and Expenses related to test witness3 (Provisional Sum) | lump sum | 1 |  | 80000 |  | 80000
7.1 | Dismantling and by-passing of Tongi-Ghorashal 230kV double circuit Line near Kaliganj Substation area. | lump sum | 1
Total Columns 7 & 8 to be carried forward to Schedule No. 5 - Grand Summary
8 | Total Tax and VAT deductable at source(TDS & VDS) under the schedule 4C(to be quoted in the currency similar as above)3
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 As described in SCC 22.2.7
3 These costs are fixed ceiling and will be included in total price. But the payment shall be at actual upon submission of relevant documents.
4 Bidder shall quote the amount considering clause 14.1 of section 8(Special Conditions of Contract), Volume 1 of 3 of the bidding document. The amount quoted by bidder is subject to arithmatic correction by Employer as required.

## Schedule No. 5. Grand Summary
Design, Supply, Installation, Testing & Commissioning of 400kV and 230kV Transmission Lines’ LILO at Kaliganj and Purbachal Substation on Turnkey Basis (Package-1)
Schedule No. 5 Grand Summary
Item | Description | Total Price1
|  | Local Currency Portion [BDT] | Foreign Currency Portion [XXX]
A | LILO of Ghorashal-Kaliganj-Purbachal-Bashundhara 400kV double circuit Line at Kaliganj Substation
1 | Schedule No. 1A Plant and Mandatory Spare Parts Supplied from Abroad
2 | Schedule No. 2A Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
3 | Schedule No. 3A Design Services
4 | Schedule No. 4A Installation and Other Services
B | Connection of Ghorashal-Kaliganj-Purbachal 400kV double circuit Line and Purbachal-Bashundhara 230kV double circuit Line at Purbachal Substation
1 | Schedule No. 1B Plant and Mandatory Spare Parts Supplied from Abroad
2 | Schedule No. 2B Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
3 | Schedule No. 3B Design Services
4 | Schedule No. 4B Installation and Other Services
C | LILO of Tongi-Ghorashal 230kV double circuit Line at Kaliganj Substation
1 | Schedule No. 1C Plant and Mandatory Spare Parts Supplied from Abroad
2 | Schedule No. 2C Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
3 | Schedule No. 3C Design Services
4 | Schedule No. 4C Installation and Other Services
GRAND TOTAL
1. Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2. Taxes and/or duties from Schedule 1 and 2 may be added to the contract price in accordance with GCC 14 (Taxes and Duties) but excluded from bid evaluation in accordance with ITB 39.2"

## Schedule No. 6
Design, Supply, Installation, Testing & Commissioning of 400kV and 230kV Transmission Lines’ LILO at Kaliganj and Purbachal Substation on Turnkey Basis (Package-1)
Schedule No. 6. Recommended Spare Parts
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency Portion [BDT] | Foreign Currency Portion [xxxxx] | Local Currency Portion [BDT] | Foreign Currency Portion [xxx]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
1. Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.