## Schedule No. 1A
Item | Description | Country of origin2 | Unit | Quantity | Unit Price1 | Total Price1
[5 empty] | Foreign Currency [ ] CIP | Foreign Currency [ ] CIP
1 | 2 | 3* | 4 | 5 | 6 | 7= 5 x 6
Schedule No. 1A Plant and Mandatory Spare Parts Supplied from Abroad
1 | Supply of 400 kV double circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating(Galvanizing), etc as per specification.
1.1 | Tower type "4DL"
1.1.1 | Tower type 4DL Standard |  | each | 1 | [7 empty] | 4DL
1.1.2 | Tower type 4DL+1.5 m |  | each | 0 |  |  | 28 |  |  |  |  | 4DL
1.1.3 | Tower type 4DL+3 m |  | each | 1 | [7 empty] | 4DL
1.1.4 | Tower type 4DL+4.5 m |  | each | 2 | [7 empty] | 4DL
1.1.5 | Tower type 4DL+6 m |  | each | 6 | [5 empty] | 23 |  | 4DL
1.1.6 | Tower type 4DL+9 m |  | each | 13 | [7 empty] | 4DL
1.2 | Tower type "4D1"
1.2.1 | Tower type 4D1 Standard |  | each | 0 | [7 empty] | 4D1
1.2.2 | Tower type 4D1+1.5 m |  | each | 0 | [7 empty] | 4D1
1.2.3 | Tower type 4D1+3 m |  | each | 0 | [7 empty] | 4D1
1.2.4 | Tower type 4D1+4.5 m |  | each | 0 |  |  | 4DT6 | 7 |  |  |  | 4D1
1.2.5 | Tower type 4D1+6 m |  | each | 0 |  |  | 4DL | 23 |  |  |  | 4D1
1.2.6 | Tower type 4D1+9 m |  | each | 0 |  |  | 4D1 | 4 |  |  |  | 4D1
1.2.7 | Tower type 4D1+12 m |  | each | 1 |  |  | 4D25 | 9 |  |  |  | 4D1
1.2.8 | Tower type 4D1+15 m |  | each | 1 |  |  | 4D45 | 2 |  |  |  | 4D1
1.2.9 | Tower type 4D1+20m |  | each | 1 |  |  |  | 45 |  |  |  | 4D1
1.2.10 | Tower type 4D1+25 m |  | each | 1 | [7 empty] | 4D1
1.2.11 | Tower type 4D1+30 m |  | each | 0 |  |  | Total tension tower | 18 | 30 |  |  | 4D1
1.2.12 | Tower type 4D1+40 m |  | each | 0 | [5 empty] | 4 |  | 4D1
1.3 | Tower type "4D25"
1.3.1 | Tower type 4D25 Standard |  | each | 0 | [7 empty] | 4D25
1.3.2 | Tower type 4D25+1.5 m |  | each | 0 | [7 empty] | 4D25
1.3.3 | Tower type 4D25+3 m |  | each | 0 | [7 empty] | 4D25
1.3.4 | Tower type 4D25+4.5 m |  | each | 2 | [7 empty] | 4D25
1.3.5 | Tower type 4D25+6 m |  | each | 1 | [7 empty] | 4D25
1.3.6 | Tower type 4D25+9 m |  | each | 6 | [7 empty] | 4D25
1.4 | Tower type "4D45"
1.4.1 | Tower type 4D45 Standard |  | each | 0 | [7 empty] | 4D45
1.4.2 | Tower type 4D45+1.5 m |  | each | 0 | [7 empty] | 4D45
1.4.3 | Tower type 4D45+3 m |  | each | 0 | [7 empty] | 4D45
1.4.4 | Tower type 4D45+4.5 m |  | each | 0 | [7 empty] | 4D45
1.4.5 | Tower type 4D45+6 m |  | each | 1 | [7 empty] | 4D45
1.4.6 | Tower type 4D45+9 m |  | each | 1 | [7 empty] | 4D45
1.5 | Tower type "4DT6"
1.5.1 | Tower type 4DT6 Standard |  | each | 1 | [7 empty] | 4D60
1.5.2 | Tower type 4DT6+1.5 m |  | each | 0 | [7 empty] | 4D60
1.5.3 | Tower type 4DT6+3 m |  | each | 1 | [7 empty] | 4D60
1.5.4 | Tower type 4DT6+4.5 m |  | each | 0 | [5 empty] | 30 |  | 4D60
1.5.5 | Tower type 4DT6+6 m |  | each | 1 | [7 empty] | 4D60
1.5.6 | Tower type 4DT6+9 m |  | each | 4 |  |  |  |  | 45 |  |  | 4D60
1.6 | Auxiliary Crossarm for tower
1.6.1 | Auxiliary crossarm for tower type 4DT6 |  | per set of three | 3 | [7 empty] | 4D60
1.7 | Tower Earthing
1.7.1 | Type A |  | Per Tower | 30
1.7.2 | Type B |  | Per Tower | 7
1.7.3 | Type C |  | Per Tower | 7
1.7.4 | Type D (if Required) |  | Per Tower | 1
1.8 | Galvenized Tower Steel
(a) | Fabricated |  | ton | 10 | [7 empty] | 4DL
(b) | Non-fabricated |  | ton | 10 | [7 empty] | 4DL
2 | Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints
2.1 | "ACSR Finch" (double circuit line, both circuits erected, four conductors per phase) [3] |  | Route km2 | 13.5 | [7 empty] | Conductor
2.2 | a) ACSR "Dorking" earthwire with necessary midspan joints and repair sleeves. One earthwire on the line. |  | Route km2 | 13.5
2.3 | ACSR Dorking equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. One OPGW earthwire on the line. |  | Route km2 | 13.5 | [7 empty] | OPGW
3.1 | Insulator strings, with associated suspension and tension clamps for quadruple "ACSR Finch" Conductor
3.1.1 | a) 210kN twin suspension Insulators set (Suspension) - disc only |  | Set | 138 | [7 empty] | Insulator
| b) 210kN twin suspension Insulators Fittings set for (Suspension) - hardware fittings only |  | Set | 138 | [7 empty] | Hardware
3.1.2 | a) 210kN twin suspension Insulators set for (Heavy Suspension) - disc only |  | Set | 24 | [7 empty] | Insulator
| b) 210kN twin suspension Insulators Fittings Set for Conductor - hardware fittings only |  | Set | 24 | [7 empty] | Hardware
3.1.3 | a) 210kN jumper suspension Insulators Set- disc only |  | Set | 60 | [7 empty] | Insulator
| b) 210kN jumper suspension Insulators Fittings Set hardware fittings only |  | Set | 60 | [7 empty] | Hardware
3.1.4 | a) 400kN twin tension Insulators Set - disc only |  | Set | 192 | [7 empty] | Insulator
| b) 400kN twin tension Insulators Fittings Set - hardware fittings only |  | Set | 192 | [7 empty] | Hardware
3.1.5 | a) 210kN single upright low duty Insulators Set - disc only |  | Set | 12 |  |  | Terminal tower=4 |  |  |  |  | Insulator
| b) 210kN single upright low duty Insulators Fittings Set hardware fittings only |  | Set | 12 |  |  | Terminal tower=4 |  |  |  |  | Hardware
3.1.6 | a) 210kN single inverted low duty Insulators Set disc only |  | Set | 12 |  |  | Terminal tower=4 |  |  |  |  | Insulator
| b) 210kN single inverted low duty Insulators Fittings Set - hardware fittings only |  | Set | 12 |  |  | Terminal tower=4 |  |  |  |  | Hardware
3.2 | Insulator strings, with associated suspension and tension clamps for quadruple " LL ACSR Finch" Conductor
3.2.1 | a) 400kN twin tension Insulators Set - disc only |  | Set | 12
| b) 400kN twin tension Insulators Fittings Set - hardware fittings only |  | Set | 12
3.3 | Counterweights for 210kN suspension insulator sets complete with yoke plate attachment bolts to be used for 4D1 towers:
(a) | - 40kg set |  | each | 6 | [7 empty] | Hardware
(b) | - 80kg set |  | each | 6 | [7 empty] | Hardware
(c) | - 120kg set |  | each | 6 | [7 empty] | Hardware
4.1 | Earthwire sets, complete with all accessories.
4.1.1 | Suspension set for ACSR "Dorking"earthwire |  | set | 27
4.1.2 | Tension set for ACSR "Dorking" earthwire |  | set | 38
4.2 | OPGW sets, complete with all accessories, incl. armour rods and earth bounds | [10 empty] | #REF!
4.2.1 | Suspension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 27 | [7 empty] | OPGW
4.2.2 | Tension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 38 | [7 empty] | OPGW
5 | Dampers
5.1 | Vibration damper for phase conductor |  | per span | 45 | [7 empty] | Hardware
5.2 | Spacer damper for phase conductor |  | per span | 45 | [7 empty] | Hardware
5.3 | Vibration damper for OPGW |  | per span | 45 | [7 empty] | OPGW
5.4 | Vibration Damper for Earthwire |  | per span | 45
5.5 | Spacer for jumper |  | nos. | 126 | [7 empty] | Hardware
6 | Aerial Markers and Tower Paint
6.1 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. |  | Per tower | 28 | [7 empty] | Aviation
6.2 | Bird diverters |  | pcs. | 228 | [7 empty] | Aviation
6.3 | Bird guards, one bird guard per each crossarm applied on intermediate towers |  | pcs. | 162 | [7 empty] | Aviation
6.4 | Aircraft warning spheres |  | pcs. | 310 | [7 empty] | Aviation
6.5 | Painting of 60 meter and over tower in accordance with the requirements of the Technical Specification |  | per tower | 28 | [7 empty] | Painting
6.6 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification |  | Per tower | 5 | [7 empty] | Painting
6.7 | Coal tar epoxy coatings on all tower steelwork up to 3.0m/HFL whichever is greater from ground level in accordance with the requirements of the Technical Specification |  | Per tower | 45
6A | Bypass Equipment with mandatory spares in accordance with Chapter 22 of Volume 2 |  | Set | 1
6A.1 | Bypass Equipment (ERS structure) components, including gimbal joints, foundation plates, guy plates etc.
6A.2 | Insulators
6A.3 | Guywire components including guywire
6A.4 | Guy anchor assemblies
6A.5 | Hardware fittings & other required components including Storage container
6A.6 | Erection Tools & Equipment including Mandatory Spares
6A.7 | Demonstration and Training |  | Lot | 1
Mandatory Spare Parts and Tools
7.1 | Conductor ACSR Finch |  | km | 12 | [7 empty] | Conductor
7.2 | Optical fibre ground wire, 48 fibres OPGW, mechanically compatible with ACSR Dorking |  | km | 3 | [7 empty] | OPGW
7.3 | ACSR Dorking Earthwire. |  | km | 2
8 | Insulator strings, with associated suspension and tension clamps for quadruple "ACSR Finch" Conductor
8.1 | a) 210kN twin suspension Insulators set (Suspension) - disc only |  | Set | 36 | [7 empty] | Insulator
| b) 210kN twin suspension Insulators Fittings set for (Suspension) - hardware fittings only |  | Set | 36 | [7 empty] | Hardware
8.2 | a) 210kN twin suspension Insulators set for (Heavy Suspension) - disc only |  | Set | 18 | [7 empty] | Insulator
| b) 210kN twin suspension Insulators Fittings Set for Conductor - hardware fittings only |  | Set | 18 | [7 empty] | Hardware
8.3 | a) 210kN jumper suspension Insulators Set- disc only |  | Set | 12 | [7 empty] | Insulator
| b) 210kN jumper suspension Insulators Fittings Set hardware fittings only |  | Set | 12 | [7 empty] | Hardware
8.4 | a) 400kN twin tension Insulators Set - disc only |  | Set | 72 | [7 empty] | Insulator
| b) 400kN twin tension Insulators Fittings Set - hardware fittings only |  | Set | 72 | [7 empty] | Hardware
8.5 | OPGW 48 fibres suspension set |  | set | 6 | [7 empty] | OPGW
8.6 | OPGW 48 fibres tension set |  | set | 10 | [7 empty] | OPGW
8.7 | OPGW junction box |  | set | 5 | [7 empty] | OPGW
8.8 | Earthwire suspension set |  | set | 6
8.9 | Earthwire Tension set |  | set | 10
8.1 | Vibration damper for ACSR Finch conductor |  | each | 30 | [7 empty] | Hardware
8.11 | Spacer damper for quadruple ACSR Finch conductor |  | each | 15
8.12 | Vibration damper for OPGW |  | each | 10 | [7 empty] | OPGW
8.13 | Vibration damper for Earthwire |  | each | 10
8.14 | Repair sleeve for conductor - ACSR Finch |  | pcs | 10 | [7 empty] | Hardware
8.15 | Midspan joints for conductor -ACSR Finch |  | pcs | 10 | [7 empty] | Hardware
8.16 | Bird diverters |  | pcs | 5 | [7 empty] | Aviation
8.17 | Bird guard |  | pcs | 5 | [7 empty] | Aviation
8.18 | Aircraft warning markers |  | pcs | 10 | [7 empty] | Aviation
8.19 | Terminal ground resistance tester (tools) |  | pcs | 1 | [7 empty] | Equipment
8.2 | Motorised jointing compressor for all conductor complete with dies suitable for conductors & earthwires to be used for this Contract |  | each | 1 | [7 empty] | Equipment
Total Columns 7 to be carried forward to Schedule No. 5 -Grand Summary | [10 empty] | HARDWARE | #N/A | 126.8946
2 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
1.Specify currency in accordance with specifications in Bid Data Sheet under ITB 19.1 in Single-stage Bid. Create and use as many columns for Unit Price and Total Price as there are currencies.

## Schedule No. 2A
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency EXW [BDT] | Foreign Currency EXW [ ] | Local Currency EXW [BDT] | Foreign Currency EXW [ ]
1 | 2 | 3 | 4 | 5 | 6 | 7=4*5 | 8=4*6
Schedule No. 2A Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
1 | Supply of 400 kV double circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating(Galvanizing), etc as per specification.
1.1 | Tower type "4DL"
1.1.1 | Tower type 4DL Standard | each | 1
1.1.2 | Tower type 4DL+1.5 m | each | 0
1.1.3 | Tower type 4DL+3 m | each | 1
1.1.4 | Tower type 4DL+4.5 m | each | 2
1: 1.1.5; 2: Tower type 4DL+6 m; 3: each; 4: 6 |  |  |  | 23
1.1.6 | Tower type 4DL+9 m | each | 13
1.2 | Tower type "4D1"
1.2.1 | Tower type 4D1 Standard | each | 0
1.2.2 | Tower type 4D1+1.5 m | each | 0
1.2.3 | Tower type 4D1+3 m | each | 0
1: 1.2.4; 2: Tower type 4D1+4.5 m; 3: each; 4: 0 | 4DT6 | 7
1: 1.2.5; 2: Tower type 4D1+6 m; 3: each; 4: 0 | 4DL | 23
1: 1.2.6; 2: Tower type 4D1+9 m; 3: each; 4: 0 | 4D1 | 4
1: 1.2.7; 2: Tower type 4D1+12 m; 3: each; 4: 1 | 4D25 | 9
1: 1.2.8; 2: Tower type 4D1+15 m; 3: each; 4: 1 | 4D45 | 2
1: 1.2.9; 2: Tower type 4D1+20m; 3: each; 4: 1 |  | 45 | 273
1.2.10 | Tower type 4D1+25 m | each | 1
1: 1.2.11; 2: Tower type 4D1+30 m; 3: each; 4: 0 | Total tension tower | 18 | 30
1: 1.2.12; 2: Tower type 4D1+40 m; 3: each; 4: 0 |  |  |  | 4
1.3 | Tower type "4D25"
1.3.1 | Tower type 4D25 Standard | each | 0
1.3.2 | Tower type 4D25+1.5 m | each | 0
1.3.3 | Tower type 4D25+3 m | each | 0
1.3.4 | Tower type 4D25+4.5 m | each | 2
1.3.5 | Tower type 4D25+6 m | each | 1
1.3.6 | Tower type 4D25+9 m | each | 6
1.4 | Tower type "4D45"
1.4.1 | Tower type 4D45 Standard | each | 0
1.4.2 | Tower type 4D45+1.5 m | each | 0
1.4.3 | Tower type 4D45+3 m | each | 0
1.4.4 | Tower type 4D45+4.5 m | each | 0
1.4.5 | Tower type 4D45+6 m | each | 1
1.4.6 | Tower type 4D45+9 m | each | 1
1.5 | Tower type "4DT6"
1.5.1 | Tower type 4DT6 Standard | each | 1
1.5.2 | Tower type 4DT6+1.5 m | each | 0
1.5.3 | Tower type 4DT6+3 m | each | 1
1: 1.5.4; 2: Tower type 4DT6+4.5 m; 3: each; 4: 0 |  |  |  | 30
1.5.5 | Tower type 4DT6+6 m | each | 1
1: 1.5.6; 2: Tower type 4DT6+9 m; 3: each; 4: 4 |  |  | 45
1.6 | Auxiliary Crossarm for tower
1.6.1 | Auxiliary crossarm for tower type 4DT6 | per set of three | 3
1.7 | Tower Earthing
1.7.1 | Type A | Per Tower | 41
1.7.2 | Type B | Per Tower | 2
1.7.3 | Type C | Per Tower | 2
1.7.4 | Type D (if Required) | Per Tower | 0
1.8 | Galvenized Tower Steel
(a) | Fabricated | ton | 10
(b) | Non-fabricated | ton | 10
2 | Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints
2.1 | "ACSR Finch" (double circuit line, both circuits erected, four conductors per phase) [3] | Route km2 | 13.5
2.2 | ACSR "Dorking" earthwire with necessary midspan joints and repair sleeves. One earthwire on the line. | Route km2 | 13.5
2.3 | ACSR Dorking equivalent OPGW inclusive of joint boxes, fixing clamps, fusion splices and connections to the joint boxes. One OPGW earthwire on the line. | Route km2 | 13.5
3.1 | Insulator strings, with associated suspension and tension clamps for quadruple "ACSR Finch" Conductor
3.1.1 | a) 210kN twin suspension Insulators set (Suspension) - disc only | Set | 138
| b) 210kN twin suspension Insulators Fittings set for (Suspension) - hardware fittings only | Set | 138
1: 3.1.2; 2: a) 210kN twin suspension Insulators set for (Heavy Suspension) - disc only; 3: Set; 4: 24 | Terminal tower=4
2: b) 210kN twin suspension Insulators Fittings Set for Conductor - hardware fittings only; 3: Set; 4: 24 | Terminal tower=4
1: 3.1.3; 2: a) 210kN jumper suspension Insulators Set- disc only; 3: Set; 4: 60 | Terminal tower=4
2: b) 210kN jumper suspension Insulators Fittings Set hardware fittings only; 3: Set; 4: 60 | Terminal tower=4
3.1.4 | a) 400kN twin tension Insulators Set - disc only | Set | 192
| b) 400kN twin tension Insulators Fittings Set - hardware fittings only | Set | 192
3.1.5 | a) 210kN single upright low duty Insulators Set - disc only | Set | 12
| b) 210kN single upright low duty Insulators Fittings Set hardware fittings only | Set | 12
3.1.6 | a) 210kN single inverted low duty Insulators Set disc only | Set | 12
| b) 210kN single inverted low duty Insulators Fittings Set - hardware fittings only | Set | 12
3.2 | Insulator strings, with associated suspension and tension clamps for quadruple " LL ACSR Finch" Conductor
3.2.1 | a) 400kN twin tension Insulators Set - disc only | Set | 12
| b) 400kN twin tension Insulators Fittings Set - hardware fittings only | Set | 12
3.3 | Counterweights for 210kN suspension insulator sets complete with yoke plate attachment bolts to be used for 4D1 towers:
(a) | - 40kg set | each | 6
(b) | - 80kg set | each | 6
(c) | - 120kg set | each | 6
4.1 | Earthwire sets, complete with all accessories.
4.1.1 | Suspension set for ACSR "Dorking"earthwire | set | 27
4.1.2 | Tension set for ACSR "Dorking" earthwire | set | 38
4.2 | OPGW sets, complete with all accessories, incl. armour rods and earth bounds
4.2.1 | Suspension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) | set | 27
4.2.2 | Tension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) | set | 38
5 | Dampers
5.1 | Vibration damper for phase conductor | per span | 45
5.2 | Spacer damper for phase conductor | per span | 45
5.3 | Vibration damper for OPGW | per span | 45
5.4 | Vibration Damper for Earthwire | per span | 45
5.5 | Spacer for jumper | nos. | 126
6 | Aerial Markers and Tower Paint
6.1 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. | Per tower | 28
6.2 | Bird diverters | pcs. | 228
6.3 | Bird guards, one bird guard per each crossarm applied on intermediate towers | pcs. | 162
6.4 | Aircraft warning spheres | pcs. | 310
6.5 | Painting of 60 meter and over tower in accordance with the requirements of the Technical Specification | per tower | 28
6.6 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification | Per tower | 5
6.7 | Coal tar epoxy coatings on all tower steelwork up to 3.0m/HFL whichever is greater from ground level in accordance with the requirements of the Technical Specification | Per tower | 45
6A | Bypass Equipment with mandatory spares in accordance with Chapter 22 of Volume 2 | Set | 1
6A.1 | Bypass Equipment (ERS structure) components, including gimbal joints, foundation plates, guy plates etc.
6A.2 | Insulators
6A.3 | Guywire components including guywire
6A.4 | Guy anchor assemblies
6A.5 | Hardware fittings & other required components including Storage container
6A.6 | Erection Tools & Equipment including Mandatory Spares
6A.7 | Demonstration and Training | Lot | 1
Mandatory Spare Parts and Tools
7.1 | Conductor ACSR Finch | km | 12
7.2 | Optical fibre ground wire, 48 fibres OPGW, mechanically compatible with ACSR Dorking | km | 3
7.3 | ACSR Dorking Earthwire. | km | 2
8 | Insulator strings, with associated suspension and tension clamps for quadruple "ACSR Finch" Conductor
8.1 | a) 210kN twin suspension Insulators set (Suspension) - disc only | Set | 36
| b) 210kN twin suspension Insulators Fittings set for (Suspension) - hardware fittings only | Set | 36
8.2 | a) 210kN twin suspension Insulators set for (Heavy Suspension) - disc only | Set | 18
| b) 210kN twin suspension Insulators Fittings Set for Conductor - hardware fittings only | Set | 18
8.3 | a) 210kN jumper suspension Insulators Set- disc only | Set | 12
| b) 210kN jumper suspension Insulators Fittings Set hardware fittings only | Set | 12
8.4 | a) 400kN twin tension Insulators Set - disc only | Set | 72
| b) 400kN twin tension Insulators Fittings Set - hardware fittings only | Set | 72
8.5 | OPGW 48 fibres suspension set | set | 6
8.6 | OPGW 48 fibres tension set | set | 10
8.7 | OPGW junction box | set | 5
8.8 | Earthwire suspension set | set | 6
8.9 | Earthwire Tension set | set | 10
8.1 | Vibration damper for ACSR Finch conductor | each | 30
8.11 | Spacer damper for quadruple ACSR Finch conductor | each | 15
8.12 | Vibration damper for OPGW | each | 10
8.13 | Vibration damper for Earthwire | each | 10
8.14 | Repair sleeve for conductor - ACSR Finch | pcs | 10
8.15 | Midspan joints for conductor -ACSR Finch | pcs | 10
8.16 | Bird diverters | pcs | 5
8.17 | Bird guard | pcs | 5
8.18 | Aircraft warning markers | pcs | 10
8.19 | Terminal ground resistance tester (tools) | pcs | 1
8.2 | Motorised jointing compressor for conductor complete with dies suitable for all conductors & earthwires to be used for this Contract | each | 1
Total Columns 7 and 8 to be carried forward to Schedule No. 5 -Grand Summary
2 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
1.Specify currency in accordance with specifications in Bid Data Sheet under ITB 19.1 in Single-stage Bid. Create and use as many columns for Unit Price and Total Price as there are currencies.

## Schedule No. 3A
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency [BDT] | Foreign Currency [ ] | Local Currency [BDT] | Foreign Currency [ ]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Schedule No. 3A Design Services
1 | Line Design
1.1 | Detailed line design including plan and profiles; conductor, earthwire and OPGW sag tension calculations; tower spotting, establishment of line schedule; Design of insulator strings, OPGW and earthwire attachments | Lump sum | 1
2 | Tower Test
2.1 | Proto assembly of all type towers with all extensions to prove compliance with specification. Payment for successful test only.
(a) | Tower type 4DL | each | 1
(b) | Tower type 4D1 | each | 1
(c) | Tower type 4D25 | each | 1
(d) | Tower type 4D45 | each | 1
(e) | Tower type 4DT6 | each | 1
3 | Foundation Design
3.1 | Foundation design for all soil types | Lump sum | 1
Total Columns 7 and 8 to be carried forward to Schedule No. 5 -Grand Summary
1. Specify currency in accordance with specifications in Bid Data Sheet under ITB 19.1 in Single-stage Bid. Create and use as many columns for Unit Price and Total Price as there are currencies.

## Schedule No. 4A
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency [BDT] | Foreign Currency [ ] | Local Currency [BDT] | Foreign Currency [ ]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8= 4x6
Schedule No. 4A Installation and Other Services
1 | Survey, soil investigation works & Route Clearance
1.1 | Survey Work & Route Clearance
1.1.1 | Check survey in accordance with the requirements of the technical specification, incl. Full ground survey with change of route, if any, tower plotting and preparation and submission of route maps,submission of tower footing area on mouza maps for each tower location, profile drawings, SIMM documents, etc. | Km | 13.5
1.2 | Geotechnical Investigations incl. taking samples, logging and lab testing
1.2.1 | Boreholes for geotechnical investigation, incl. laboratory test, borehole logs, sampling and interpretive report as per geotechnical specification
(a) | Level 2 | borehole | 2
(b) | Level 4 | borehole | 2
1.2.2 | Soil resistivity tests (one per tower) | unit | 45
2 | Foundations for towers including all setting out, Concrete, Reinforcement, Excavation, Pumping, Stub-Setting, Geotechnical Investigation (Level 2), Shuttering, Leveling, Timbering, supply & Installation of foundation steelwork, Earthing Materials,Backfilling, approved Protective Coating & site clearing etc.
2.1 | Tower type "4DL"
2.1.1 | Pile Foundation for Soil Category-2 with 2m Raised Chimney | per tower | 8
2.1.2 | Pile Foundation for Soil Category-3 with 2m Raised Chimney | per tower | 7
2.1.3 | Pile Foundation for Soil Category-4 with 2m Raised Chimney | per tower | 6 |  |  |  |  | 21
2.2 | Tower type "4D1 (0m to 15m body extension)"
2.2.1 | Pile Foundation for any Soil Category with 2m Raised Chimney | per tower | 1
2.3 | Tower type "4D1( 20m body extension)"
2.3.1 | Pile Foundation for any Soil Category with 2m Raised Chimney | per tower | 1
2.3 | Tower type "4D1(25m body extension)"
2.3.1 | Pile Foundation for any Soil Category with 2m Raised Chimney | per tower | 1
2.4 | Tower type "4D25" | [6 empty] | 3
2.4.1 | Pile Foundation for Soil Category-2 with 2m Raised Chimney | per tower | 3
2.4.2 | Pile Foundation for Soil Category-3 with 2m Raised Chimney | per tower | 3
2.4.3 | Pile Foundation for Soil Category-4 with 2m Raised Chimney | per tower | 2
2.5 | Tower type "4D45" | [6 empty] | 8
2.5.1 | Pile Foundation for any Soil Category with 2m Raised Chimney | per tower | 2
2.6 | Tower type "4DT6" | [6 empty] | 2
2.6.1 | Pile Foundation for Soil Category-2 with 2m Raised Chimney | per tower | 2
2.6.2 | Pile Foundation for Soil Category-3 with 2m Raised Chimney | per tower | 3
2.6.3 | Pile Foundation for Soil Category-4 with 2m Raised Chimney | per tower | 2 |  |  |  |  | 7
2.7 | River Crossing Foundation for any soil category with 2m Raised Chimney
2.7.1 | Pile Foundation for Tower Type 4DL (Any Extension) | per tower | 2
2.7.2 | Pile Foundation for Tower Type 4D1 (Any Extension) | per tower | 1
2.7.3 | Pile Foundation for Tower Type 4D25 (Any Extension) | per tower | 1 |  |  |  |  | 4
3 | Erection of 400kV double circuit towers complete with all stubs, nuts, bolts, locking nuts, washers, phase conductor and earthwire , step bolts, tower notice and identification plates, ACDs, ptotective coating (Galvanizing), earthing etc. | [6 empty] | 45
3.1 | Tower type "4DL"
3.1.1 | Tower type 4DL Standard | each | 1
3.1.2 | Tower type 4DL+1.5 m | each | 0
3.1.3 | Tower type 4DL+3 m | each | 1
3.1.4 | Tower type 4DL+4.5 m | each | 2
3.1.5 | Tower type 4DL+6 m | each | 6
3.1.6 | Tower type 4DL+9 m | each | 13
3.2 | Tower type "4D1" | [6 empty] | 23
3.2.1 | Tower type 4D1 Standard | each | 0
3.2.2 | Tower type 4D1+1.5 m | each | 0
3.2.3 | Tower type 4D1+3 m | each | 0
3.2.4 | Tower type 4D1+4.5 m | each | 0
3.2.5 | Tower type 4D1+6 m | each | 0
3.2.6 | Tower type 4D1+9 m | each | 0
3.2.7 | Tower type 4D1+12 m | each | 1
3.2.8 | Tower type 4D1+15 m | each | 1
3.2.9 | Tower type 4D1+20 m | each | 1
3.2.10 | Tower type 4D1+25 m | each | 1
3.2.11 | Tower type 4D1+30 m | each | 0
3.2.12 | Tower type 4D1+40 m | each | 0
3.3 | Tower type "4D25" | [6 empty] | 4
3.3.1 | Tower type 4D25 Standard | each | 0
3.3.2 | Tower type 4D25+1.5 m | each | 0
3.3.3 | Tower type 4D25+3 m | each | 0
3.3.4 | Tower type 4D25+4.5 m | each | 2
3.3.5 | Tower type 4D25+6 m | each | 1
3.3.6 | Tower type 4D25+9 m | each | 6
3.4 | Tower type "4D45" | [6 empty] | 9
3.4.1 | Tower type 4D45 Standard | each | 0
3.4.2 | Tower type 4D45+1.5 m | each | 0
3.4.3 | Tower type 4D45+3 m | each | 0
3.4.4 | Tower type 4D45+4.5 m | each | 0
3.4.5 | Tower type 4D45+6 m | each | 1
3.4.6 | Tower type 4D45+9 m | each | 1
3.5 | Tower type "4DT6" | [6 empty] | 2
3.5.1 | Tower type 4DT6 Standard | each | 1
3.5.2 | Tower type 4DT6+1.5 m | each | 0
3.5.3 | Tower type 4DT6+3 m | each | 1
3.5.4 | Tower type 4DT6+4.5 m | each | 0
3.5.5 | Tower type 4DT6+6 m | each | 1
3.5.6 | Tower type 4DT6+9 m | each | 4
3.6 | Galvenized Tower Steel
3.6.1 | Fabricated Tower Steel | per ton | 10
3.7 | Auxiliary Crossarm for tower
3.7.1 | Auxiliary crossarm for tower type 4DT6 | per set of three | 3
4 | Testing of Foundations | [6 empty] | 7
4.1 | Individual Pile test including supply,install and test to prove compliance with technical specification, payment for successful test only (applicable for all tower types selected by the Employer's Engineer):
(a) | Compression test | per test | 2
(b) | Uplift test | per test | 2
(c) | Pile Integrity test | per test | 180
4A | Tower Paint
(a) | Coal tar epoxy coatings on all tower steelwork up to 3.0m/HFL whichever is greater from ground level in accordance with the requirements of the Technical Specification | per tower | 45
(b) | Painting of tower having total height above GL exceeds 60m for aircraft navigation in accordance with the requirements of the Technical Specification | per tower | 28
(c) | Painting of tower (Reflecting Paint) upto 3 meter above epoxy coat in submerge area in accordance with the requirements of the Technical Specification | per tower | 5
5 | Stringing of double circuit line, four conductors per phase, one OPGW and one conventional earthwire (length approx. Route km)
5.1 | Conductor "ACSR Finch" (Double circuit line, both circuits erected, FOUR conductors per phase) including: Installation of insulator strings, compressed dead-ends, compression junction sleeves, suspension clamps, Sagging and clipping, Installation of armour rods and Dampers, Pilot strings and jumpers and any other works required as per specification. | route km | 13.5
5.2 | One optical fibre ground wire, 48 fibres OPGW, mechanically compatible with ACSR Dorking shield wire, including joint box, including:Tension and semi-tension joints, suspension clamps, armour rods and dampers,Sagging and clipping, Installation of intermediate junction boxes and terminal junction boxes at substation gantries ,Earthing jumpers | route km | 13.5
5.3 | ACSR "Dorking" earthwire with necessary midspan joints and repair sleeves. One earthwire on the line. | route km | 13.5
6 | Dismantling & Bypass
6.1 | Dismantling of existing line section (including tower, conductor, insulator and other accessories) whichever is required for line in/out, storing the dismantled materials at PGCB store | per span | 3
6.2 | By passing the required line section with ERS which will be supplied under this Contract and other all necessary materials for by passing shall be collected from PGCB store. | per span | 3
6.3 | Dismantling of by pass line after completing line in line out and storing the all the materials including ERS of by pass line at PGCB store | per span | 3
7 | Documentation
7.1 | Establishment of as-built drawings, manuals and all requested documents as per specifications | lump sum | 1
8 | Miscellaneous
8.1 | Transport of the material and equipment supplied from Employer's Country | lump sum | 1
8.2 | Insurance of material and equipment supplied from Employer's Country during transport | lump sum | 1
8.3 | Additional counterpoise earthing in accordance with requirement of the Technical specification | per meter | 20
8.4 | Miscellaneous Rates for works certified by the Engineer in accordance with method of Payment
(a) | Additional Excavation | cu.m | 100
(b) | Additional Concrete (Piling) | cu.m | 250
(c) | Additional Concrete (other than Piling) | cu.m | 150
(d) | Additional Reinforcement | kg | 500
(e) | Additional Boring (for any diameter) | rm | 100
(f) | Additional Permanent steel casing (minimum 8mm thick , any dia) | Ton | 100
(g) | Back Filling of foundation | cu.m | 75
8.5 | Environmental Management and Monitoring Plan including Ecological study | lump sum | 1
8.6 | STI. STD and HIV/AIDS alleviation program | lump sum | 1
8.7 | Costs and Expenses related to FAT witness (Provisional Sum)2 | lump sum | 1 |  | USD 50000 |  | USD 50000
8.8 | Payment for Compensation(For resettlement of affected people, dwelling/commercial structures, trees, crops etc. on the Right of Way) | lump sum | 1
Total Columns 7 and 8 to be carried forward to Schedule No. 5 -Grand Summary
1.Specify currency in accordance with specifications in Bid Data Sheet under ITB 19.1 in Single-stage Bid. Create and use as many columns for Unit Price and Total Price as there are currencies.
2. These costs are fixed ceiling and will be included in total price. But the payment shall be at actual upon submission of relevant documents.