## Schedule No. 1
Design, Supply, Installation, Testing & Commissioning of 132 kV 4C LILO transmission line from Mymensingh-Netrokona to RPCL Power Plant on Turnkey Basis
F | LILO of Mymensingh-Netrokona 132kV Double Circuit Transmission Line at RPCL Substation
Item | Description | Country of origin2 | Unit | Quantity | Unit Price1 | Total Price1 | Taxes and Duties
[5 empty] | Foreign Currency [xxx] CIP | Foreign Currency [xxx] CIP | Local Currency [BDT]
1 | 2 | 3* | 4 | 5 | 6 | 7= 5 x 6 | 9
Schedule No. 1 Plant and Mandatory Spare Parts Supplied from Abroad
1 | Supply of 132 kV Double circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, etc.
1.1 | Tower Type 1DT6
1.1.1 | Tower Type 1DT6+6.0 m |  | each | 1
1: 1.1.2; 2: Tower Type 1DT6+9.0 m; 4: each; 5: 1 | 2
2 | Supply of 132 kV Four circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, etc.
2.1 | Tower Type 1QL
2.1.1 | Tower Type 1QL+9.0 m |  | each | 3
1: 2.2; 2: Tower Type 1Q15 | 3
2.2.1 | Tower type 1Q15 +15.0 m |  | each | 1
1: 2.3; 2: Tower Type 1Q30 | 1
2.3.1 | Tower type 1Q30 +6.0 m |  | each | 1
2.3.2 | Tower type 1Q30 +9.0 m |  | each | 1
1: 2.4; 2: Tower Type 1QT6 | 2
2.4.1 | Tower Type 1QT6+6.0 m |  | each | 1
2.4.2 | Tower Type 1QT6+9.0 m |  | each | 1
2.5 | Galvanized tower steel
2.5.1 | Fabricated |  | ton | 15
2.5.2 | Non-fabricated |  | ton | 1
1: 3; 2: Auxiliary Crossarm for tower | 2
1: 3.1; 2: Auxiliary Crossarm for Tower Type 1QT6; 4: per set of three; 5: 4 | 10
4 | Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints
4.1 | "Single ACSR Grosbeak" (four circuit line, all circuits erected, one conductors per phase) [3] |  | Route km3 | 3
4.2 | Two optical fibre ground wire, 24 fibres 7×3.25 steel earthwire equivalent OPGW, including joint box |  | Route km3 | 3
5 | Insulator strings, with associated suspension and tension clamps for single "ACSR Grosbeak" Conductor
5.1 | a) 70kN suspension Insulators set for single "ACSR Grosbeak" Conductor (Suspension) - disc only |  | Set | 36
| b) 70kN suspension Insulators set for single "ACSR Grosbeak" Conductor (Suspension) - hardware fittings only |  | Set | 36
5.2 | a) 120kN tension Insulators Set for single "ACSR Grosbeak'' Conductor - disc only |  | Set | 144
| b) 120kN tension Insulators Set for single "ACSR Grosbeak'' Conductor - hardware fittings only |  | Set | 144
5.3 | a) 70kN jumper suspension Insulators Set forsingle "ACSR Grosbeak" Conductor - disc only |  | Set | 48
| b) 70kN jumper suspension Insulators Set forsingle "ACSR Grosbeak" Conductor - hardware fittings only |  | Set | 48
5.4 | a) 70kN single upright low duty Insulators Set for single "ACSR Grosbeak" Conductor - disc only |  | Set | 12
| b) 70kN single upright low duty Insulators Set for single "ACSR Grosbeak" Conductor - hardware fittings only |  | Set | 12
5.5 | a) 70kN single inverted low duty Insulators Set for single "ACSR Grosbeak" Conductor - disc only |  | Set | 12
| b) 70kN single inverted low duty Insulators Fittings Set for single "ACSR Grosbeak" Conductor - hardware fittings only |  | Set | 12
6 | OPGW sets, complete with all accessories, incl. armour rods and earth bounds
6.1 | Suspension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 6
6.2 | Tension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) |  | set | 28
7 | Dampers
7.1 | Vibration damper for phase conductor |  | per span | 9
7.2 | Vibration damper for OPGW |  | per span | 9
8 | Aerial Markers
8.1 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. |  | Per tower | NIL
8.2 | Bird diverters |  | pcs. | 10
8.3 | Bird guards, one bird guard per each crossarm applied on intermediate towers |  | pcs. | 36
8.4 | Aircraft warning spheres |  | pcs. | NIL
8.5 | Painting of 60 meter and over tower in accordance with the requirements of the Technical Specification |  | per tower | NIL
8.6 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification |  | per tower | NIL
9 | Mandatory Spare Parts and Tools
9.1 | Tower type 1QL+9 m |  | each | 1
9.2 | Tower type 1Q15+9m |  | each | 1
9.3 | Tower type 1QT6+4.5m |  | each | 1
9.4 | Conductor "ACSR Grosbeak" type |  | km | 1
9.5 | Optical fibre ground wire, 24 fibres 7×3.25 steel earthwire equivalent OPGW |  | km | 1
9.6 | a) 70kN suspension Insulators set for single "ACSR Grosbeak " Conductor (Suspension) - disc only |  | set | 4
| b) 70kN suspension Insulators set for single "ACSR Grosbeak " Conductor (Suspension) - hardware fittings only |  | set | 4
9.7 | a) 120kN tension Insulators Set for single "ACSR Grosbeak'' Conductor - disc only |  | set | 6
| b) 120kN tension Insulators Set for single "ACSR Grosbeak'' Conductor - hardware fittings only |  | set | 6
9.8 | OPGW 24 fibres suspension set |  | set | 2
9.9 | OPGW 24 fibres tension set |  | set | 2
9.1 | OPGW junction box |  | set | 8
9.11 | Vibration damper for phase conductor single "ACSR Grosbeak" Conductor |  | each | 6
9.12 | Vibration damper for OPGW |  | each | 3
9.13 | Repair sleeve for conductor - single "ACSR Grosbeak" Conductor |  | pcs | 5
9.14 | Midspan joints for conductor single "ACSR Grosbeak" Conductor |  | pcs | 5
9.15 | Bird diverters |  | pcs | 2
9.16 | Bird guard |  | pcs | 3
9.17 | Terminal ground resistance tester (tools) |  | pcs | 1
9.18 | Temporary earthing equipment |  | each | 1
9.19 | Motorised jointing compressor for conductor complete with dies suitable for conductors & earthwires to be used for this Contract |  | each | 1
Total Columns 8 to be carried forward to Schedule No. 5 - Grand Summary
Name of Bidder
Signature of Bidder
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
3 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.
Country of Origin Declaration Form
Item | Description | Code | Country

## Schedule No. 2
Design, Supply, Installation, Testing & Commissioning of 132 kV 4C LILO transmission line from Mymensingh-Netrokona to RPCL Power Plant on Turnkey Basis
F | LILO of Mymensingh-Netrokona 132kV Double Circuit Transmission Line at RPCL Substation
Item | Description | Unit | Quantity | EXW Price [XXX] |  | Sales and Other Taxes
|  |  |  | Unit EXW Price1 | Total EXW Price | Local Currency [BDT]
1 | 2 | 3 | 4 | 5 | 6=4x5 | 7
Schedule No. 2 Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
1 | Supply of 132 kV Double circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, etc.
1.1 | Tower Type 1DT6
1.1.1 | Tower Type 1DT6+6.0 m | each | 1
1.1.2 | Tower Type 1DT6+9.0 m | each | 1 |  |  |  | 2
2 | Supply of 132 kV Four circuit towers, complete with all stubs, nuts, bolts, locking nuts, washers, phase conductors and earthwire, swivels/shackles, step bolts, tower notice and identification plates, ACDs, protective coating, earthing, etc.
2.1 | Tower Type 1QL
2.1.1 | Tower Type 1QL+9.0 m | each | 3
2.2 | Tower Type 1Q15 | [5 empty] | 3
2.2.1 | Tower type 1Q15 +15.0 m | each | 1
2.3 | Tower Type 1Q30 | [5 empty] | 1
2.3.1 | Tower type 1Q30 +6.0 m | each | 1
2.3.2 | Tower type 1Q30 +9.0 m | each | 1
2.4 | Tower Type 1QT6 | [5 empty] | 2
2.4.1 | Tower Type 1QT6+6.0 m | each | 1
2.4.2 | Tower Type 1QT6+9.0 m | each | 1
2.5 | Galvanized tower steel
2.5.1 | Fabricated | ton | 15
2.5.2 | Non-fabricated | ton | 1
3 | Auxiliary Crossarm for tower | [5 empty] | 2
3.1 | Auxiliary Crossarm for Tower Type 1QT6 | per set of three | 4 |  |  |  | 10
4 | Phase conductor, earthwire and OPGW cable, complete with repair sleeves and joints
4.1 | "Single ACSR Grosbeak" (four circuit line, all circuits erected, one conductors per phase) [3] | Route km3 | 3
4.2 | Two optical fibre ground wire, 24 fibres 7×3.25 steel earthwire equivalent OPGW, including joint box | Route km3 | 3
5 | Insulator strings, with associated suspension and tension clamps for single "ACSR Grosbeak" Conductor
5.1 | a) 70kN suspension Insulators set for single "ACSR Grosbeak" Conductor (Suspension) - disc only | Set | 36
| b) 70kN suspension Insulators set for single "ACSR Grosbeak" Conductor (Suspension) - hardware fittings only | Set | 36
5.2 | a) 120kN tension Insulators Set for single "ACSR Grosbeak'' Conductor - disc only | Set | 144
| b) 120kN tension Insulators Set for single "ACSR Grosbeak'' Conductor - hardware fittings only | Set | 144
5.3 | a) 70kN jumper suspension Insulators Set forsingle "ACSR Grosbeak" Conductor - disc only | Set | 48
| b) 70kN jumper suspension Insulators Set forsingle "ACSR Grosbeak" Conductor - hardware fittings only | Set | 48
5.4 | a) 70kN single upright low duty Insulators Set for single "ACSR Grosbeak" Conductor - disc only | Set | 12
| b) 70kN single upright low duty Insulators Set for single "ACSR Grosbeak" Conductor - hardware fittings only | Set | 12
5.5 | a) 70kN single inverted low duty Insulators Set for single "ACSR Grosbeak" Conductor - disc only | Set | 12
| b) 70kN single inverted low duty Insulators Fittings Set for single "ACSR Grosbeak" Conductor - hardware fittings only | Set | 12
6 | OPGW sets, complete with all accessories, incl. armour rods and earth bounds
6.1 | Suspension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) | set | 6
6.2 | Tension set (including all fittings and accessories for surplus and to guide the OPGW to the joint box) | set | 28
7 | Dampers
7.1 | Vibration damper for phase conductor | per span | 9
7.2 | Vibration damper for OPGW | per span | 9
8 | Aerial Markers
8.1 | Air craft obstruction lights solar powered complete with lamps, solar, panels, batteries, control equipment cables, support framework, tower work platform etc. | Per tower | NIL
8.2 | Bird diverters | pcs. | 10
8.3 | Bird guards, one bird guard per each crossarm applied on intermediate towers | pcs. | 36
8.4 | Aircraft warning spheres | pcs. | NIL
8.5 | Painting of 60 meter and over tower in accordance with the requirements of the Technical Specification | per tower | NIL
8.6 | Painting of tower (Reflecting Paint) upto 3 meter in submerge area in accordance with the requirements of the Technical Specification | per tower | NIL
9 | Mandatory Spare Parts and Tools
9.1 | Tower type 1QL+9 m | each | 1
9.2 | Tower type 1Q15+9m | each | 1
9.3 | Tower type 1QT6+4.5m | each | 1
9.4 | Conductor "ACSR Grosbeak" type | km | 1
9.5 | Optical fibre ground wire, 24 fibres 7×3.25 steel earthwire equivalent OPGW | km | 1
9.6 | a) 70kN suspension Insulators set for single "ACSR Grosbeak" Conductor (Suspension) - disc only | set | 4
| b) 70kN suspension Insulators set for single "ACSR Grosbeak" Conductor (Suspension) - hardware fittings only | set | 4
9.7 | a) 120kN tension Insulators Set for single "ACSR Grosbeak'' Conductor - disc only | set | 6
| b) 120kN tension Insulators Set for single "ACSR Grosbeak'' Conductor - hardware fittings only | set | 6
9.8 | OPGW 24 fibres suspension set | set | 2
9.9 | OPGW 24 fibres tension set | set | 2
9.1 | OPGW junction box | set | 8
9.11 | Vibration damper for phase conductor single "ACSR Grosbeak " Conductor | each | 6
9.12 | Vibration damper for OPGW | each | 3
9.13 | Repair sleeve for conductor - single "ACSR Grosbeak " Conductor | pcs | 5
9.14 | Midspan joints for conductor single "ACSR Grosbeak " Conductor | pcs | 5
9.15 | Bird diverters | pcs | 2
9.16 | Bird guard | pcs | 3
9.17 | Terminal ground resistance tester (tools) | pcs | 1
9.18 | Temporary earthing equipment | each | 1
9.19 | Motorised jointing compressor for conductor complete with dies suitable for conductors & earthwires to be used for this Contract | each | 1
Total Columns 6 to be carried forward to Schedule No. 5 - Grand Summary
Name of Bidder
Signature of Bidder
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
3 Definition of route km: Route km is the transmission line distance between two terminal points in plan view. Route km is exclusive sag and other electrical clearances, elevation differences etc. The Contractor shall incorporate all such extra costs in his unit rate.

## Schedule No. 3
Design, Supply, Installation, Testing & Commissioning of 132 kV 4C LILO transmission line from Mymensingh-Netrokona to RPCL Power Plant on Turnkey Basis
H. | LILO of Mymensingh-Netrokona 132kV Double Circuit Transmission Line at RPCL Substation
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency Portion [BDT] | Foreign Currency Portion [xxx] | Local Currency Portion [BDT] | Foreign Currency Portion [xxx]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Schedule No. 3 Design Services
1 | Line Design
1.1 | Detailed line design including plan and profiles; conductor, earthwire and OPGW sag tension calculations; tower spotting, establishment of line schedule; Design of insulator strings, OPGW and earthwire attachments | Lump sum |  | Not Applicable | Not Applicable
Total Columns 7 & 8 to be carried forward to Schedule No. 5 - Grand Summary
Name of Bidder
Signature of Bidder
1. Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2. Bidder shall quote the amount considering clause 14.1 of section 8(Special Conditions of Contract), Volume 1 of 3 of the bidding document. The amount quoted by bidder is subject to arithmatic correction by Employer as required.

## Schedule No. 4
Design, Supply, Installation, Testing & Commissioning of 132 kV 4C LILO transmission line from Mymensingh-Netrokona to RPCL Power Plant on Turnkey Basis
F. | LILO of Mymensingh-Netrokona 132kV Double Circuit Transmission Line at RPCL Substation
Item | Description | Unit | Quantity | Unit Price1 | Total Price1
|  |  |  | Local Currency [BDT] | Local Currency [BDT]
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5
Schedule No. 4 Installation and Other Services
1 | Survey and soil investigation works
1.1 | Survey Work
1.1.1 | Check survey in accordance with the requirements of the technical specification, incl. Full ground survey with change of route, if any, tower plotting and preparation and submission of route maps, profile drawings, SIMM documents, etc. | Route-km | 3
1.2 | Geotechnical Investigations incl. taking samples, logging and lab testing
1.2.1 | Boreholes for geotechnical investigation, incl. laboratory test, borehole logs, sampling and interpretive report as per geotechnical specification
(a) | Level 2 | borehole | 1
(b) | Level 4 | borehole | 1
1.2.2 | Soil resistivity tests (one per tower) | unit | 10
2 | Foundations for towers including all setting out, Concrete, Reinforcement, Excavation, Pumping, Stub-Setting, Geotechnical Investigation (Level 2), Shuttering, Leveling, Timbering, supply & Installation of foundation steelwork, Earthing Materials,Backfilling, approved Protective Coating & site clearing etc.
2.1 | Tower type "`1DT6"
2.1.1 | Pile Foundation for Soil Category-2 | per tower | 1
2.1.2 | Pile Foundation for Soil Category-3 | per tower | 1
2.1.3 | Pile Foundation for Soil Category-4 | per tower | NA
2.1.4 | Piled Foundation with 1.0m raised chimney for any Soil Category | per tower | NA
2.1.5 | Piled Foundation with 2.0m raised chimney for any Soil Category | per tower | NA
2.2 | Tower type "1QL" |  |  |  |  | 2
2.2.1 | Pile Foundation for Soil Category-2 | per tower | NA
2.2.2 | Pile Foundation for Soil Category-3 | per tower | 3
2.2.3 | Pile Foundation for Soil Category-4 | per tower | NA
2.2.4 | Piled Foundation with 1.0m raised chimney for any Soil Category | per tower | NA
2.2.5 | Piled Foundation with 2.0m raised chimney for any Soil Category | per tower | NA
2.3 | Tower type "1Q15" |  |  |  |  | 3
2.3.1 | Pile Foundation for Soil Category-2 | per tower | 1
2.3.2 | Pile Foundation for Soil Category-3 | per tower | NA
2.3.3 | Pile Foundation for Soil Category-4 | per tower | NA
2.3.4 | Piled Foundation with 1.0m raised chimney for any Soil Category | per tower | NA
2.3.5 | Piled Foundation with 2.0m raised chimney for any Soil Category | per tower | NA
2.4 | Tower type "1Q30" |  |  |  |  | 1
2.4.1 | Pile Foundation for Soil Category-2 | per tower | 1
2.4.2 | Pile Foundation for Soil Category-3 | per tower | 1
2.4.3 | Pile Foundation for Soil Category-4 | per tower | NA
2.4.4 | Piled Foundation with 1.0m raised chimney for any Soil Category | per tower | NA
2.4.5 | Piled Foundation with 2.0m raised chimney for any Soil Category | per tower | NA
2.5 | Tower type "1QT6" |  |  |  |  | 2
2.5.1 | Pile Foundation for Soil Category-2 | per tower | 1
2.5.2 | Pile Foundation for Soil Category-3 | per tower | 1
2.5.3 | Pile Foundation for Soil Category-4 | per tower | NA
2.5.4 | Piled Foundation with 1.0m raised chimney for any Soil Category | per tower | NA
2.5.5 | Piled Foundation with 2.0m raised chimney for any Soil Category | per tower | NA |  |  | 2
3 | Erection of 132kV double circuit towers complete with all stubs, nuts, bolts, locking nuts, washers, phase conductor and earthwire swivels/shackles, step bolts, tower notice and identification plates, ACDs, ptotective coating, earthing etc. |  |  |  |  | 10
3.1 | Tower type "1DT6"
3.1.1 | Tower type 1DT6+6 m | each | 1
3.1.2 | Tower type 1DT6+9 m | each | 1 |  |  | 2
4 | Erection of 132kV four circuit towers complete with all stubs, nuts, bolts, locking nuts, washers, phase conductor and earthwire swivels/shackles, step bolts, tower notice and identification plates, ACDs, ptotective coating, earthing etc.
4.1 | Tower Type 1QL
4.1.1 | Tower Type 1QL+9.0 m | each | 3
4.2 | Tower Type 1Q15 |  |  |  |  | 3
4.2.1 | Tower type 1Q15 +15.0 m | each | 1
4.3 | Tower Type 1Q30 |  |  |  |  | 1
4.3.2 | Tower type 1Q30 +6.0 m | each | 1
4.3.3 | Tower type 1Q30 +9.0 m | each | 1
4.4 | Tower type "1QT6" |  |  |  |  | 2
4.4.2 | Tower Type 1QT6+6.0 m | each | 1
4.4.3 | Tower Type 1QT6+9.0 m | each | 1
4.5 | Galvanized Tower Steel Works | ton | 15
5 | Testing of Foundations |  |  |  |  | 2
5.1 | Supply (incl. Foundation, steel works), install and test foundation for pad & chimney type foundation to prove compliance with Technical specification, payment for successful test only |  |  |  |  | 10
(a) | Uplift test | per test | 1
(b) | Compression test | per test | 1 |  |  |  | 40
5.2 | Individual Pile test including supply,install and test to prove compliance with technical specification, payment for successful test only (applicable for all tower types selected by the Employer's Engineer):
(a) | Compression test | per test | 1
(b) | Uplift test | per test | 1
(c) | Pile Integrity test | per test | 40
6 | Stringing of four circuit line, one conductors per phase, two OPGW (length approx. Route km)
6.1 | "Single ACSR Grosbeak " (four circuit line, all circuits erected, one conductors per phase) including: Installation of insulation strings, compressed dead-ends, compression junction sleeves, suspension clamps, Sagging and clipping, Installation of armour rods and Dampers, Pilot strings and jumpers and any other works required as per specification. | route km | 3
6.2 | Two optical fibre ground wire, 24 fibres 7×3.25 steel earthwire equivalent OPGW shield wire, including joint box, including:Tension and semi-tension joints, suspension clamps, armour rods and dampers,Sagging and clipping, Installation of intermediate junction boxes and terminal junction boxes at substation gantries ,Earthing jumpers | route km | 3
7 | Documentation
7.1 | Establishment of as-built drawings, manuals and all requested documents as per specifications | lump sum | 1
8 | Miscellaneous
8.1 | General and other works and services, not mentioned before | lump sum | 1
8.2 | Transport of the material and equipment supplied from Employer's Country | lump sum | 1
8.3 | Insurance of material and equipment supplied from Employer's Country during transport | lump sum | 1
8.4 | Painting of bottom part of towers in accordance with Section 21 | lump sum | 1
8.5 | Erection of OPGW connection from terminal tower to substation Gantry/Mast | per wire | 2
8.6 | Additional counterpoise earthing in accordance with requirement of the Technical specification | per meter | 2
8.7 | Miscellaneous Rates for works certified by the Engineer in accordance with method of Payment
(a) | Additional Excavation | cu.m | 50
(b) | Additional Concrete | cu.m | 50
(c) | Additional Reinforcement | kg | 200
(d) | Extra for surface resisting cement per cu.m of concrete | cu.m | 25
(e) | Additional Boring (500mm diameter) | rm | 50
(f) | Additional Boring (600mm diameter) | rm | 50
(g) | Additional Boring (750mm diameter) | rm | 50
(h) | Sand Filling | cu.m | 50
Total Columns 7 & 8 to be carried forward to Schedule No. 5 - Grand Summary
Name of Bidder
Signature of Bidder
1 Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.
2 As described in SCC 22.2.7

## Schedule No. 6
Design, Supply, Installation, Testing & Commissioning of 132 kV 4C LILO transmission line from Mymensingh-Netrokona to RPCL Power Plant on Turnkey Basis
Schedule No. 6. Recommended Spare Parts
Item | Description | Unit | Quantity | Unit Price1 |  | Total Price1
|  |  |  | Local Currency Portion [BDT] | Foreign Currency Portion [xxxxx] | Local Currency Portion [BDT] | Foreign Currency Portion [xxx]
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
Name of Bidder
Signature of Bidder
1. Specify currencies in accordance with ITB 19.1 of the BDS. Create additional columns for up to a maximum of three foreign currencies, if so required.