## Forecast
Power Grid Bangladesh PLC
National Load Dispatch Center (NLDC)
Forecasted Generation & Demand of National Grid
| Date : | 16-01-2025
Sl. | Name of the Power Station | Fuel | Producer | Installed Capacity |  | Present Capacity | Actual Generation on |  | Forecasted Available Gen. on |  | Effective Available Gen. on |  | Remarks
[7 empty] | 15-01-2025 | during | 16-01-2025 | during | 16-01-2025 | during
[7 empty] | Day Peak | Ev. Peak | Day Peak | Ev. Peak | Day Peak | Ev. Peak
|  |  |  | Unit No. X Capacity | MW | MW | MW | MW | MW | MW | MW | MW
1 | Ghorasal Repowered CCPP Unit-3 | Gas | PDB | 1*260 | 260 | 260 | 0 | 0 | 0 | 0 | 0 | 0 | GT is under maintenance
2 | Ghorasal Repowered CCPP Unit-4 | Gas | PDB | 1*210 | 210 | 174.8 | 0 | 0 | 0 | 0 | 0 | 0 | Under maintenance
| Ghorasal TPP Unit-5 | Gas | PDB | 1*210 | 210 | 174.8 | 0 | 0 | 174.8 | 174.8 | 0 | 0 | -
3 | Ghorasal 365 MW CCPP Unit-7 | Gas | PDB | 1*243+1*122 | 365 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | HGPI Maintenance Work is going on.
4 | Ghorashal 108 MW PP (Regent) | Gas | IPP | 34*3.35 | 108 | 97.7 | 0 | 0 | 97.3 | 97.3 | 0.01 | 0.01 | Demand "0" due to gas shortage
5 | Haripur GTPP | Gas | SBU,PDB | 32*2 | 32 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | -
6 | Haripur 412 MW CCPP | Gas | EGCB | 1*273+1*139 | 412 | 400.37 | 0 | 400 | 400.37 | 400.37 | 300 | 300 | DP High
| Haripur 360 MW CCPP (HPL) | Gas | IPP | 1*235+1*125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -
7 | Meghnaghat 450 MW CCPP (MPL) | Gas | IPP | 2*150+1*150 | 450 | 450 | 420 | 400 | 450 | 450 | 420 | 420 | -
8 | Meghnaghat CCPP(Summit) | Gas | IPP | 2*110+1*110 | 335 | 335 | 312 | 262 | 335 | 335 | 301 | 301 | FGMO
9 | Madanganj-55 MW PP(Summit) | HFO | IPP | 3*17+1*11.3 | 55 | 55 | 0 | 0 | 55 | 55 | 55 | 55 | -
10 | Keraniganj 100 MW PP (Powerpac) | HFO | QRPP | 8*13.45 | 100 | 75.24 | 0 | 0 | 0 | 0 | 0 | 0 | -
11 | Narshingdi 22 MW PP (Doreen) | Gas | SIPP,REB | 8*2.90 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | -
12 | Siddhirgonj 210 MW TPP | Gas | PDB | 1*210 | 210 | 93 | 0 | 0 | 0 | 0 | 0 | 0 | Under Major Overhauling
13 | Siddhirgonj 2*120 MW GTPP | Gas | EGCB | 2*105 | 210 | 210 | 0 | 0 | 210 | 210 | 0 | 0 | -
14 | Siddhirganj 335 MW CCPP | Gas | EGCB | 1*217+118 | 335 | 335 | 300 | 300 | 335 | 335 | 335 | 335 | -
15 | Gagnagar 102 MW PP (Digital Power) | HFO | IPP | 12*8.924 | 102 | 102 | 0 | 0 | 0 | 8 | 0 | 8 | -
16 | Katpotti 52 MW PP (Sinha) | HFO | IPP | 7*7.9 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -
17 | Kamalaghat 54 MW PP(Banco Energy) | HFO | IPP | 3*18 | 54 | 53.97 | 0 | 17 | 53.97 | 53.97 | 53.97 | 53.97 | -
18 | Kodda 150 MW PP B-R | HFO | PDB-RPCL | 9*17.06 | 149 | 149.36 | 24 | 64 | 149 | 149 | 149 | 149 | -
18 | Manikganj 55 MW PP (Northern) | HFO | IPP | 19.3*3 | 55 | 55 | 38 | 0 | 55 | 55 | 55 | 55 | -
20 | Nababganj 55 MW PP (Southern power ) | HFO | IPP | 19.3*3 | 55 | 55 | 0 | 17 | 55 | 55 | 55 | 55 | -
21 | Bosila 108MW PP(CLC) | HFO | IPP | 12*8.775+1*3.5 | 108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -
22 | Summit Power Ashulia | Gas | IPP |  | 44.75 | 33.75 | 21 | 21 | 30 | 30 | 25 | 25 | Low gas pressure
22 | Summit Power Madhabdi | Gas | IPP | 3*3.67+4*8.73 | 24.3 | 23 | 22 | 22 | 23 | 23 | 23 | 23 | -
23 | Maona 33 MW PP(Summit) | Gas | IPP | 4*8.73 | 33 | 33 | 25 | 25 | 33 | 33 | 33 | 33 | -
24 | Rupganj 33 MW PP(Summit) | Gas | IPP | 4*8.73 | 33 | 33 | 27 | 28 | 33 | 33 | 33 | 33 | Low gas pressure
25 | Gazipur 52 MW PP | HFO | RPCL | 6*8.9 | 52 | 52.19 | 26 | 26 | 52.19 | 52.19 | 52.19 | 52.19 | -
26 | Tongi 80 MW GTPP | Gas | PDB | 1* 105 | 105 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | Under Maintenance of Exciter
27 | Kodda 300 MW PP Unit-2 (Summit) | HFO | IPP | 18*17.06 | 300 | 300 | 0 | 0 | 300 | 300 | 300 | 300 | -
28 | Kodda 149 MW PP Unit-1 (Summit) | HFO | IPP | 8*18.45+8.97 | 149 | 150 | 50 | 78 | 149 | 149 | 149 | 149 | -
29 | Gazipur 100 MW PP | HFO | RPCL | 6*17.5 | 105 | 105 | 70 | 88 | 105 | 105 | 105 | 105 | -
30 | Meghnaghat 104 MW PP (OPCL) | HFO | IPP | 6*18.5 | 104 | 104 | 0 | 0 | 104 | 104 | 0 | 0 | Liquid fuel shortage
31 | Manikgonj 162MW PP(MPGL) | HFO | IPP | 9*18 | 162 | 162 | 0 | 17 | 162 | 162 | 162 | 162 | -
32 | Spectra Solar Plant Ltd. | Solar | IPP |  | 35 | 35 | 29 | 0 | 29 | 0 | 29 | 0 | -
33 | Kanchan Purbachal Power Generation Ltd. | HFO | IPP | 18.4*3 | 55 | 36.09 | 36 | 36 | 36 | 36 | 36 | 36 | Alternator-03 under maintenace
34 | Unique Meghnaghat Power Limited (UMPL) | Gas | IPP |  | 584 | 584 | 0 | 0 | 0 | 0 | 0 | 0 | -
35 | Meghnaghat CCPP(Summit)-2 | Gas/HSD | IPP |  | 583 | 583 | 0 | 0 | 583 | 583 | 0.01 | 0.01 | Gas shortage
| JERA Meghnaghat Power Limited | Gas | IPP | 250*2+268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -
| Sreepur 150 MW PP | HFO | PDB-RPCL | 9*18 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | -
Dhaka Area Total |  |  |  |  | 6257.05 | 5842.27 | 1400 | 1818 | 4009.63 | 3988.63 | 2671.18 | 2650.18
36 | Chattogram TPP | Gas | PDB | 1*210+1*210 | 420 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | Both units are under maintenance
37 | Raozan 25 MW PP | HFO | IPP | 3*8.9 | 25 | 25.5 | 0 | 0 | 25.5 | 25.5 | 25.5 | 25.5 | -
38 | Teknaf 20MW PP (Solartech) | Solar | IPP |  | 20 | 20 | 19 | 0 | 19 | 0 | 19 | 0 | -
39 | Patenga 50MW PP (Baraka) | HFO | IPP | 8*6.98 | 50 | 50 | 0 | 28 | 50 | 50 | 50 | 50 | -
40 | Karnaphuli Hydro PP Unit-1,2,3,4, 5 | Hydro | PDB | 2*40+3*50 | 230 | 230 | 40 | 40 | 40 | 40 | 40 | 40 | -
41 | Sikalbaha 225MW CCPP | Gas/HSD | PDB | 1*150+1*75 | 225 | 225 | 227 | 227 | 225 | 225 | 225 | 225 | -
42 | Sikalbaha Peaking GT | Gas/HSD | PDB | 1*150 | 150 | 126.5 | 0 | 0 | 0 | 0 | 0 | 0 | -
43 | Sikalbaha 105 MW PP (Baraka Sikalbaha) | HFO | IPP | 6*17.5 | 105 | 105 | 0 | 0 | 105 | 105 | 105 | 105 | Bill delay and high diff. of USD exchange rate
44 | Hathazari 100 MW peaking PP | HFO | PDB | 11*8.9 | 98 | 94 | 0 | 0 | 64 | 64 | 64 | 64 | machine problem
45 | Dohazari -Kalaish 100 MW Peaking | HFO | PDB | 6*17 | 102 | 98 | 0 | 0 | 85 | 85 | 85 | 85 | -
46 | Juldah 100 MW PP Unit-3 (Acorn) | HFO | IPP | 8*13.5 | 100 | 100 | 0 | 0 | 100 | 100 | 100 | 100 | -
| Malancha, Ctg. EPZ (United) | Gas | IPP | 5*8.73+3*9.34 | 0 | 0 | 5 | 21 | 0 | 0 | 0 | 0 | -
47 | Chattogram 108 MW PP (ECPV) | HFO | IPP | 16*7 | 108 | 108 | 0 | 0 | 108 | 108 | 108 | 108 | Liquid fuel shortage
48 | Kaptai 7 MW Solar PP | Solar | PDB |  | 7 | 7 | 0 | 0 | 3.87 | 0 | 3.87 | 0 | -
49 | Anwara 300 MW PP (United) | HFO | IPP | 17*17+24 | 300 | 300 | 0 | 0 | 300 | 300 | 300 | 300 | -
50 | Jodiac Power | HFO | IPP | 3*18.55+1*3.6 | 54.36 | 54.36 | 0 | 0 | 54.36 | 54.36 | 54.36 | 54.36 | -
51 | Karnaphuli Power Ltd. | HFO | IPP | 18.415*6+6.5 | 110 | 110 | 0 | 0 | 110 | 110 | 110 | 110 | -
52 | Juldah unit-2 (Acorn) | HFO | IPP | 8*13.6 | 100 | 100 | 0 | 0 | 100 | 100 | 100 | 100 | -
53 | Anlima Energy Ltd. | HFO | IPP | 6*21.2 | 116 | 116 | 0 | 17 | 116 | 116 | 116 | 116 | Liquid fuel shortage
54 | Mirsharai 150 MW | HFO/Gas | IPP | 18.5*9 | 163 | 159.86 | 0 | 0 | 159.86 | 159.86 | 159.86 | 159.86 | -
55 | SS Power | Coal | IPP | 2*660 | 1224 | 1224 | 470 | 612 | 1224 | 1224 | 612 | 612 | network constraint
56 | Cox's Bazar Wind | Wind | PDB |  | 60 | 60 | 7 | 12 | 0 | 7 | 0 | 7 | -
57 | Matarbari 2*600 MW (CPGCBL) | Coal | CPGCL | 2*600 | 1150 | 1200 | 1150 | 1112 | 1150 | 1150 | 1150 | 1150 | -
Chattogram Area Total |  |  |  |  | 4917.36 | 4873.22 | 1918 | 2069 | 4039.59 | 4023.72 | 3427.59 | 3411.72
58 | Ashuganj CCPP 225 MW | Gas | APSCL | 1X142+1X75 | 221 | 221.43 | 225 | 182 | 221 | 221 | 205 | 205 | FGMO
59 | Ashuganj 450 MW CCPP(North) | Gas | APSCL | 1*360 | 360 | 353.35 | 0 | 0 | 0 | 0 | 0 | 0 | Under Maintenance
60 | Ashuganj 450 MW CCPP(South) | Gas | APSCL | 1*360 | 360 | 356.56 | 0 | 0 | 0 | 0 | 0 | 0 | Under Maintenance
61 | Ashuganj 420 MW CCPP(East) | Gas | APSCL | 284*1+116*1 | 400 | 393 | 0 | 0 | 0 | 0 | 0 | 0 | Under Maintenance
62 | Ashuganj TSK 50 MW PP | Gas | APSCL | 14*3.96 | 53 | 46.94 | 25 | 36 | 46.94 | 46.94 | 45 | 45 | -
63 | Ashuganj 55 MW PP (Precision) | Gas | QRPP | 15*4 | 55 | 55 | 14 | 29 | 30 | 30 | 30 | 30 | -
64 | Ashuganj 195 MW PP (APSCL-United) | Gas | IPP | 20X9.73+1X16 | 195 | 195 | 195 | 197 | 195 | 195 | 195 | 195 | -
65 | Ashuganj 51 MW PP (Midland) | Gas | IPP | 6X9.34 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | -
66 | Ashuganj 150MW PP (Midland) | HFO | IPP | 23X7.015 | 150 | 150 | 0 | 0 | 150 | 150 | 150 | 150 | -
67 | Titas 50 MW Peaking PP | HFO | PDB | 6*8.92 | 52 | 47 | 0 | 0 | 47 | 47 | 47 | 47 | machine problem
68 | Chandpur 150 MW CCPP | Gas | PDB | 1*106+1*57 | 163 | 163 | 50 | 50 | 163 | 163 | 50 | 50 | -
69 | Chandpur 200MW (Desh energy) | HFO | IPP | 12*18.4 | 200 | 200 | 0 | 17 | 200 | 200 | 200 | 200 | -
70 | Feni 11 MW PP (Doreen) | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | -
| Import (Tripura) | Import | Import |  | 160 | 160 | 50 | 58 | 90 | 90 | 90 | 90 | -
71 | Jangalia 52 MW PP (Lakdanavi) | HFO | IPP | 6*8.92 | 52.2 | 52.2 | 0 | 0 | 52.2 | 52.2 | 52.2 | 52.2 | -
72 | Cumilla 25 MW PP (Summit) | Gas | SIPP,REB | 3*3.67+2*6.97 | 25 | 25 | 12 | 14 | 20.83 | 20.83 | 18 | 18 | Machine Under Maintenance
73 | Feni Lanka Power | HFO | IPP | 7*18.415+1*9.78 | 114 | 114 | 0 | 0 | 114 | 114 | 114 | 114 | -
74 | Chowmuhani 113 MW | HFO | IPP | 12*9.78+2*3.1 | 113 | 113 | 0 | 63 | 113 | 113 | 113 | 113 | Fuel Shortage
75 | Chandpur 115(Doreen) | HFO | IPP | 4*18.5+2*22.5 | 115 | 115 | 0 | 16 | 115 | 115 | 115 | 115 | -
76 | Sonagazi 75 MW (AC) Solar Power Plant | Solar | EGCB |  | 75 | 75 | 67 | 0 | 60 | 0 | 60 | 0 | -
Cumilla Area Total |  |  |  |  | 2925.2 | 2897.48 | 689 | 713 | 1668.97 | 1608.97 | 1535.2 | 1475.2
77 | RPCL 210MW CCPP | Gas | RPCL | 4*35+1*70 | 210 | 210 | 5 | 10 | 210 | 210 | 23 | 23 | Low gas pressure
78 | Jamalpur 95 MW PP(Powerpac) | HFO | IPP |  | 95 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | -
79 | Sarishabari 3 MW Solar Plant | Solar | IPP |  | 3 | 2.71 | 2 | 0 | 2 | 0 | 2 | 0 | -
80 | Mymensingh 200 MW PP (United) | HFO | IPP | 9.78*21 | 200 | 200 | 59 | 59 | 200 | 200 | 69 | 69 | -
81 | Jamalpur 115 MW PP (United) | HFO | IPP | 9.78*12 | 115 | 115 | 18 | 19 | 115 | 115 | 19 | 19 | -
82 | Sutiakhali 50 MW Solar PP | Solar | IPP |  | 50 | 50 | 44.36 | 0 | 44.6 | 0 | 44.6 | 0 | -
83 | Tangail Palli Power Gen 22 MW | HFO | IPP | 4*6.7 | 22 | 22 | 24 | 24 | 22 | 22 | 22 | 22 | Ready to Dispatch as per NLDC Demand.
84 | Bhairob 54.5 MW | HFO | IPP | 3*18.2 | 54.5 | 54.5 | 0 | 0 | 54.5 | 54.5 | 54.5 | 54.5 | -
Mymensingh Area Total |  |  |  |  | 749.5 | 749.21 | 152.36 | 112 | 648.1 | 601.5 | 234.1 | 187.5
85 | Fenchugonj CCPP Phase-1 | Gas | PDB | 2*32+1*33 | 97 | 80 | 30 | 30 | 30 | 30 | 30 | 30 | Gas shortage
86 | Fenchugonj CCPP Phase-2 | Gas | PDB | 2*35+1*35 | 104 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | Gas shortage
87 | Kushiara 163 MW CCPP (KP) | Gas | IPP | 1*109+1*54 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | -
88 | Shajibazar 330 MW CCPP | Gas | PDB | 3*110 | 330 | 330 | 0 | 0 | 0 | 0 | 0 | 0 | Under Maintenance
89 | Fenchuganj 44MW (Energyprima) | Gas | NENP | 12*3.3+5*2 | 50 | 47.998 | 10 | 10 | 44 | 44 | 10 | 10 | -
90 | Hobiganj 11MW PP Cofidence-E | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 2 | 2 | 2.5 | 2.5 | 2 | 2 | machine problem
91 | Shahjibazar GTPP Unit- 8 & 9 | Gas | PDB | 2*35 | 70 | 66.57 | 0 | 0 | 0 | 0 | 0 | 0 | -
92 | Shahjibazar 86MW PP (Shahjibazar) | Gas | RPP | 32*2.90 | 86 | 86 | 61 | 61 | 86 | 86 | 86 | 86 | -
93 | Shahjibazar 100 MW GTPP | Gas | PDB | 1*100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | -
94 | Sylhet 225 MW CCPP | Gas | PDB | 1*142+1*89 | 231 | 225 | 207 | 208 | 210 | 210 | 210 | 210 | -
95 | Sylhet 20 MW GTPP | Gas | PDB | 1*20 | 20 | 20 | 0 | 0 | 20 | 20 | 0.01 | 0.01 | -
96 | Shahjahanulla 25 MW PP | Gas | SIPP,REB | 3*9.34 | 25 | 25 | 13 | 13 | 0 | 0 | 13 | 13 | -
97 | Bibiana-II 341 MW CCPP (Summit) | Gas | IPP | 1*222+1*119 | 341 | 341 | 285 | 285 | 341 | 341 | 307 | 307 | FGMO
98 | Bibiyana-III 400 MW CCPP | Gas | PDB | 285*1+134*1 | 400 | 400 | 333 | 324 | 385 | 385 | 357 | 357 | FGMO
99 | Bibiyana South 400 MW | Gas | PDB | 1*400 | 383 | 383 | 330 | 330 | 383 | 383 | 353 | 353 | FGMO
Sylhet Area Total |  |  |  |  | 2411 | 2368.568 | 1434 | 1426 | 1664.5 | 1664.5 | 1531.01 | 1531.01
100 | Bheramara GTPP Unit-3 | HSD | PDB | 1X20 | 20 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | -
** | Bheramara (HVDC ) | Import | Import | 2X500 | 1000 | 1000 | 909 | 910 | 1000 | 1000 | 1000 | 1000 | -
101 | Faridpur 50 MW Peaking PP | HFO | PDB | 8*6.89 | 54 | 50 | 0 | 0 | 50 | 50 | 50 | 50 | -
102 | Khulna 225 MW CCPP | HSD/Gas | NWPGCL | 1X150+1X75 | 230 | 230 | 0 | 0 | 230 | 230 | 230 | 230 | -
103 | Gopalganj 100 MW Peaking PP | HFO | PDB | 16*6.98 | 109 | 100 | 0 | 0 | 40 | 40 | 40 | 40 | -
104 | Bheramara 410 MW CCPP | Gas | NWPGCL | 1X278+1X132 | 410 | 410 | 300 | 293 | 410 | 410 | 330 | 330 | Gas shortage
105 | Rupsha 105 MW PP (Orion rupsha) | HFO | IPP | 6*18.445 | 105 | 105 | 0 | 0 | 105 | 105 | 0 | 0 | Liquid fuel shortage
106 | Madhumati 100 MW PP | HFO | NWPGCL | 6*18 | 105 | 105 | 0 | 0 | 105 | 105 | 0 | 0 | Liquid fuel shortage
107 | Mongla Orion 100 MW Solar PP | Solar | IPP | 100 | 100 | 100 | 56 | 0 | 75 | 0 | 75 | 0 | -
108 | Khulna 330 MW CCPP | HSD/Gas | PDB | 1*220+1*110 | 336 | 336 | 0 | 0 | 0 | 0 | 0 | 0 | S/D due to CW Pond cleaning & Tx Radiator change.
109 | Rampal 1320 MW (BIFPCL) | Coal | PDB | 660*2 | 1234 | 1234.2 | 0 | 0 | 1234 | 1234 | 0 | 0 | Coal shortage
** | HVDC(Nepal) | Import | Import | 1*40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -
Khulna Area Total |  |  |  |  | 3703 | 3686.2 | 1265 | 1203 | 3249 | 3174 | 1725 | 1650
110 | Barisal 110 MW PP (Summit ) | HFO | IPP | 7X17.076 | 110 | 110 | 0 | 0 | 110 | 110 | 110 | 110 | -
111 | Bhola 33 MW PP (Venture) | Gas | NENP | 1X34.50 | 40 | 40 | 4 | 6 | 10.12 | 10.12 | 10.12 | 10.12 | Dead bus operation
112 | Bhola 225 MW CCPP | Gas | PDB | 2X63+1X68 | 194 | 193.1 | 140 | 140 | 135 | 135 | 140 | 140 | Partial Shutdown of STG
113 | Payra 1320 MW | Coal | BCPCL | 2*622 | 1244 | 1244 | 1000 | 1210 | 1244 | 1244 | 1204 | 1204 | FGMO
114 | Bhola Nutan Biddut BD LTD | Gas/HSD | IPP | 2*110 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | Subjected to Grid Voltage
115 | United Payra Power Ltd. | HFO | IPP | 8*18.5+1*9.5 | 150 | 150 | 0 | 17 | 150 | 150 | 150 | 150 | -
116 | Barisal 307 MW | Coal | BCPCL | 307X1 | 307 | 307 | 200 | 307 | 307 | 307 | 307 | 307 | -
117 | Barisal 1 MW Solar Plant | Solar | IPP |  | 1 | 1 | 0.51 | 0 | 1 | 0 | 1 | 0 | -
Barishal Area Total |  |  |  |  | 2266 | 2265.1 | 1564.51 | 1900 | 2177.12 | 2176.12 | 2142.12 | 2141.12
118 | Baghabari 71 MW GTPP | Gas | PDB | 1X71 | 71 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | Gas shortage
| Baghabari 100 MW GTPP | Gas | PDB | 1*100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | Machine Under Maintenance
119 | Baghabari 50 MW Peaking PP | HFO | PDB | 6*8.9 | 52 | 47 | 0 | 0 | 47 | 47 | 47 | 47 | -
120 | Bera 70 MW Peaking PP | HFO | PDB | 9*8.29 | 71 | 66 | 0 | 0 | 42 | 42 | 42 | 42 | -
121 | Amnura 50 MW PP(Sinha) | HFO | QRPP | 7*7.79 | 50 | 35.09 | 0 | 0 | 0 | 0 | 0 | 0 | -
122 | Katakhali 50 MW Peaking PP | HFO | PDB | 6*8.7 | 50 | 45.49 | 0 | 0 | 45 | 45 | 45 | 45 | -
123 | Sirajgonj 225MW CCPP Unit-1 | Gas/HSD | NWPGCL | 1*150+1*75 | 214 | 214 | 189 | 189 | 214 | 214 | 214 | 214 | Gas shortage
124 | Sirajgonj 225MW CCPP Unit-2 | Gas/HSD | NWPGCL | 1*150+1*75 | 220 | 220 | 190 | 203 | 220 | 220 | 220 | 220 | Gas shortage
125 | Sirajgonj 225MW CCPP Unit-3 | Gas/HSD | NWPGCL | 1*141 | 220 | 220 | 188 | 199 | 220 | 220 | 220 | 220 | Gas shortage
126 | Sirajgonj 400 MW CCPP Unit-4 | Gas/HSD | NWPGCL | 1*282+1*132 | 414 | 413.79 | 0 | 0 | 0 | 0 | 0 | 0 | Scheduled Outage
127 | Santahar 50 MW Peaking PP | HFO | PDB | 6*8.7 | 50 | 46 | 0 | 0 | 30 | 30 | 30 | 30 | -
128 | Ullapara 11 MW PP (Summit) | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 5.5 | 11 | 11 | 11 | 11 | 11 | -
129 | Natore 52 MW PP (Rajlanka) | HFO | IPP | 6*8.92 | 52 | 52.2 | 0 | 0 | 52.2 | 52.2 | 52.2 | 52.2 | -
130 | Chapainawabganj 100 MW Peaking PP | HFO | PDB | 12*8.924 | 104 | 104 | 0 | 0 | 98 | 98 | 98 | 98 | -
131 | Bagura 113 MW PP (Confidence)-2 | HFO | IPP | 6*18.55+7.2 | 113 | 113 | 0 | 0 | 113 | 113 | 113 | 113 | -
132 | Confidence Power Bogura Unit-1 113 MW | HFO | IPP | 6*18.55 | 113 | 113 | 0 | 0 | 113 | 113 | 113 | 113 | -
133 | Sirajgonj 6.55 MW Solar | Solar | NWPGCL |  | 6.55 | 6.09 | 4.34 | 0 | 4.1 | 0 | 4.1 | 0 | -
** | Adani Power Jharkhanda Ltd | Import | Import | 2*673 | 1496 | 1347.54 | 558 | 718 | 0 | 0 | 0 | 0 | -
134 | Sirajganj 68 MW Solar Park | Solar | IPP |  | 68 | 68 | 55.18 | 0 | 47 | 0 | 47 | 0 | -
| Pabna Solar 100 MW | Solar | IPP |  | 0 | 100 | 91 | 0 | 100 | 0 | 100 | 0 | -
Rajshahi Area Total |  |  |  |  | 3475.55 | 3393.2 | 1281.02 | 1320 | 1356.3 | 1205.2 | 1356.3 | 1205.2
135 | Barapukuria TPP Unit-1 & 2 | Coal | PDB | 1*125+1*125 | 250 | 170 | 72 | 69 | 72 | 72 | 73 | 73 | Partial Shutdown due to maintenance
136 | Barapukuria 275 MW TPP Unit-3 | Coal | PDB | 1*275 | 274 | 274 | 210 | 210 | 200 | 200 | 210 | 210 | machine problem
137 | Rangpur 20 MW GTPP | HSD | PDB | 1*20 | 20 | 20 | 0 | 0 | 20 | 20 | 20 | 20 | -
138 | Saidpur 20 MW GTPP | HSD | PDB | 1*20 | 20 | 20 | 0 | 0 | 14 | 14 | 14 | 14 | -
139 | Rangpur 113 MW PP (Confidence) | HFO | IPP | 9*6.984+7*7.015+3.15*2 | 113 | 113 | 0 | 0 | 113 | 113 | 113 | 113 | -
140 | Sympa Solar Power 8 MW | Solar | IPP |  | 8 | 8 | 5.3 | 0 | 5.4 | 0 | 5.4 | 0 | -
141 | Energypac Power Venture Thakurgaon Ltd. | HFO | IPP |  | 115 | 115 | 0 | 53 | 115 | 115 | 115 | 115 | -
142 | Intraco Solar 30 MW | Solar | IPP | 1*30 | 30 | 30 | 30 | 0 | 28 | 0 | 28 | 0 | -
143 | Teesta Solar Limited | Solar | BCPCL |  | 200 | 200 | 130 | 0 | 130.16 | 0 | 130.16 | 0 | -
Rangpur Area Total |  |  |  |  | 1030 | 950 | 447.3 | 332 | 697.56 | 534 | 708.56 | 545
System Total |  |  |  |  | 27734.66 | 27025.248 | 10151.19 | 10893 | 19510.77 | 18976.64 | 15331.06 | 14796.93
Forecast Scenario (16-01-2025)
|  |  |  | Hour | Generation |  | Load-Shed |  | Demand
|  |  |  | 0:00 | 9090 |  | 0 |  | 9090
|  |  |  | 1:00 | 8500 |  | 0 |  | 8500
|  |  |  | 2:00 | 8070 |  | 0 |  | 8070
|  |  |  | 3:00 | 7670 |  | 0 |  | 7670
|  |  |  | 4:00 | 7510 |  | 0 |  | 7510
|  |  |  | 5:00 | 7470 |  | 0 |  | 7470
|  |  |  | 6:00 | 7850 |  | 0 |  | 7850
|  |  |  | 7:00 | 8660 |  | 0 |  | 8660
|  |  |  | 8:00 | 9360 |  | 0 |  | 9360
|  |  |  | 9:00 | 9850 |  | 0 |  | 9850
|  |  |  | 10:00 | 9670 |  | 0 |  | 9670
|  |  |  | 11:00 | 9710 |  | 0 |  | 9710
|  |  |  | 12:00 | 10240 |  | 0 |  | 10240
|  |  |  | 13:00 | 10460 |  | 0 |  | 10460
|  |  |  | 14:00 | 10210 |  | 0 |  | 10210
|  |  |  | 15:00 | 9740 |  | 0 |  | 9740
|  |  |  | 16:00 | 9510 |  | 0 |  | 9510
|  |  |  | 17:00 | 9710 |  | 0 |  | 9710
|  |  |  | 18:00 | 10700 |  | 0 |  | 10700
|  |  |  | 18:30 | 10800 |  | 0 |  | 10800
|  |  |  | 19:00 | 10900 |  | 0 |  | 10900
|  |  |  | 19:30 | 10770 |  | 0 |  | 10770
|  |  |  | 20:00 | 10720 |  | 0 |  | 10720
|  |  |  | 21:00 | 10450 |  | 0 |  | 10450
|  |  |  | 22:00 | 10120 |  | 0 |  | 10120
|  |  |  | 23:00 | 9420 |  | 0 |  | 9420
Probable Maximum Temperature: |  |  | 27.00°C
Probable Maximum Demand at Day Peak: |  |  | 10240.00 MW |  | Total Load Shed forecast at evening peak hr. (Sub-station End):
Probable Maximum Demand at Evening Peak: |  |  | 10900.00 MW |  | Area Wise Load Shed forecast (in MW) at evening peak hr. (Sub-station End):
Probable Maximum Generation at Evening Peak: |  |  | 10900.00 MW |  | Dhaka | Chittagong | Cumilla | Mymensingh | Sylhet | Khulna | Barishal | Rajshahi | Rangpur | Total
Probable Total Energy Generation: |  |  | 225.59 MKWHr. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yesterday (15-01-2025) Scenario
Maximum Temperature: |  |  |  |  | 26.70°C |  | Total Gas Supplied(MMCFD): |  |  |  |  | 833.82
E-W Interconnector Scenario |  |  |  |  | Import Scenario
Energy Flow from East to West |  | 0 |  |  | Import through HVDC Cross-Border Interconnector: |  |  |  |  | MKWHr: | 20.8116 | Peak Hour Flow: |  | 910.00 MW at 19:00 hrs.
Energy Flow from West to East |  | 8493595000 |  |  | Import through Adani Cross-Border Interconnector: |  |  |  |  | MKWHr: | 11.7055 | Peak Hour Flow: |  | 718.00 MW at 19:00 hrs.
Power Flow during Peak Demand |  | 536 |  |  | Import through Cumilla Cross-Border Interconnector: |  |  |  |  | MKWHr: | 1.2221 | Peak Hour Flow: |  | 58.00 MW at 19:00 hrs.
Maximum Power Flow |  | 802 |  |  | Total Import through Cross-Border Interconnector: |  |  |  |  | MKWHr: | 33.7392 | Peak Hour Flow: |  | 1686.00 MW at 19:00 hrs.
|  | Sub-Divisional Engineer | [6 empty] | Executive Engineer
|  | Network Operation Division | [6 empty] | Network Operation Division

## P1
Power Grid Bangladesh PLC
National Load Dispatch Center (NLDC)
System Summary Report
| Date : | 15-01-2025
Power Supply Scenario
Day Peak Generation |  |  | 10151.19 | MW | 12:00 Hr. | Energy Generated |  |  | 228586.8336 |  | MWHr
Day Peak Demand |  |  | 10151.19 | MW | 12:00 Hr. | Energy Unserverd |  |  | 30 |  | MWHr
Evening Peak Generation |  |  | 10893 | MW | 19:00 Hr. | Energy Demand |  |  | 228616.8336 |  | MWHr
Evening Peak Demand |  |  | 10893 | MW | 19:00 Hr.
Minimum Generation of the Day |  |  | 7365.5 | MW | 05:00 Hr.
Maximum Generation of the Day |  |  | 10893 | MW | 19:00 Hr.
Zone-wise Generation Summary (MWHr.)
|  |  | Gas | Coal | HFO | HSD | Hydro | Solar | Import | Wind | Total
Dhaka Zone |  |  | 29981.843 | 0 | 5168.612 | 0 | 0 | 151.96 | 0 | 0 | 35302.415 | Gas | 111820.848 | Gas | 397473227.8
Chattogram Zone |  |  | 5909.152 | 34710.9077 | 257.727 | 0 | 954.54 | 141.593 | 0 | 407.04 | 42380.9597 | Coal | 69379.7979 | Coal | 489064932.5878
Cumilla Zone |  |  | 12708.822 | 0 | 1087.378 | 0 | 0 | 388.491 | 1222.08 | 0 | 15406.771 | HFO | 8863.289 | HFO | 166801621.17
Mymensingh Zone |  |  | 243.84 | 0 | 1831.44 | 0 | 0 | 288.44 | 0 | 0 | 2363.72 | HSD | 0 | HSD | 0
Sylhet Zone |  |  | 34378.083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34378.083 | Hydro | 954.54 | Hydro | 95454
Khulna Zone |  |  | 7005.024 | 0 | 0 | 0 | 0 | 442.8 | 20811.636 | 0 | 28259.46 | Solar | 3422.1477 | Solar | 53662942.148
Barishal Zone |  |  | 8232.297 | 28204.8182 | 294 | 0 | 0 | 3.029 | 0 | 0 | 36734.1442 | Import | 33739.171 | Import | 160865749.01
Rajshahi Zone |  |  | 13361.787 | 0 | 50.944 | 0 | 0 | 892.198 | 11705.455 | 0 | 26010.384 | Wind | 407.04 | Wind | 6349824
Rangpur Zone |  |  | 0 | 6464.072 | 173.188 | 0 | 0 | 1113.6367 | 0 | 0 | 7750.8967
Total |  |  | 111820.848 | 69379.7979 | 8863.289 | 0 | 954.54 | 3422.1477 | 33739.171 | 407.04 | 228586.8336
Production Cost (Tk.)
|  |  | Fuel | Tk. |  | Fuel | Tk.
|  |  | Gas | 397473227.8 |  | Hydro | 95454
|  |  | Coal | 489064932.5878 |  | Solar | 53662942.148
|  |  | HFO | 166801621.17 |  | Import | 160865749.01
|  |  | HSD | 0 |  | Wind | 6349824
|  |  |  | Total: | 1274313750.7158 |  | Tk.
Status of unavailable Power Plant
| Planned S/D |  |  |  |  | Forced S/D
| Sl | Plant Name |  |  | Capacity | Sl | Plant Name |  |  | Capacity
| 1 | Ashuganj 450 MW CCPP(North) GT |  |  | 240 | 1 | Amnura 50 MW PP(Sinha) |  |  | 35.09
| 2 | Ashuganj 450 MW CCPP(North) ST |  |  | 120 | 2 | Ashuganj 420 MW CCPP(East) GT |  |  | 284
| 3 | Baghabari 100 MW GTPP |  |  | 100 | 3 | Ashuganj 420 MW CCPP(East) ST |  |  | 116
| 4 | Barapukuria TPP Unit-2 |  |  | 85
| 5 | Khulna 330 MW CCPP GT |  |  | 220
| 6 | Khulna 330 MW CCPP ST |  |  | 110
| 7 | Siddhirgonj 210 MW TPP |  |  | 115
| 8 | Sirajgonj 400 MW CCPP Unit-4 GT |  |  | 282
| 9 | Sirajgonj 400 MW CCPP Unit-4 ST |  |  | 132
|  |  |  | Total | 1404 |  |  |  | Total | 435.09
|  |  | Total Unavailable Capacity |  |  |  | 1839.09
Zone-wise Load-shed and Demand Summary (MW) at evening peak Hour (19:00 Hr.)
|  |  | Zone |  | Load-Shed |  | Demand
|  |  | Dhaka |  | 0 |  | 3932
|  |  | Chattogram |  | 0 |  | 1103
|  |  | Cumilla |  | 0 |  | 876
|  |  | Mymensingh |  | 0 |  | 962
|  |  | Sylhet |  | 0 |  | 382
|  |  | Khulna |  | 0 |  | 1183
|  |  | Barishal |  | 0 |  | 294
|  |  | Rajshahi |  | 0 |  | 1016
|  |  | Rangpur |  | 0 |  | 674
|  |  | Total |  | 0 |  | 10422
Event Summary
Outage Time | Restoration Time | Description of Event | [7 empty] | Description of Event
08:12 | 16:27 | Dhamrai-Kaliakoir 132 kV Ckt-2 Scheduled S/D from Kaliakoir 400/230/132kV end Due to By
NLDC and from Dhamrai 132/33kV end Due to Annual Maintenance
08:12 | 17:56 | Chapai 132/33kV S/S T-3 (425T) LT Scheduled S/D Due to for annual maintenance
08:13 | 17:55 | Chapai 132/33kV S/S T-3 (425T) HT Scheduled S/D Due to For annual maintenance
08:15 | 09:16 | Kishoreganj 132/33kV S/S Bus-A Project Work S/D Due to Old T1 shifting work by project
08:20 | 17:23 | Dhamrai 132/33kV S/S Transformer-2 LT Scheduled S/D Due to Annual Maintenance
08:21 | 17:22 | Dhamrai 132/33kV S/S Transformer-2 HT Scheduled S/D Due to Annual Maintenance
08:21 | 17:12 | Bagerhat-Labanchura 132 kV Ckt-2 Scheduled S/D from Bagerhat 132/33kV end Due to Annual
maintenance work.
08:26 |  | Rangpur 132/33kV S/S Rangpur-Teesta Solar-2 Scheduled S/D
08:27 | 16:24 | Keraniganj-Sreenagar (T at Powerpac 100MW) 132kV Ckt-2 Scheduled S/D from Srinagar
132/33kV end Due to Dead line Checking purpose. and from Keranigonj 230/132/33kV end Due
to Dead Line Check.
08:29 | 16:02 | Feni-PHP 132kV Ckt-1 Scheduled S/D from Feni 132/33kV end Due to AMS-2024-25
08:45 | 15:02 | Bogura-Bogura (New)) 132 kV Ckt-1 Scheduled S/D from Bogura 230/132kV end Due to Annual
Maintenance and from Bogura 132/33kV end Due to annual maintenance
| 08:50 | Kishoreganj 132/33kV S/S Tr-2 (414T) LT is restored.
| 08:50 | Kishoreganj 132/33kV S/S Tr-2 (414T) HT is restored.
08:56 | 15:43 | Sylhet (South) S/S Trafo-1 LT Scheduled S/D Due to Annual Maintenance work of Trafo-1
08:56 | 15:42 | Sylhet (South) S/S Trafo-1 HT Scheduled S/D Due to Annual Maintenance work
08:56 | 11:34 | Agargaon Bhasantek 132kV Ckt-2 Scheduled S/D from Cantonment 132/33kV end Due to Annual
maintenance
08:57 | 16:42 | Kallyanpur 132/33kV S/S Reserve bus Scheduled S/D Due to Annual maintenance
08:57 | 12:26 | Mymensingh RPCL -Mymensingh 132kV Ckt-1 Scheduled S/D from Mymensingh 132/33kV end Due
to Annual maintenance of B-Bus DS (192S)
09:08 | 17:00 | Bibiyana-Kaliakoir 400 kV Ckt-2 Scheduled S/D from Kaliakoir 400/230/132kV end Due to
Line Maintenance.
09:09 | 15:13 | Kushtia 132/33kV S/S T-1 LT Scheduled S/D Due to Annual Maintenance | [7 empty] | 4.0MW load
interrup.
09:10 | 15:12 | Kushtia 132/33kV S/S T-1 HT Scheduled S/D Due to Annual Maintenance | [7 empty] | 4.0MW load
interrup.
09:20 | 15:32 | Kabirpur -Tongi 132kV Ckt-1 Scheduled S/D from Tongi 230/132/33kV end Due to
Maintenance work.
09:21 | 15:48 | Chhatak 132/33kV S/S T-2 LT Scheduled S/D Due to Tan Delta Test
09:21 | 15:48 | Chhatak 132/33kV S/S T-1 LT Scheduled S/D Due to Tan Delta Test
09:22 | 15:47 | Chhatak 132/33kV S/S T-2 HT Scheduled S/D Due to TanDelta Test
09:22 | 15:47 | Chhatak 132/33kV S/S T-1 HT Scheduled S/D Due to Tan Delta Test
09:26 | 16:37 | Sreepur 230/132/33kV S/S Sreepur-Ashuganj Ckt-2 Scheduled S/D Due to Dead Line Checking
09:30 | 10:12 | Kishoreganj 132/33kV S/S BUS-B Project Work S/D Due to Old T1 shifting work by project
09:32 | 16:49 | Bhaluka-Mymensingh 132 kV Ckt-1 Scheduled S/D from Mymensingh 132/33kV end Due to Annual
maintenance of B-Bus DS and from Bhaluka 132/33kVend.
09:32 | 16:49 | Bhaluka-Mymensingh 132 kV Ckt-2 Scheduled S/D from Mymensingh 132/33kV end Due to Annual
maintenance of B-Bus DS and from Bhaluka 132/33kVend.
09:39 | 13:19 | Daudkandi-Sonargaon 132 kV Ckt-2 Scheduled S/D from Daudkandi 132/33kV end Due to annual
maintenance sonargaon line-2 at sonargaon ss end and from Sonargaon 132/33kV end Due to
Announciator repairng purpose at substation control panel.
09:40 | 14:21 | Madanganj 132/33kV S/S GT-2 LT Forced S/D Due to B Phase PT Voltage missing.
09:41 | 14:19 | Madanganj 132/33kV S/S GT-2 HT Forced S/D Due to B Phase PT Voltage missing
09:42 | 16:16 | Rajshahi 230/132/33kV S/S 230 Kv BIPTC Ckt-01 Scheduled S/D Due to A/M
09:50 | 16:47 | Bhaluka 132/33kV S/S Sreepur Ckt- 02 Scheduled S/D Due to S/D taken by Shripur grid
10:04 | 16:40 | Sonargaon 132/33kV S/S OPSL(IEL-2) Scheduled S/D Due to Due to deadline checking and work
on OPSL(IEL-02) Bay .
10:10 | 16:45 | Sreepur 230/132/33kV S/S Sreepur-Valuka Ckt-2 Scheduled S/D Due to Dead Line Checking
10:10 | 16:03 | Mymensingh 132/33kV S/S Bus B Scheduled S/D Due to Annual maintenance of B-Bus DS of
Bhaluka ckt-1, BH ckt-2,RPCL Ckt1
10:14 | 12:58 | Siddhirganj 132/33kV S/S 120MW EGCB GT2 Forced S/D Due to work at egcb end.
10:17 | 16:42 | Ashuganj-Bhulta 400 kV Ckt-1 Scheduled S/D from Bhulta 400/230kV end Due to Annual
Maintenance Works.
10:25 | 11:47 | Brahmanbaria-Narsinghdi 132 kV Ckt-1 Tripped from Brahmanbaria 132/33kV end showing
Distance relay relays Due to None
10:25 | 16:58 | Brahmanbaria-Narsinghdi 132 kV Ckt-2 Tripped from Brahmanbaria 132/33kV end showing
Distance relay relays Due to None
10:37 |  | Bibiyana-III 400 MW CCPP, FGMO is ON with remarks:-
11:11 | 13:03 | Bhaluka 132/33kV S/S Bus B Forced S/D Due to Annual maintenance
11:47 | 13:32 | Cantonment 132/33kV S/S Transformer-2 (T-2) HT Scheduled S/D Due to Annual maintenance
11:47 | 13:31 | Cantonment 132/33kV S/S Transformer-2 (T-2) LT Scheduled S/D Due to Annual maintenance
11:48 |  | Brahmanbaria-Narsinghdi 132 kV Ckt-1 Forced S/D from Brahmanbaria 132/33kV end.
12:00 |  | Day Peak Generation: 10179 MW.
12:11 |  | Joypurhat 132/33kV S/S Transformer T-3 (427 T) LT Scheduled S/D Due to T-3 132/33 kV
Shutdown for Power Transformer oil Centrifuging work
12:12 |  | Joypurhat 132/33kV S/S Transformer T-3 (427 T) HT Scheduled S/D Due to T-3 132/33 kV
Shutdown for Power Transformer oil Centrifuging work
12:14 |  | Rampal 400/230kV S/S Bus Reactor Forced S/D Due to Due to bus voltage Low ( 383KV )
12:30 |  | Mymensingh RPCL -Mymensingh 132kV Ckt-2 Scheduled S/D from Mymensingh 132/33kV end Due
to Annual maintenance of B-Bus DS (292S)
14:02 |  | Meghnaghat 400/230 kV ATR-1 was switched on.
14:11 |  | Haripur 412 MW CCPP Synchronized with remarks:- GT
14:11 |  | Haripur 412MW CCPP GT was sync.
| 14:32 | Kabirpur 132/33kV S/S XFR, T-3 HT is restored.
| 14:33 | Kabirpur 132/33kV S/S XFR, T-3 LT is restored.
| 14:52 | Manikganj 132/33kV S/S 132/33 kV Transformer GT-2(35/50 MVA) HT is restored.
| 15:02 | Manikganj 132/33kV S/S 132/33 kV Transformer GT-2(35/50 MVA) LT is restored.
15:06 |  | Sirajganj-Sherpur 132KV Ckt-2 was switched on.
| 15:08 | Sherpur(Bogura)-Sirajgonj 132 kV Ckt-2 is restored.
15:35 | 17:35 | Manikganj 132/33kV S/S 132/33 kV Transformer GT-3 (50/75 MVA) HT Forced S/D | [7 empty] | 30.0MW load
interrup.
15:37 | 17:21 | Chhatak 132/33kV S/S T-3 HT Scheduled S/D Due to TanDelta Test
15:37 | 17:35 | Manikganj 132/33kV S/S 132/33 kV Transformer GT-3 (50/75 MVA) LT Forced S/D | [7 empty] | 30.0MW load
interrup.
15:37 | 17:21 | Chhatak 132/33kV S/S T-3 LT Scheduled S/D Due to TanDelta Test
16:14 |  | Haripur 412MW CCPP ST was sync.
16:14 |  | Haripur 412 MW CCPP Synchronized with remarks:- ST
17:01 |  | B. Baria-Narshingdi 132kV ckt-2 was switched on.
| 17:24 | Agargaon 230/132kV S/S 230kV Transformer-1 ( 705T1) LT is restored.
| 17:24 | Agargaon 230/132kV S/S Auxiliary Tr-1 HT is restored.
| 17:24 | Agargaon 230/132kV S/S 230kV Transformer-1 ( 705T1) HT is restored.
| 17:25 | Agargaon 230/132kV S/S Auxiliary Tr-1 LT is restored.
| 17:57 | Patuakhali-Payra 132kV Ckt-2 is restored.
19:00 |  | Evening Peak Gen. 10893 MW
20:10 | 20:25 | Fenchuganj -Sylhet 132kV Ckt-1 Tripped from Beanibazar 132/33kV end showing REL- 670 | [7 empty] | 42.0MW load
|  | relays Due to Unknown | [7 empty] | interrup.
Beanibazar 132/33kV
end
20:11 | 20:25 | Sylhet (South) S/S Sylhet (S)-Fenchugonj 132KV Ckt-1 Tripped showing Distance protection
Relay relays.
20:11 | 20:27 | Fenchuganj-Sylhet (T at Bianibazar) 132kV Ckt-2 Tripped from Fenchuganj 230/132/33kV end
showing REC-650, REL-670 relays Due to Unknown
23:12 | 23:52 | Shahjibazar 132/33kV S/S TR-04 LT Scheduled S/D Due to shutdown taken by BPDB
23:12 | 23:52 | Shahjibazar 132/33kV S/S TR-04 HT Scheduled S/D Due to shutdown taken by BPDB
05:00 |  | Minimum Generation = 7,526MW
07:11 |  | Ashuganj 420 MW CCPP(East) GT Forced Shutdown with remarks:- None
07:12 |  | Ashuganj 420 MW CCPP(East) ST Forced Shutdown with remarks:- None
07:55 |  | Bagerhat-Labanchura 132 kV Ckt-2 Scheduled S/D from Bagerhat 132/33kV end Due to Annual
maintenance 132 kv orion line
| Sub-Divisional Engineer |  |  |  | Executive Engineer |  |  |  | Superintendent Engineer
| Network Operation Division |  |  |  | Network Operation Division |  |  |  | Network Operation Division

## P2
Power Grid Bangladesh PLC
National Load Dispatch Center (NLDC)
EVENING PEAK GENERATION AND DAY LONG ENERGY DATA OF POWER STATIONS
| Date : | 15-01-2025
Sl. | Name of the Power Stations |  | Producer | Installed Capacity | Present Capacity | Peak Hour Generation | Energy Generated | Remarks
|  |  |  | Unit No. X Capacity | MW | MW | KWH
1 | Ghorasal Repowered CCPP Unit-3 |  | PDB | 1*260 | 260 | 0 | 0 | GT is under maintenance
2 | Ghorasal Repowered CCPP Unit-4 |  | PDB | 1*210 | 174.8 | 0 | 0 | Under maintenance
| Ghorasal TPP Unit-5 |  | PDB | 1*210 | 174.8 | 0 | 0 | Gas shortage
3 | Ghorasal 365 MW CCPP Unit-7 |  | PDB | 1*243+1*122 | 365 | 0 | 0 | Air Compressor Problem
4 | Ghorashal 108 MW PP (Regent) |  | IPP | 34*3.35 | 97.7 | 0 | 0 | Demand "0" due to gas shortage
5 | Haripur GTPP |  | SBU,PDB | 32*2 | 40 | 0 | 0 | Under Maintenance
6 | Haripur 412 MW CCPP |  | EGCB | 1*273+1*139 | 400.37 | 400 | 4860000 | -
| Haripur 360 MW CCPP (HPL) |  | IPP | 1*235+1*125 | 0 | 0 | 0 | -
7 | Meghnaghat 450 MW CCPP (MPL) |  | IPP | 2*150+1*150 | 450 | 400 | 8703000 | -
8 | Meghnaghat CCPP(Summit) |  | IPP | 2*110+1*110 | 335 | 262 | 6880262 | FGMO
9 | Madanganj-55 MW PP(Summit) |  | IPP | 3*17+1*11.3 | 55 | 0 | 0 | -
10 | Keraniganj 100 MW PP (Powerpac) |  | QRPP | 8*13.45 | 75.24 | 0 | 0 | -
11 | Narshingdi 22 MW PP (Doreen) |  | SIPP,REB | 8*2.90 | 22 | 0 | 0 | -
12 | Siddhirgonj 210 MW TPP |  | PDB | 1*210 | 93 | 0 | 0 | Under Major Overhauling
13 | Siddhirgonj 2*120 MW GTPP |  | EGCB | 2*105 | 210 | 0 | 0 | Gas shortage
14 | Siddhirganj 335 MW CCPP |  | EGCB | 1*217+118 | 335 | 300 | 7365021 | -
15 | Gagnagar 102 MW PP (Digital Power) |  | IPP | 12*8.924 | 102 | 0 | 0 | -
16 | Katpotti 52 MW PP (Sinha) |  | IPP | 7*7.9 | 0 | 0 | 0 | -
17 | Kamalaghat 54 MW PP(Banco Energy) |  | IPP | 3*18 | 53.97 | 17 | 318960 | -
18 | Kodda 150 MW PP B-R |  | PDB-RPCL | 9*17.06 | 149.36 | 64 | 655680 | -
18 | Manikganj 55 MW PP (Northern) |  | IPP | 19.3*3 | 55 | 0 | 450021 | -
20 | Nababganj 55 MW PP (Southern power ) |  | IPP | 19.3*3 | 55 | 17 | 59015 | -
21 | Bosila 108MW PP(CLC) |  | IPP | 12*8.775+1*3.5 | 0 | 0 | 0 | -
22 | Summit Power Ashulia |  | IPP | 0 | 33.75 | 21 | 443400 | -
22 | Summit Power Madhabdi |  | IPP | 3*3.67+4*8.73 | 23 | 22 | 528480 | -
23 | Maona 33 MW PP(Summit) |  | IPP | 4*8.73 | 33 | 25 | 512280 | -
24 | Rupganj 33 MW PP(Summit) |  | IPP | 4*8.73 | 33 | 28 | 689400 | Low gas pressure
25 | Gazipur 52 MW PP |  | RPCL | 6*8.9 | 52.19 | 26 | 402720 | -
26 | Tongi 80 MW GTPP |  | PDB | 1* 105 | 105 | 0 | 0 | Under Maintenance of Exciter
27 | Kodda 300 MW PP Unit-2 (Summit) |  | IPP | 18*17.06 | 300 | 0 | 0 | -
28 | Kodda 149 MW PP Unit-1 (Summit) |  | IPP | 8*18.45+8.97 | 150 | 78 | 1300896 | -
29 | Gazipur 100 MW PP |  | RPCL | 6*17.5 | 105 | 88 | 1215360 | -
30 | Meghnaghat 104 MW PP (OPCL) |  | IPP | 6*18.5 | 104 | 0 | 0 | Liquid fuel shortage
31 | Manikgonj 162MW PP(MPGL) |  | IPP | 9*18 | 162 | 17 | 224640 | -
32 | Spectra Solar Plant Ltd. |  | IPP | 0 | 35 | 0 | 151960 | -
33 | Kanchan Purbachal Power Generation Ltd. |  | IPP | 18.4*3 | 36.09 | 36 | 506520 | Alternator-03 under maintenace
34 | Unique Meghnaghat Power Limited (UMPL) |  | IPP | 0 | 584 | 0 | 0 | -
35 | Meghnaghat CCPP(Summit)-2 |  | IPP | 0 | 583 | 0 | 0 | Gas shortage
| JERA Meghnaghat Power Limited |  | IPP | 250*2+268 | 0 | 0 | 0 | -
| Sreepur 150 MW PP |  | PDB-RPCL | 9*18 | 0 | 17 | 34800 | -
Dhaka Area Total |  |  |  |  | 5842.27 | 1818 | 35302415
36 | Chattogram TPP |  | PDB | 1*210+1*210 | 360 | 0 | 0 | Both units are under maintenance
37 | Raozan 25 MW PP |  | IPP | 3*8.9 | 25.5 | 0 | 0 | -
38 | Teknaf 20MW PP (Solartech) |  | IPP | 0 | 20 | 0 | 123390 | -
39 | Patenga 50MW PP (Baraka) |  | IPP | 8*6.98 | 50 | 28 | 98400 | -
40 | Karnaphuli Hydro PP Unit-1,2,3,4, 5 |  | PDB | 2*40+3*50 | 230 | 40 | 954540 | -
41 | Sikalbaha 225MW CCPP |  | PDB | 1*150+1*75 | 225 | 227 | 5387872 | -
42 | Sikalbaha Peaking GT |  | PDB | 1*150 | 126.5 | 0 | 0 | -
43 | Sikalbaha 105 MW PP (Baraka Sikalbaha) |  | IPP | 6*17.5 | 105 | 0 | 30109 | -
44 | Hathazari 100 MW peaking PP |  | PDB | 11*8.9 | 94 | 0 | 0 | machine problem
45 | Dohazari -Kalaish 100 MW Peaking |  | PDB | 6*17 | 98 | 0 | 0 | -
46 | Juldah 100 MW PP Unit-3 (Acorn) |  | IPP | 8*13.5 | 100 | 0 | 0 | -
| Malancha, Ctg. EPZ (United) |  | IPP | 5*8.73+3*9.34 | 0 | 21 | 521280 | -
47 | Chattogram 108 MW PP (ECPV) |  | IPP | 16*7 | 108 | 0 | 0 | Liquid fuel shortage
48 | Kaptai 7 MW Solar PP |  | PDB | 0 | 7 | 0 | 18203 | -
49 | Anwara 300 MW PP (United) |  | IPP | 17*17+24 | 300 | 0 | 0 | -
50 | Jodiac Power |  | IPP | 3*18.55+1*3.6 | 54.36 | 0 | 0 | -
51 | Karnaphuli Power Ltd. |  | IPP | 18.415*6+6.5 | 110 | 0 | 0 | -
52 | Juldah unit-2 (Acorn) |  | IPP | 8*13.6 | 100 | 0 | 0 | -
53 | Anlima Energy Ltd. |  | IPP | 6*21.2 | 116 | 17 | 129218 | Liquid fuel shortage
54 | Mirsharai 150 MW |  | IPP | 18.5*9 | 159.86 | 0 | 0 | -
55 | SS Power |  | IPP | 2*660 | 1224 | 612 | 10783635 | network constraint
56 | Cox's Bazar Wind |  | PDB | 0 | 60 | 12 | 407040 | -
57 | Matarbari 2*600 MW (CPGCBL) |  | CPGCL | 2*600 | 1200 | 1112 | 23927272.73 | -
Chattogram Area Total |  |  |  |  | 4873.22 | 2069 | 42380959.73
58 | Ashuganj CCPP 225 MW |  | APSCL | 1X142+1X75 | 221.43 | 182 | 4744000 | FGMO
59 | Ashuganj 450 MW CCPP(North) |  | APSCL | 1*360 | 353.35 | 0 | 0 | To Facilitate Major Inspection
60 | Ashuganj 450 MW CCPP(South) |  | APSCL | 1*360 | 356.56 | 0 | 0 | -
61 | Ashuganj 420 MW CCPP(East) |  | APSCL | 284*1+116*1 | 393 | 0 | 0 | -
62 | Ashuganj TSK 50 MW PP |  | APSCL | 14*3.96 | 46.94 | 36 | 903168 | -
63 | Ashuganj 55 MW PP (Precision) |  | QRPP | 15*4 | 55 | 29 | 520320 | -
64 | Ashuganj 195 MW PP (APSCL-United) |  | IPP | 20X9.73+1X16 | 195 | 197 | 4031272 | -
65 | Ashuganj 51 MW PP (Midland) |  | IPP | 6X9.34 | 51 | 51 | 1030202 | -
66 | Ashuganj 150MW PP (Midland) |  | IPP | 23X7.015 | 150 | 0 | 41818 | -
67 | Titas 50 MW Peaking PP |  | PDB | 6*8.92 | 47 | 0 | 0 | machine problem
68 | Chandpur 150 MW CCPP |  | PDB | 1*106+1*57 | 163 | 50 | 1157940 | -
69 | Chandpur 200MW (Desh energy) |  | IPP | 12*18.4 | 200 | 17 | 152160 | -
70 | Feni 11 MW PP (Doreen) |  | SIPP,REB | 4*2.90 | 11 | 0 | 0 | -
| Import (Tripura) |  | Import | 0 | 160 | 58 | 1222080 | -
71 | Jangalia 52 MW PP (Lakdanavi) |  | IPP | 6*8.92 | 52.2 | 0 | 0 | -
72 | Cumilla 25 MW PP (Summit) |  | SIPP,REB | 3*3.67+2*6.97 | 25 | 14 | 321920 | Machine Under Maintenance
73 | Feni Lanka Power |  | IPP | 7*18.415+1*9.78 | 114 | 0 | 0 | -
74 | Chowmuhani 113 MW |  | IPP | 12*9.78+2*3.1 | 113 | 63 | 506520 | Fuel Shortage
75 | Chandpur 115(Doreen) |  | IPP | 4*18.5+2*22.5 | 115 | 16 | 386880 | -
76 | Sonagazi 75 MW (AC) Solar Power Plant |  | EGCB | 0 | 75 | 0 | 388491 | -
Cumilla Area Total |  |  |  |  | 2897.48 | 713 | 15406771
77 | RPCL 210MW CCPP |  | RPCL | 4*35+1*70 | 210 | 10 | 243840 | Low gas pressure
78 | Jamalpur 95 MW PP(Powerpac) |  | IPP | 0 | 95 | 0 | 0 | -
79 | Sarishabari 3 MW Solar Plant |  | IPP | 0 | 2.71 | 0 | 11100 | -
80 | Mymensingh 200 MW PP (United) |  | IPP | 9.78*21 | 200 | 59 | 1068000 | -
81 | Jamalpur 115 MW PP (United) |  | IPP | 9.78*12 | 115 | 19 | 358800 | -
82 | Sutiakhali 50 MW Solar PP |  | IPP | 0 | 50 | 0 | 277340 | -
83 | Tangail Palli Power Gen 22 MW |  | IPP | 4*6.7 | 22 | 24 | 404640 | Ready to Dispatch as per NLDC Demand.
84 | Bhairob 54.5 MW |  | IPP | 3*18.2 | 54.5 | 0 | 0 | -
Mymensingh Area Total |  |  |  |  | 749.21 | 112 | 2363720
85 | Fenchugonj CCPP Phase-1 |  | PDB | 2*32+1*33 | 80 | 30 | 715000 | Gas shortage
86 | Fenchugonj CCPP Phase-2 |  | PDB | 2*35+1*35 | 90 | 0 | 0 | Gas shortage
87 | Kushiara 163 MW CCPP (KP) |  | IPP | 1*109+1*54 | 163 | 163 | 3526527 | -
88 | Shajibazar 330 MW CCPP |  | PDB | 3*110 | 330 | 0 | 0 | Under Maintenance
89 | Fenchuganj 44MW (Energyprima) |  | NENP | 12*3.3+5*2 | 47.998 | 10 | 266904 | -
90 | Hobiganj 11MW PP Cofidence-E |  | SIPP,REB | 4*2.90 | 11 | 2 | 58224 | machine problem
91 | Shahjibazar GTPP Unit- 8 & 9 |  | PDB | 2*35 | 66.57 | 0 | 0 | -
92 | Shahjibazar 86MW PP (Shahjibazar) |  | RPP | 32*2.90 | 86 | 61 | 1177920 | -
93 | Shahjibazar 100 MW GTPP |  | PDB | 1*100 | 100 | 0 | 0 | -
94 | Sylhet 225 MW CCPP |  | PDB | 1*142+1*89 | 225 | 208 | 5270940 | -
95 | Sylhet 20 MW GTPP |  | PDB | 1*20 | 20 | 0 | 0 | -
96 | Shahjahanulla 25 MW PP |  | SIPP,REB | 3*9.34 | 25 | 13 | 340368 | -
97 | Bibiana-II 341 MW CCPP (Summit) |  | IPP | 1*222+1*119 | 341 | 285 | 7066000 | FGMO
98 | Bibiyana-III 400 MW CCPP |  | PDB | 285*1+134*1 | 400 | 324 | 8832000 | FGMO
99 | Bibiyana South 400 MW |  | PDB | 1*400 | 383 | 330 | 7124200 | -
Sylhet Area Total |  |  |  |  | 2368.568 | 1426 | 34378083
100 | Bheramara GTPP Unit-3 |  | PDB | 1X20 | 16 | 0 | 0 | -
** | Bheramara (HVDC ) |  | Import | 2X500 | 1000 | 910 | 20811636 | -
101 | Faridpur 50 MW Peaking PP |  | PDB | 8*6.89 | 50 | 0 | 0 | -
102 | Khulna 225 MW CCPP |  | NWPGCL | 1X150+1X75 | 230 | 0 | 0 | -
103 | Gopalganj 100 MW Peaking PP |  | PDB | 16*6.98 | 100 | 0 | 0 | -
104 | Bheramara 410 MW CCPP |  | NWPGCL | 1X278+1X132 | 410 | 293 | 7005024 | Gas shortage
105 | Rupsha 105 MW PP (Orion rupsha) |  | IPP | 6*18.445 | 105 | 0 | 0 | Liquid fuel shortage
106 | Madhumati 100 MW PP |  | NWPGCL | 6*18 | 105 | 0 | 0 | Liquid fuel shortage
107 | Mongla Orion 100 MW Solar PP |  | IPP | 100 | 100 | 0 | 442800 | -
108 | Khulna 330 MW CCPP |  | PDB | 1*220+1*110 | 336 | 0 | 0 | S/D due to CW Pond cleaning & Tx Radiator change.
109 | Rampal 1320 MW (BIFPCL) |  | PDB | 660*2 | 1234.2 | 0 | 0 | Coal shortage
** | HVDC(Nepal) |  | Import | 1*40 | 0 | 0 | 0 | -
Khulna Area Total |  |  |  |  | 3686.2 | 1203 | 28259460
110 | Barisal 110 MW PP (Summit ) |  | IPP | 7X17.076 | 110 | 0 | 0 | -
111 | Bhola 33 MW PP (Venture) |  | NENP | 1X34.50 | 40 | 6 | 138937 | Dead bus operation
112 | Bhola 225 MW CCPP |  | PDB | 2X63+1X68 | 193.1 | 140 | 2947000 | Partial Shutdown of STG
113 | Payra 1320 MW |  | BCPCL | 2*622 | 1244 | 1210 | 22837818.18 | FGMO
114 | Bhola Nutan Biddut BD LTD |  | IPP | 2*110 | 220 | 220 | 5146360 | MVAR Subjected to Grid Voltage
115 | United Payra Power Ltd. |  | IPP | 8*18.5+1*9.5 | 150 | 17 | 294000 | -
116 | Barisal 307 MW |  | BCPCL | 307X1 | 307 | 307 | 5367000 | -
117 | Barisal 1 MW Solar Plant |  | IPP | 0 | 1 | 0 | 3029 | -
Barishal Area Total |  |  |  |  | 2265.1 | 1900 | 36734144.18
118 | Baghabari 71 MW GTPP |  | PDB | 1X71 | 71 | 0 | 0 | Gas shortage
| Baghabari 100 MW GTPP |  | PDB | 1*100 | 100 | 0 | 0 | Machine Under Maintenance
119 | Baghabari 50 MW Peaking PP |  | PDB | 6*8.9 | 47 | 0 | 0 | -
120 | Bera 70 MW Peaking PP |  | PDB | 9*8.29 | 66 | 0 | 0 | -
121 | Amnura 50 MW PP(Sinha) |  | QRPP | 7*7.79 | 35.09 | 0 | 0 | -
122 | Katakhali 50 MW Peaking PP |  | PDB | 6*8.7 | 45.49 | 0 | 0 | availability is 47MW but unable to submit to web
123 | Sirajgonj 225MW CCPP Unit-1 |  | NWPGCL | 1*150+1*75 | 214 | 189 | 4194364 | Gas shortage
124 | Sirajgonj 225MW CCPP Unit-2 |  | NWPGCL | 1*150+1*75 | 220 | 203 | 4510491 | Gas shortage
125 | Sirajgonj 225MW CCPP Unit-3 |  | NWPGCL | 1*141 | 220 | 199 | 4499036 | Gas shortage
126 | Sirajgonj 400 MW CCPP Unit-4 |  | NWPGCL | 1*282+1*132 | 413.79 | 0 | 0 | Scheduled Outage
127 | Santahar 50 MW Peaking PP |  | PDB | 6*8.7 | 46 | 0 | 0 | -
128 | Ullapara 11 MW PP (Summit) |  | SIPP,REB | 4*2.90 | 11 | 11 | 157896 | -
129 | Natore 52 MW PP (Rajlanka) |  | IPP | 6*8.92 | 52.2 | 0 | 0 | -
130 | Chapainawabganj 100 MW Peaking PP |  | PDB | 12*8.924 | 104 | 0 | 50944 | -
131 | Bagura 113 MW PP (Confidence)-2 |  | IPP | 6*18.55+7.2 | 113 | 0 | 0 | -
132 | Confidence Power Bogura Unit-1 113 MW |  | IPP | 6*18.55 | 113 | 0 | 0 | -
133 | Sirajgonj 6.55 MW Solar |  | NWPGCL | 0 | 6.09 | 0 | 25680 | -
** | Adani Power Jharkhanda Ltd |  | Import | 2*673 | 1347.54 | 718 | 11705455 | -
134 | Sirajganj 68 MW Solar Park |  | IPP | 0 | 68 | 0 | 312748 | -
| Pabna Solar 100 MW |  | IPP | 0 | 100 | 0 | 553770 | -
Rajshahi Area Total |  |  |  |  | 3393.2 | 1320 | 26010384
135 | Barapukuria TPP Unit-1 & 2 |  | PDB | 1*125+1*125 | 170 | 69 | 1676072 | Partial Shutdown due to maintenance
136 | Barapukuria 275 MW TPP Unit-3 |  | PDB | 1*275 | 274 | 210 | 4788000 | machine problem
137 | Rangpur 20 MW GTPP |  | PDB | 1*20 | 20 | 0 | 0 | -
138 | Saidpur 20 MW GTPP |  | PDB | 1*20 | 20 | 0 | 0 | -
139 | Rangpur 113 MW PP (Confidence) |  | IPP | 9*6.984+7*7.015+3.15*2 | 113 | 0 | 0 | -
140 | Sympa Solar Power 8 MW |  | IPP | 0 | 8 | 0 | 26119.68 | -
141 | Energypac Power Venture Thakurgaon Ltd. |  | IPP | 0 | 115 | 53 | 173188 | -
142 | Intraco Solar 30 MW |  | IPP | 1*30 | 30 | 0 | 170957 | -
143 | Teesta Solar Limited |  | BCPCL | 0 | 200 | 0 | 916560 | -
Rangpur Area Total |  |  |  |  | 950 | 332 | 7750896.68
Eastern Grid Total |  |  |  |  | 16730.748 | 6138 | 129831948.73
Western Grid Total |  |  |  |  | 10294.5 | 4755 | 98754884.86
National Grid Total |  |  |  |  | 27025.248 | 10893 | 228586833.59
*Data collected from respective power station via Operation Information System(OIS) software.
Executive Engineer
Network Operation Division

## P4
Power Grid Bangladesh PLC
National Load Dispatch Center (NLDC)
Hourly Demand, Generation & Load-Shed Report
Date : | 15-01-2025
Hour | Generation | Load-Shed |  | Demand
0:00 | 8966.5 | 0 |  | 8966.5
1:00 | 8415.95 | 0 |  | 8415.95
2:00 | 7967.81 | 0 |  | 7967.81
3:00 | 7687.5 | 0 |  | 7687.5
4:00 | 7426.5 | 0 |  | 7426.5
5:00 | 7365.5 | 0 |  | 7365.5
6:00 | 7908.5 | 0 |  | 7908.5
7:00 | 8544.21 | 0 |  | 8544.21
8:00 | 9366.2 | 0 |  | 9366.2
9:00 | 9684.14 | 0 |  | 9684.14
10:00 | 9499.29 | 0 |  | 9499.29
11:00 | 9579.56 | 0 |  | 9579.56
12:00 | 10151.19 | 0 |  | 10151.19
13:00 | 10405.38 | 30 |  | 10436.38
14:00 | 10048.88 | 0 |  | 10048.88
15:00 | 9791.07 | 0 |  | 9791.07
16:00 | 9350.21 | 0 |  | 9350.21
17:00 | 9470.4 | 0 |  | 9470.4
18:00 | 10577.8 | 0 |  | 10577.8
19:00 | 10893 | 0 |  | 10893
19:30 | 10879.5 | 0 |  | 10879.5
20:00 | 10769.5 | 0 |  | 10769.5
21:00 | 10659.15 | 0 |  | 10659.15
22:00 | 10055.82 | 0 |  | 10055.82
23:00 | 9530.3 | 0 |  | 9530.3
Sub-Divisional Engineer |  |  | Executive Engineer
Network Operation Division |  |  | Network Operation Division

## P3
Power Grid Bangladesh PLC
National Load Dispatch Center (NLDC)
MAXIMUM LOAD SERVED BY DIFFERENT GRID SUB-STATIONS
| Date : | 15-01-2025
Zone Total Scenario at Evening Peak Hour (19:00 Hr.)
(a) ENTIRE EASTERN GRID: |  |  | 7255.07 |  | MW | (b) ENTIRE WESTERN GRID: |  |  |  | 3166.5 | MW
i) Dhaka area |  |  | 3932.07 |  | MW | i) Khulna area |  |  |  | 1183 | MW
ii) Chattogram area |  |  | 1103 |  | MW | ii) Barishal area |  |  |  | 293.5 | MW
iii) Cumilla area |  |  | 876 |  | MW | iii) Rajshahi area |  |  |  | 1016 | MW
iv) Mymensingh area |  |  | 962 |  | MW | iv) Rangpur area |  |  |  | 674 | MW
v) Sylhet area |  |  | 382 |  | MW
System Total Demand at Evening Peak Hour (a + b) = | [5 empty] | 10421.57 | MW
Sl No. | Sub-station | Load (MW) | Time | Sl No. | Sub-station | Load (MW) | Time | Sl No. | Sub-station | Load (MW) | Time
1 | AKS | 13 | 18:30 | 67 | Jaldhaka | 54 | 18:00 | 133 | Purbachal | 14 | 13:00
2 | AKSML | 108 | 13:00 | 68 | Jamalpur | 96 | 18:30 | 134 | Purbasadipur | 104 | 18:30
3 | Aftabnagar | 26 | 13:00 | 69 | Jashore | 104 | 08:00 | 135 | Rahanpur | 0 | 00:00
4 | Agargaon | 73 | 13:00 | 70 | Jhenaidah | 97 | 08:00 | 136 | Rahim | 31 | 07:00
5 | Agrabad | 62 | 18:00 | 71 | Joydebpur | 144 | 18:00 | 137 | Rajbari | 54 | 18:00
6 | Amnura | 46 | 07:00 | 72 | Joypurhat | 42 | 20:00 | 138 | Rajendrapur | 98 | 18:30
7 | Ashuganj | 62 | 13:00 | 73 | Juldah | 11 | 13:00 | 139 | Rajshahi | 98 | 13:00
8 | BSRM | 192 | 11:00 | 74 | KSRM | 28 | 09:00 | 140 | Rajshahi-230 | 37 | 13:00
9 | Bagerhat | 61 | 18:00 | 75 | Kabirpur | 212 | 17:00 | 141 | Ramganj | 82 | 20:00
10 | Bajitpur | 0 | 00:00 | 76 | Kachua | 47 | 18:00 | 142 | Rampur | 26 | 12:00
11 | Bakulia | 83 | 18:00 | 77 | Kallyanpur | 72 | 13:00 | 143 | Rangamati | 13 | 18:00
12 | Banani | 39.6 | 13:00 | 78 | Kalurghat | 10 | 09:00 | 144 | Rangpur | 111 | 18:30
13 | Bangabhaban | 8 | 10:00 | 79 | Kamrangirchar | 53.68 | 13:00 | 145 | Ruppur | 4.6 | 16:00
14 | Barapukuria | 53 | 18:00 | 80 | Kaptai | N/A | N/A | 146 | SSM | 12 | 01:00
15 | Barguna | 14 | 18:00 | 81 | Kazla | 100 | 13:00 | 147 | Saidpur | 89 | 09:00
16 | Barishal | 83 | 13:00 | 82 | Keranigonj | 55 | 12:00 | 148 | Satkhira | 87 | 18:30
17 | Barishal-230 | 60 | 19:30 | 83 | Khagrachori | 24 | 18:00 | 149 | Satmasjid | 82 | 13:00
18 | Baroaulia | 55 | 18:30 | 84 | Khulna | 70 | 13:00 | 150 | Savar | 177 | 17:00
19 | Baroirhat | 47 | 18:00 | 85 | Khulshi | 140 | 11:00 | 151 | SevenRings | 18.72 | 01:00
20 | Bashundhara | 112 | 13:00 | 86 | Kishoreganj | 128 | 19:00 | 152 | ShahCement | 31 | 19:00
21 | BashundharaCement | 6 | 01:00 | 87 | Kodda | 272 | 18:00 | 153 | Shahjadpur | 54 | 18:00
22 | Beanibazar | 44 | 18:00 | 88 | Kulaura | 26 | 18:00 | 154 | Shahjibazar | 89 | 18:00
23 | Benapole | 54 | 08:00 | 89 | Kurigram | 46 | 18:00 | 155 | Shahmirpur | 49 | 17:00
24 | Bhaluka | 140 | 18:00 | 90 | Kushtia | 87 | 19:00 | 156 | Shariatpur | 53 | 21:00
25 | Bhandaria | 35 | 21:00 | 91 | Lalbag | 58 | 13:00 | 157 | Sherpur | 114 | 18:00
26 | Bhangura | 22 | 18:30 | 92 | Lalmonirhat | 43 | 18:30 | 158 | Shikalbaha | 15 | 18:00
27 | Bheramara(GK) | 39 | 18:00 | 93 | MI_Cement | 17.4 | 21:00 | 159 | Shitalakhya | 63.6 | 12:00
28 | Bhulta | 247 | 12:00 | 94 | Madanganj | 26 | 08:00 | 160 | Sholosohor | 31 | 14:00
29 | Bog-Sherpur | 48 | 18:00 | 95 | Madaripur | 73 | 18:00 | 161 | Shyampur | 152 | 10:00
30 | Bogura | 105 | 13:00 | 96 | Madartek | 48.15 | 13:00 | 162 | Siddhirganj | 104 | 11:00
31 | Borhanuddin | 54 | 21:00 | 97 | Madunaghat | 37 | 21:00 | 163 | Sirajganj | 72 | 19:00
32 | Brahmanbaria | 103 | 19:30 | 98 | Magura | 45 | 18:30 | 164 | Sonargaon | 81 | 10:00
33 | Cantonment | 79 | 13:00 | 99 | Mahasthangarh | 50 | 18:30 | 165 | Sreemongol | 48 | 18:30
34 | Chandpur | 44 | 21:00 | 100 | Manikganj | 107 | 18:00 | 166 | Sreepur | 60 | 18:00
35 | Chandraghona | 25 | 18:30 | 101 | Maniknagar | 44 | 13:00 | 167 | Srinagar | 29.72 | 20:00
36 | Chapai | 58 | 13:00 | 102 | Matarbari | 35 | 18:00 | 168 | Sunamganj | 36 | 18:00
37 | Charsaidpur | 41 | 12:00 | 103 | Matuail | 48 | 17:00 | 169 | Sylhet | 28 | 21:00
38 | Chauddagram | 44 | 13:00 | 104 | Millgate | 70 | 17:00 | 170 | Sylhet-132 | 73 | 18:00
39 | Chhatak | 22 | 18:00 | 105 | Mirpur | 98 | 13:00 | 171 | TK | 22 | 18:00
40 | Chowmuhani | 146 | 19:30 | 106 | Mirsorai | 8 | 18:00 | 172 | Tangail | 142 | 18:00
41 | Chuadanga | 74 | 18:00 | 107 | Mirzapur | 34 | 08:00 | 173 | Thakurgaon | 73 | 18:30
42 | Coxsbazar | 96 | 20:00 | 108 | Mithapukur | 44 | 18:00 | 174 | Tongi | 114 | 12:00
43 | Cumilla(N) | 113 | 20:00 | 109 | Modern | 0 | 00:00 | 175 | Ullahpara | 47 | 18:00
44 | Cumilla(S) | 127 | 14:00 | 110 | Mogbazar | 94.4 | 14:00 | 176 | Ullon | 34 | 13:00
45 | Daudkandi | 104 | 21:00 | 111 | Mongla | 29 | 21:00 | 177 | Uttara | 56 | 13:00
46 | Dhaka | 34 | 13:00 | 112 | Motijheel | 27 | 13:00 | 178 | UttaraNew | 35 | 13:00
47 | Dhamrai | 92 | 00:00 | 113 | Muktagacha | 12 | 13:00 | 179 | Zigatola | 54 | 13:00
48 | Dhanmondi | 98 | 13:00 | 114 | Munshiganj | 69 | 13:00
49 | Dohazari | 62 | 18:00 | 115 | Mymensingh | 160 | 18:00
50 | Faridpur | 110 | 20:00 | 116 | Naogaon | 84 | 08:00
51 | Fatullah | 80 | 12:00 | 117 | Narail | 41 | 18:30
52 | Fenchuganj | 29 | 18:00 | 118 | Narinda | 56 | 13:00
53 | Feni | 73 | 18:00 | 119 | Narshingdi | 157 | 18:30
54 | GPH | 96 | 02:00 | 120 | Natore | 105 | 18:30
55 | Ghatail | 32 | 08:00 | 121 | Nawabganj | 37.1 | 13:00
56 | Ghorashal | 8 | 18:30 | 122 | Netrakona | 136 | 19:00
57 | Ghorashal-230 | 60 | 22:00 | 123 | New | 71 | 12:00
58 | Goalpara | 26 | 13:00 | 124 | Niamatpur | 69 | 18:00
59 | Gollamari | 50 | 13:00 | 125 | Noapara | 34 | 18:00
60 | Gopalganj | 79 | 18:30 | 126 | PHP | 7 | 17:00
61 | Gulshan | 66 | 13:00 | 127 | Pabna | 82 | 18:30
62 | Halishahar | 48 | 15:00 | 128 | Palashbari | 72 | 18:30
63 | HaripurSBU | 173 | 15:00 | 129 | Panchagarh | 43 | 18:00
64 | Hasnabad | 61 | 13:00 | 130 | Patuakhali | 55.3 | 20:00
65 | Hathazari | 53 | 13:00 | 131 | Payra | 14 | 18:00
66 | Ishurdi | 57 | 18:30 | 132 | Postogola | 38 | 13:00
| Sub-Divisional Engineer |  |  |  | Executive Engineer |  |  |  | Superintendent Engineer
| Network Operation Division |  |  |  | Network Operation Division |  |  |  | Network Operation Division
(1) Honbl. Advisor |  | (4) Chairman,BERC |  |  | (9) Member,Generation,PDB. | (14) G.M. Commercial Operation |  |  | (20) Director,Public Relation,PDB. | (26) Executive Eng. EMD.
Ministry of Power,Energy & Mineral |  | (5) Chairman, BPDB. |  |  | (10) Member,Distribution,PDB. | (15) C.E. Generation,PDB. |  |  | (21) Director Program, PDB. | (27) NLDC
Resources, GOB. |  | (6) Managing Director, PGCB. |  |  | (11) Member,Transmission & | (16) C.E, (P & D),PDB. |  |  | (22) S.E. Consumer Affairs,PDB.
(2) Secy (Power Divn.)Ministry of |  | (7) Member(Power & Industry) |  |  | System Operation,PDB. | (17) C.E. System Operation,PGCB |  |  | (23) Director,Project Planning,PDB.
Power,Energy & Mineral Resources. |  | Planning Commission. |  |  | (12) Member,P&D,PDB. | (18) C.E. Transmission (1&2) PGCB. |  |  | (24) Director,System Planning,PDB.
(3) Director General,Power cell |  | (8) Executive Director (O & M) PGCB. |  |  | (13) C.E (P & D), PGCB. | (19) S.E. System Protection,PGCB. |  |  | (25) Executive Eng.IMD.

## L-Curve
QF-LDC-11
Date | 15-01-2025 |  |  | Power Grid Bangladesh PLC
TIME | EAST GRID | WEST GRID | TOTAL | National Load Dispatch Center (NLDC)
00:00 | 5130 | 3836.5 | 8966.5 | DAILY LOAD CURVE
00:30 | 4946.5 | 3744.725 | 8691.225
01:00 | 4763 | 3652.95 | 8415.95 | 15-01-2025
01:30 | 4679 | 3512.88 | 8191.88
02:00 | 4595 | 3372.81 | 7967.81
02:30 | 4542 | 3285.655 | 7827.655
03:00 | 4489 | 3198.5 | 7687.5
03:30 | 4477.5 | 3079.5 | 7557
04:00 | 4466 | 2960.5 | 7426.5
04:30 | 4438 | 2958 | 7396
05:00 | 4410 | 2955.5 | 7365.5
05:30 | 4573.5 | 3063.5 | 7637
06:00 | 4737 | 3171.5 | 7908.5
06:30 | 4828.475 | 3397.88 | 8226.355
07:00 | 4919.95 | 3624.26 | 8544.21
07:30 | 5032.12 | 3923.085 | 8955.205
08:00 | 5144.29 | 4221.91 | 9366.2
08:30 | 5184.995 | 4340.175 | 9525.17
09:00 | 5225.7 | 4458.44 | 9684.14
09:30 | 5196.055 | 4395.66 | 9591.715
10:00 | 5166.41 | 4332.88 | 9499.29
10:30 | 5181.635 | 4357.79 | 9539.425
11:00 | 5196.86 | 4382.7 | 9579.56
11:30 | 5395.11 | 4470.265 | 9865.375
12:00 | 5593.36 | 4557.83 | 10151.19
12:30 | 5593.82 | 4684.465 | 10278.285
13:00 | 5594.28 | 4811.1 | 10405.38
13:30 | 5503.89 | 4723.24 | 10227.13
14:00 | 5413.5 | 4635.38 | 10048.88
14:30 | 5441.025 | 4478.95 | 9919.975
15:00 | 5468.55 | 4322.52 | 9791.07
15:30 | 5451.01 | 4119.63 | 9570.64
16:00 | 5433.47 | 3916.74 | 9350.21
16:30 | 5511.895 | 3898.41 | 9410.305
17:00 | 5590.32 | 3880.08 | 9470.4
17:30 | 5860.06 | 4164.04 | 10024.1
18:00 | 6129.8 | 4448 | 10577.8
18:30 | 6133.9 | 4601.5 | 10735.4
19:00 | 6138 | 4755 | 10893
19:30 | 6290 | 4589.5 | 10879.5
20:00 | 6224 | 4545.5 | 10769.5
20:30 | 6191 | 4523.325 | 10714.325 |  | Executive Engineer
21:00 | 6158 | 4501.15 | 10659.15 |  | Network Operation Division
21:30 | 5978.9 | 4378.585 | 10357.485
22:00 | 5799.8 | 4256.02 | 10055.82
22:30 | 5769.8 | 4023.26 | 9793.06
23:00 | 5739.8 | 3790.5 | 9530.3

## En-Curve
QF-LDC-12
Date | 15-01-2025 | [14 empty] | Power Grid Bangladesh PLC
TIME | Gas-Public | Gas-Pvt | HVDC | Nepal | Tripura | Adani | Hydro | Coal | Solar | HFO-Public | HFO-Pvt | HSD-Public | HSD-Pvt | Wind | Shortage | National Load Dispatch Center (NLDC)
00:00 | 2920 | 1772.5 | 906 | 0 | 48 | 418 | 40 | 2692 | 0 | 17 | 108 | 0 | 0 | 45 | 0 | DAILY ENERGY CURVE
00:30 | 2956 | 1710.5 | 905 | 0 | 46 | 418.5 | 40 | 2493 | 0.225 | 8.5 | 75.5 | 0 | 0 | 38 | 0 | 15-01-2025
01:00 | 2992 | 1648.5 | 904 | 0 | 44 | 419 | 40 | 2294 | 0.45 | 0 | 43 | 0 | 0 | 31 | 0
01:30 | 3014 | 1621 | 813 | 0 | 43 | 419.5 | 40 | 2178.5 | 0.38 | 0 | 33.5 | 0 | 0 | 29 | 0 |  | Total Energy | 228.5868 |  | MKWHr
02:00 | 3036 | 1593.5 | 722 | 0 | 42 | 420 | 40 | 2063 | 0.31 | 0 | 24 | 0 | 0 | 27 | 0 |  | Energy not Served | 0.03 |  | MKWHr
02:30 | 3009.5 | 1534.5 | 721.5 | 0 | 41 | 419.5 | 40 | 2021 | 0.155 | 0 | 12 | 0 | 0 | 28.5 | 0 |  | Energy Requirement | 228.6168 |  | MKWHr
03:00 | 2983 | 1475.5 | 721 | 0 | 40 | 419 | 40 | 1979 | 0 | 0 | 0 | 0 | 0 | 30 | 0
03:30 | 2908.5 | 1467 | 674 | 0 | 40 | 418.5 | 40 | 1977.5 | 0 | 0 | 0 | 0 | 0 | 31.5 | 0
04:00 | 2834 | 1458.5 | 627 | 0 | 40 | 418 | 40 | 1976 | 0 | 0 | 0 | 0 | 0 | 33 | 0
04:30 | 2789 | 1475.5 | 627 | 0 | 39 | 418 | 40 | 1974.5 | 0 | 0 | 0 | 0 | 0 | 33 | 0
05:00 | 2744 | 1492.5 | 627 | 0 | 38 | 418 | 40 | 1973 | 0 | 0 | 0 | 0 | 0 | 33 | 0
05:30 | 2835.5 | 1634 | 674 | 0 | 38 | 418.5 | 40 | 1960.5 | 0 | 0 | 0 | 0 | 0 | 36.5 | 0
06:00 | 2927 | 1775.5 | 721 | 0 | 38 | 419 | 40 | 1948 | 0 | 0 | 0 | 0 | 0 | 40 | 0
06:30 | 2817.5 | 1835.5 | 789.5 | 0 | 38 | 488 | 40 | 2125 | 4.355 | 9.5 | 40 | 0 | 0 | 39 | 0
07:00 | 2708 | 1895.5 | 858 | 0 | 38 | 557 | 40 | 2302 | 8.71 | 19 | 80 | 0 | 0 | 38 | 0
07:30 | 2652 | 1837 | 883 | 0 | 40 | 601.5 | 40 | 2669.5 | 61.205 | 33 | 106.5 | 0 | 0 | 31.5 | 0
08:00 | 2596 | 1778.5 | 908 | 0 | 42 | 646 | 40 | 3037 | 113.7 | 47 | 133 | 0 | 0 | 25 | 0
08:30 | 2627.5 | 1762 | 908.5 | 0 | 45 | 655.5 | 40 | 3022 | 206.17 | 70.5 | 167.5 | 0 | 0 | 20.5 | 0
09:00 | 2659 | 1745.5 | 909 | 0 | 48 | 665 | 40 | 3007 | 298.64 | 94 | 202 | 0 | 0 | 16 | 0
09:30 | 2642.5 | 1683.5 | 909 | 0 | 51 | 613 | 40 | 2933 | 375.715 | 103 | 228 | 0 | 0 | 13 | 0
10:00 | 2626 | 1621.5 | 909 | 0 | 54 | 561 | 40 | 2859 | 452.79 | 112 | 254 | 0 | 0 | 10 | 0
10:30 | 2637.5 | 1615 | 909 | 0 | 52 | 559.5 | 40 | 2859.5 | 493.925 | 112 | 252 | 0 | 0 | 9 | 0
11:00 | 2649 | 1608.5 | 909 | 0 | 50 | 558 | 40 | 2860 | 535.06 | 112 | 250 | 0 | 0 | 8 | 0
11:30 | 2694 | 1738 | 909 | 0 | 50 | 558 | 40 | 2981 | 534.375 | 116 | 237.5 | 0 | 0 | 7.5 | 0
12:00 | 2739 | 1867.5 | 909 | 0 | 50 | 558 | 40 | 3102 | 533.69 | 120 | 225 | 0 | 0 | 7 | 0
12:30 | 2715 | 1872 | 909 | 0 | 55 | 558 | 40 | 3225.5 | 526.285 | 132 | 240 | 0 | 0 | 5.5 | 15
13:00 | 2691 | 1876.5 | 909 | 0 | 60 | 558 | 40 | 3349 | 518.88 | 144 | 255 | 0 | 0 | 4 | 30
13:30 | 2581 | 1801 | 909.5 | 0 | 61 | 556 | 40 | 3365.5 | 476.13 | 144 | 291 | 0 | 0 | 2 | 15
14:00 | 2471 | 1725.5 | 910 | 0 | 62 | 554 | 40 | 3382 | 433.38 | 144 | 327 | 0 | 0 | 0 | 0
14:30 | 2518.5 | 1703 | 910 | 0 | 60 | 515 | 40 | 3310.5 | 388.475 | 136 | 335.5 | 0 | 0 | 3 | 0
15:00 | 2566 | 1680.5 | 910 | 0 | 58 | 476 | 40 | 3239 | 343.57 | 128 | 344 | 0 | 0 | 6 | 0
15:30 | 2606 | 1692 | 909.5 | 0 | 60 | 469.5 | 40 | 3061 | 250.64 | 128 | 347.5 | 0 | 0 | 6.5 | 0
16:00 | 2646 | 1703.5 | 909 | 0 | 62 | 463 | 40 | 2883 | 157.71 | 128 | 351 | 0 | 0 | 7 | 0
16:30 | 2664.5 | 1707.5 | 909 | 0 | 60 | 485.5 | 40 | 2941.5 | 92.305 | 128 | 376.5 | 0 | 0 | 5.5 | 0
17:00 | 2683 | 1711.5 | 909 | 0 | 58 | 508 | 40 | 3000 | 26.9 | 128 | 402 | 0 | 0 | 4 | 0
17:30 | 2827 | 1719.15 | 909 | 0 | 59 | 555 | 40 | 3174.5 | 13.45 | 189 | 531 | 0 | 0 | 7 | 0
18:00 | 2971 | 1726.8 | 909 | 0 | 60 | 602 | 40 | 3349 | 0 | 250 | 660 | 0 | 0 | 10 | 0
18:30 | 3046 | 1783.9 | 909.5 | 0 | 59 | 660 | 40 | 3434.5 | 0 | 222.5 | 569 | 0 | 0 | 11 | 0
19:00 | 3121 | 1841 | 910 | 0 | 58 | 718 | 40 | 3520 | 0 | 195 | 478 | 0 | 0 | 12 | 0
19:30 | 3279 | 1966.5 | 909 | 0 | 56 | 584 | 40 | 3557 | 0 | 195 | 285 | 0 | 0 | 8 | 0
20:00 | 3201 | 1892.5 | 909 | 0 | 56 | 528 | 40 | 3559 | 0 | 212 | 364 | 0 | 0 | 8 | 0
20:30 | 3159 | 1839.5 | 909 | 0 | 56 | 493.325 | 40 | 3525 | 0 | 212 | 472 | 0 | 0 | 8.5 | 0
21:00 | 3117 | 1786.5 | 909 | 0 | 56 | 458.65 | 40 | 3491 | 0 | 212 | 580 | 0 | 0 | 9 | 0
21:30 | 3118.5 | 1762.9 | 909.5 | 0 | 57 | 454.085 | 40 | 3358.5 | 0 | 173 | 475.5 | 0 | 0 | 8.5 | 0
22:00 | 3120 | 1739.3 | 910 | 0 | 58 | 449.52 | 40 | 3226 | 0 | 134 | 371 | 0 | 0 | 8 | 0
22:30 | 3087 | 1754.3 | 912.5 | 0 | 56 | 224.76 | 40 | 3209.5 | 0 | 134 | 366.5 | 0 | 0 | 8.5 | 0
23:00 | 3054 | 1769.3 | 915 | 0 | 54 | 0 | 40 | 3193 | 0 | 134 | 362 | 0 | 0 | 9 | 0
Executive Engineer
Network Operation Division

## Volt
e
MAXIMUM & MINIMUM VOLTAGES OF DIFFERENT GRID SUB-STATIONS:
| Date: | 2025-01-14 | [7 empty] | QF-LDC-10
| Sub-Station | Max Voltage | Hour | Min | Hour | Sub-Station | Maxm | Hour | Min | Hour
|  |  |  | Voltage |  |  | Voltage |  | Voltage
| 400 KV | KV | Hour | KV | Hour | 400 KV | KV | Hour | KV | Hour |  |  | `
| Aminbazar | 419 | 03:00 | 387 | 12:00 | Kaliakoir | 376 | 04:00 | 339 | 12:00 | [31 empty] | Bheramara | Bibiyana | Bhulta | Ashuganj(N) | Kaliakoir | Gopalganj | Payra
| Ashuganj | 407 | 4:00 | 367 | 13:00 | Madunaghat | 412 | 04:00 | 393 | 13:00 |  | 200 kV Voltage | [31 empty] | 400 kV Voltage
| Bhulta | 406 | 03:00 | 370 | 12:00 | Meghnaghat | 416 | 03:00 | 383 | 13:00
| Bibiana | 396 | 06:00 | 384 | 12:00 | Payra | 419 | 04:00 | 404 | 13:00
| BIPTC | 408 | 03:00 | 389 | 10:00 | Rahanpur | 414 | 03:00 | 400 | 13:00
| Bogura | 409 | 03:00 | 384 | 23:00 | Rampal | 419 | 03:00 | 385 | 12:00
| Gopalganj | 420 | 05:00 | 389 | 13:00 | [5 empty] | Time/SS | Ghorasal | Ishurdi | Ashuganj | Serajganj | Baghabari | Barapukuria | Bogra | Rajshahi | Khulna(S) | Rampura | Haripur | Hasnabad | Aminbazar | Tongi | Comilla(N) | Hathazari | Meghnaghat | Fenchuganj | Siddhirganj | Maniknagar | Old Airport | Barisal | Bhola 225 MW | AKSML | BSRM | GPH | BIBIYANA | Bhulta | Ashuganj (S) | KALIAKOR | Bheramara | Bibiyana | Bhulta | Ashuganj(N) | Kaliakoir | Gopalganj | Payra | Shyampur | Jhenaidah
| 230 KV | KV |  | KV |  | 230 KV | KV |  | KV |  | Maximum | 235 | 237 | 240 | 235 | 233 | 230 | 233 | 236 | 237 | 227 | 222 | 225 | 227 | 230 | 229 | 240 | 228 | 245 | 229 | 227 | 226 | 241 | 244 | 233 | 234 | 238 | 240 | 228 | 242 | 229 | 399 | 410 | 392 | 398 | 397 | 421 | 423 | 225 | 234
| Agargaon | 237 | 03:00 | 216 | 12:00 | Haripur | 234 | 03:00 | 215 | 13:00 | Time | 1:00 | 8:00 | 5:00 | 5:00 | 5:00 | 10:00 | 9:00 | 18:00 | 9:00 | 5:00 | 6:00 | 22:00 | 7:00 | 7:00 | 5:00 | 18:30 | 8:00 | 8:00 | 6:00 | 5:00 | 5:00 | 7:00 | 9:00 | 15:00 | 18:30 | 18:30 | 5:00 | 4:00 | 6:00 | 5:00 | 22:00 | 8:00 | 5:00 | 6:00 | 5:00 | 9:00 | 9:00 | 5:00 | 9:00
| AKSML | 233 | 02:00 | 219 | 12:00 | Hasnabad | 234 | 00:00 | 216 | 13:00 | Minimum | 230 | 228 | 227 | 229 | 227 | 221 | 225 | 226 | 226 | 214 | 215 | 213 | 214 | 215 | 221 | 229 | 220 | 240 | 217 | 214 | 212 | 232 | 237 | 228 | 222 | 226 | 235 | 217 | 230 | 215 | 392 | 403 | 369 | 376 | 382 | 399 | 412 | 213 | 223
| Aminbazar | 235 | 05:00 | 214 | 12:00 | Hathazari | 236 | 05:00 | 224 | 12:00
| Ashuganj | 236 | 00:00 | 221 | 13:00 | Ishurdi | 244 | 03:00 | 227 | 13:00 | Time | 7:00 | 20:00 | 16:00 | 16:00 | 16:00 | 20:00 | 1:00 | 21:00 | 1:00 | 16:00 | 11:00 | 16:00 | 16:00 | 15:00 | 11:00 | 9:00 | 13:00 | 11:00 | 15:00 | 15:00 | 16:00 | 24:00 | 1:00 | 12:00 | 9:00 | 12:00 | 11:00 | 16:00 | 17:00 | 16:00 | 15:00 | 3:00 | 16:00 | 16:00 | 16:00 | 24:00 | 1:00 | 16:00 | 21:00
| Ashuganj-400 | 236 | 00:00 | 221 | 13:00 | Jhenaidah | 242 | 03:00 | 221 | 13:00
| Baghabari | 241 | 00:00 | 229 | 12:00 | Kaliakoir | 236 | 03:00 | 213 | 12:00 | 230 kV MAX | 249 |  | 249 | 213
| Barapukuria | 226 | 02:00 | 219 | 08:00 | Keranigonj | 235 | 03:00 | 214 | 13:00 | 230 kV MIN | 213 |  | 244 | 213 |  |  |  | Substation | Total | Updated
| Barapukuria-230 | 226 | 02:00 | 219 | 08:00 | Khulna(S) | 243 | 03:00 | 223 | 13:00 | [8 empty] | 132 kV | 147 | 23/5/21
| Barishal | 247 | 04:00 | 235 | 12:00 | Madunaghat | 234 | 04:00 | 223 | 12:00 | 132 kV MAX | 144 |  | 142 | 109 |  |  |  | 230 kV | 32 | [14 empty] | 18:30
| Bheramara | 242 | 03:00 | 224 | 12:00 | Madunaghat-400 | 235 | 05:00 | 223 | 13:00 | 132 kV MIN | 109 |  | 144 | 110 |  |  |  | 400 kV | 13 | [25 empty] | 403
| Bhulta | 237 | 04:00 | 216 | 12:00 | Maniknagar | 234 | 02:00 | 215 | 12:00 | [35 empty] | 6:00
| Bibiana | 229 | 06:00 | 221 | 13:00 | Meghnaghat | 240 | 21:00 | 222 | 12:00 |  | 400 | [33 empty] | 392
| BIPTC | 243 | 03:00 | 225 | 13:00 | Meghnaghat-400 | 237 | 03:00 | 218 | 13:00 |  | Ashuganj 400 kV = ash North-299667
| Bogura | 239 | 03:00 | 227 | 13:00 | Mirsorai | 232 | 01:00 | 217 | 13:00 | ` |  |  |  | 230 | [30 empty] | 21:00
| Bogura-400 | 238 | 03:00 | 225 | 23:00 | Rajshahi | 241 | 02:00 | 224 | 12:00 |  | rampur-charged |  |  | B.P-499228
| Borhanuddin | 249 | 01:00 | 244 | 11:00 | Rampal | 242 | 03:00 | 220 | 12:00 |  | 132 |  |  | Ash 400-299274
| BSRM | 234 | 03:00 | 218 | 12:00 | Rampur | N/A | N/A | N/A | N/A |  | Megna
| Cumilla(N) | 232 | 05:00 | 213 | 13:00 | Rampura | 237 | 03:00 | 215 | 12:00 |  | Maniknagar=narinda | 132 kv
| Faridpur | 249 | 05:00 | 231 | 12:00 | Shikalbaha | 234 | 05:00 | 221 | 12:00 |  | kaptai by call 399528
| Fenchuganj | 232 | 23:00 | 224 | 13:00 | Shyampur | 236 | 04:00 | 214 | 12:00
| Ghorashal | 240 | 21:00 | 230 | 00:00 | Siddhirganj | 236 | 00:00 | 217 | 13:00
| Ghorashal-230 | 235 | 02:00 | 214 | 13:00 | Sirajgonj | 247 | 03:00 | 237 | 12:00
| Gopalganj | 248 | 03:00 | 231 | 13:00 | Sreepur | 239 | 04:00 | 226 | 12:00
| GPH | 234 | 05:00 | 220 | 12:00 | Tongi | 232 | 23:00 | 213 | 12:00 |  | Madu-399663
| 132 KV | KV |  | KV |  | 132 KV | KV |  | KV |  |  | Meg-299636
| Aftabnagar | 136 | 03:00 | 123 | 12:00 | Kurigram | 133 | 05:00 | 121 | 18:00 |  | Gopalganj-230 | 599470
| Agargaon | 138 | 03:00 | 122 | 13:00 | Kushtia | 141 | 00:00 | 131 | 13:00
| Agrabad | 134 | 02:00 | 126 | 12:00 | Lalbag | 138 | 03:00 | 123 | 12:00
| AKS | 132 | 03:00 | 125 | 12:00 | Lalmonirhat | 131 | 21:00 | 122 | 08:00
| Aminbazar | 137 | 05:00 | 118 | 12:00 | Madanganj | 134 | 02:00 | 119 | 12:00
| Amnura | 140 | 00:00 | 130 | 12:00 | Madaripur | 134 | 00:00 | 130 | 13:00
| Ashuganj | 140 | 08:00 | 132 | 12:00 | Madartek | 136 | 03:00 | 122 | 12:00
| Bagerhat | 139 | 04:00 | 124 | 13:00 | Madunaghat | 135 | 03:00 | 128 | 12:00
| Bajitpur | 135 | 00:00 | 124 | 12:00 | Magura | 142 | 03:00 | 127 | 13:00
| Bakulia | 134 | 04:00 | 126 | 13:00 | Mahasthangarh | 136 | 03:00 | 129 | 12:00
| Banani | 136 | 02:00 | 121 | 13:00 | Manikganj | 133 | 00:00 | 120 | 13:00
| Bangabhaban | 134 | 00:00 | 120 | 13:00 | Maniknagar | 135 | 04:00 | 120 | 12:00
| Barapukuria | 136 | 02:00 | 130 | 08:00 | Matarbari | 129 | 11:00 | 120 | 12:00
| Barguna | 139 | 17:00 | 131 | 13:00 | Matuail | 134 | 03:00 | 120 | 12:00
| Barishal | 136 | 00:00 | 128 | 12:00 | Millgate | 138 | 02:00 | 123 | 12:00
| Barishal-230 | 138 | 04:00 | 130 | 12:00 | Mirpur | 136 | 02:00 | 123 | 12:00
| Baroaulia | 131 | 10:00 | 127 | 14:00 | Mirzapur | 132 | 23:00 | 118 | 12:00
| Baroirhat | 130 | 18:00 | 118 | 13:00 | Mithapukur | 134 | 03:00 | 127 | 08:00
| Bashundhara | 137 | 02:00 | 121 | 12:00 | MI_Cement | 135.8 | 05:00 | 125 | 13:00
| BashundharaCement | 134 | 02:00 | 119 | 12:00 | Modern | 0 | 00:00 | N/A | N/A
| Beanibazar | 134 | 03:00 | 130 | 12:00 | Mogbazar | 138 | 04:00 | 124 | 12:00
| Benapole | 137 | 00:00 | 124 | 12:00 | Mongla | 138 | 01:00 | 125 | 12:00
| Bhaluka | 129 | 04:00 | 117 | 13:00 | Motijheel | 134 | 00:00 | 120 | 13:00
| Bhandaria | 135 | 00:00 | 127 | 13:00 | Muktagacha | 128 | 23:00 | 116 | 12:00
| Bhangura | 141 | 04:00 | 132 | 12:00 | Munshiganj | 134 | 01:00 | 115 | 12:00
| Bheramara | 141 | 03:00 | 132 | 13:00 | Mymensingh | 128 | 04:00 | 113 | 12:00
| Bheramara(GK) | 141 | 05:00 | 133 | 12:00 | Naogaon | 136 | 03:00 | 128 | 08:00
| Bhulta | 124 | 04:00 | 109 | 12:00 | Narail | 141 | 05:00 | 126 | 13:00
| Bog-Sherpur | 137 | 03:00 | 130 | 12:00 | Narinda | 134 | 6:00 | 122 | 12:00
| Bogura | 137 | 02:00 | 130 | 13:00 | Narshingdi | 136 | 23:00 | 110 | 12:00
| Bogura-230 | 138 | 03:00 | 130 | 13:00 | Natore | 138 | 00:00 | 130 | 12:00
| Brahmanbaria | 135 | 22:00 | 125 | 12:00 | Nawabganj | 137 | 00:00 | 124 | 12:00
| Cantonment | 138 | 03:00 | 122 | 12:00 | Netrakona | 127 | 00:00 | 114 | 12:00
| Chandpur | 133 | 21:00 | 119 | 12:00 | New | 137 | 03:00 | 124 | 12:00
| Chandraghona | 136 | 02:00 | 128 | 12:00 | Niamatpur | 139 | 00:00 | 130 | 23:00
| Chapai | 139 | 00:00 | 133 | 12:00 | Noapara | 139 | 00:00 | 126 | 12:00
| Charsaidpur | 135 | 03:00 | 116 | 12:00 | Pabna | 141 | 02:00 | 132 | 12:00
| Chauddagram | 131 | 01:00 | 117 | 12:00 | Palashbari | 133 | 02:00 | 125 | 08:00
| Chhatak | 134 | 02:00 | 129 | 12:00 | Panchagarh | 135 | 03:00 | 123 | 13:00
| Chowmuhani | 129 | 18:00 | 111 | 13:00 | Patuakhali | 137 | 22:00 | 131 | 12:00
| Chuadanga | 141 | 03:00 | 126 | 13:00 | Payra | 138 | 03:00 | 132 | 13:00
| Coxsbazar | 128 | 01:00 | 119 | 12:00 | PHP | 130 | 03:00 | 118 | 13:00
| Cumilla(N) | 135 | 22:00 | 123 | 13:00 | Postogola | 138 | 02:00 | 124 | 12:00
| Cumilla(S) | 133 | 05:00 | 129 | 13:00 | Purbachal | 137 | 02:00 | 122 | 12:00
| Daudkandi | 131 | 01:00 | 119 | 12:00 | Purbasadipur | 132 | 03:00 | 122 | 08:00
| Dhaka | 136 | 01:00 | 123 | 12:00 | Rahanpur | 141 | 02:00 | 136 | 12:00
| Dhamrai | 136 | 03:00 | 124 | 21:00 | Rahanpur-400 | 140 | 00:00 | 136 | 12:00
| Dhanmondi | 138 | 02:00 | 123 | 12:00 | Rahim | 133 | 03:00 | 117 | 13:00
| Dohazari | 132 | 01:00 | 124 | 12:00 | Rajbari | 138 | 03:00 | 127 | 13:00
| Faridpur | 138 | 04:00 | 130 | 12:00 | Rajendrapur | 135 | 23:00 | 122 | 13:00
| Fatullah | 137 | 04:00 | 123 | 12:00 | Rajshahi | 139 | 00:00 | 130 | 12:00
| Fenchuganj | 138 | 01:00 | 133 | 13:00 | Rajshahi-230 | 140 | 04:00 | 127 | 23:00
| Feni | 130 | 05:00 | 118 | 13:00 | Ramganj | 130 | 23:00 | 115 | 12:00
| Ghatail | 127 | 20:00 | 117 | 12:00 | Rampur | 134 | 03:00 | 126 | 13:00
| Ghorashal | 140 | 21:00 | 131 | 13:00 | Rampura | 136 | 03:00 | 122 | 12:00
| Goalpara | 140 | 03:00 | 129 | 12:00 | Rangamati | 135 | 03:00 | 127 | 12:00
| Gollamari | 141 | 03:00 | 129 | 12:00 | Rangpur | 133 | 04:00 | 123 | 18:00
| Gopalganj | 139 | 01:00 | 128 | 13:00 | Ruppur | 142 | 00:00 | 134 | 12:00
| Gopalganj-400 | 140 | 04:00 | 129 | 13:00 | Saidpur | 134 | 04:00 | 122 | 08:00
| Gulshan | 135 | 04:00 | 122 | 12:00 | Satkhira | 140 | 04:00 | 124 | 13:00
| Halishahar | 134 | 04:00 | 126 | 12:00 | Satmasjid | 137 | 03:00 | 120 | 13:00
| Haripur | 134 | 05:00 | 112 | 13:00 | Savar | 135 | 01:00 | 122 | 12:00
| HaripurSBU | 134 | 05:00 | 122 | 13:00 | SevenRings | 140 | 03:00 | 130 | 12:00
| Hasnabad | 138 | 01:00 | 128 | 11:00 | ShahCement | 135 | 03:00 | 116 | 12:00
| Hathazari | 137 | 05:00 | 130 | 12:00 | Shahjadpur | 144 | 02:00 | 135 | 12:00
| Ishurdi | 142 | 02:00 | 134 | 12:00 | Shahjibazar | 136 | 23:00 | 129 | 12:00
| Jaldhaka | 132 | 04:00 | 122 | 08:00 | Shahmirpur | 134 | 02:00 | 126 | 12:00
| Jamalpur | 128 | 22:00 | 117 | 12:00 | Shariatpur | 139 | 04:00 | 129 | 12:00
| Jashore | 140 | 02:00 | 124 | 13:00 | Sherpur | 124 | 07:00 | 114 | 12:00
| Jhenaidah | 141 | 04:00 | 128 | 13:00 | Shikalbaha | 124 | 04:00 | 113 | 13:00
| Jhenaidah-230 | 142 | 02:00 | 128 | 13:00 | Shikalbaha-230 | 136 | 04:00 | 126 | 12:00
| Joydebpur | 137 | 23:00 | 128 | 11:00 | Shitalakhya | 135.8 | 05:00 | 125 | 13:00
| Joypurhat | 136 | 02:00 | 127 | 13:00 | Sholosohor | 135 | 03:00 | 127 | 12:00
| Juldah | 133 | 01:00 | 128 | 13:00 | Shyampur | 135 | 23:00 | 125 | 12:00
| Kabirpur | 136 | 01:00 | 125 | 11:00 | Shyampur-230 | 137 | 03:00 | 123 | 12:00
| Kachua | 134 | 18:00 | 120 | 12:00 | Siddhirganj | 134 | 03:00 | 120 | 12:00
| Kaliakoir | 138 | 04:00 | 122 | 12:00 | Sirajganj | 138 | 00:00 | 131 | 12:00
| Kallyanpur | 137 | 04:00 | 123 | 13:00 | Sonargaon | 130 | 07:00 | 117 | 12:00
| Kalurghat | 135 | 04:00 | 127 | 13:00 | Sreemongol | 136 | 23:00 | 129 | 12:00
| Kamrangirchar | 137 | 03:00 | 121 | 17:00 | Sreepur | 130 | 02:00 | 122 | 12:00
| Kaptai | 136 | 1:00 | 132 | 15:00 | Srinagar | 138 | 03:00 | 124 | 12:00
| Kazla | 135 | 03:00 | 120 | 13:00 | SSM | 136 | 01:00 | 130 | 13:00
| Keranigonj | 138 | 03:00 | 124 | 13:00 | Sunamganj | 133 | 00:00 | 130 | 11:00
| Khagrachori | 135 | 03:00 | 125 | 13:00 | Sylhet | 135 | 03:00 | 131 | 13:00
| Khulna | 138 | 00:00 | 127 | 13:00 | Sylhet-132 | 134 | 06:00 | 131 | 12:00
| Khulna(S) | 142 | 03:00 | 128 | 13:00 | Tangail | 129 | 23:00 | 116 | 12:00
| Khulshi | 132 | 03:00 | 124 | 13:00 | Thakurgaon | 133 | 21:00 | 120 | 08:00 |  |  | 132 kV S/S | 230 kV S/S | 400 kV S/S
| Kishoreganj | 133 | 00:00 | 120 | 12:00 | TK | 134 | 04:00 | 127 | 12:00 |  |  | Nos | Nos | Nos
| Kodda | 136 | 20:00 | 120 | 12:00 | Tongi | 137 | 04:00 | 126 | 12:00 |  |  | 173 | 39 | 9 | 221
| KSRM | 134 | 01:00 | 126 | 12:00 | Ullahpara | 140 | 01:00 | 132 | 12:00
| Kulaura | 137 | 00:00 | 133 | 13:00 | Ullon | 135 | 01:00 | 122 | 13:00
| UttaraNew | 137 | 03:00 | 122 | 12:00 | Uttara | 136 | 03:00 | 125 | 12:00
| Zigatola | 138 | 00:00 | 124 | 13:00
| Sub Assistant Engineer | [5 empty] | Sub Divisional Engineer
| Network Operation Division | [5 empty] | Network Operation Division |  |  | Page 7 of 7
360
.